## Slide 1: Remarks: What does QIBA Expect of QIBA-Japan Activity
Kevin O’Donnell
Chairman, QIBA Process Cmte
Sr. Mgr., R&D, Toshiba Medical Research Institute USA, Inc.
Notes: Remarks: What does RSNA/QIBA expect of the Japan/QIBA activity

## Slide 2
☑ The author has conflict of interest to disclose with respect to this presentation
Company / Organization
Employee, Toshiba Medical Research Institute – USA, Inc.

## Slide 3: Clinical Decisions from Quantitative Imaging
QIBA Profile
Treat
Wait
Measure = 7
±6
?
Problem
Analysis
Solution
Treat
Wait
±2
!
Goal
Measure = 7
±6
Sources of Variance
Differences in:
- Patient Handling
- Acq. Protocols
- Reconstruction
- Segmentation
. . .
When all participating actors conform…
Protocol Reqs
Recon Reqs
Resolution Reqs
Noise Reqs
Segment. Reqs
Patient Prep & Operation Reqs
Segment. Reqs
Calibration Reqs
Notes: Purpose: Use Quantitative Imaging Biomarkers to inform Clinical Decisions
Presentation by Dr. Jackson and next ones from Japanese participants demonstrate these.
What’s the problem? Variability: need to be repeatable, robust => Industrial
We expect to collaborate to achieve this.

## Slide 4: Improving Biomarkers in QIBA
Measure Current Performance
Analyze Sources of Error
Publish & Implement Profile
Revise Procedure to Compensate
Document Biomarker Procedure
Define a Performance Metric
Notes: So biomarkers need to be improved.
The essence is familiar to Japan.
After technology or understanding has advanced, repeat the cycle with a new edition of the profile.

## Slide 5: QIBA Profile Structure
Claims:
“95% probability that measured change -25% to +30%encompasses the true tumor volume change…”
Requirements:
Actor Table
Scanner
Measurement Software
Radiologist
Activity Definitions
Calibration / QA
Patient Preparation
Image Acquisition
Reconstruction
Post-Processing
Analysis / Measurement
Reading / Interpretation
User Perspective
Will it do what I need?
What/who do I need
involved?
What do I have to do
(requirement checklists: procedures, training, performance targets)
to achieve the Claims?
Vendor View
Why do you want me to do this?
Which of my products
are affected?
What do I have to implement;
(requirement checklists: features, capabilities, performance targets)
How will I be tested?
Assessment Procedures:
Image Noise and Resolution Tumor Volume Change Variability
Site Performance
Notes: The Claim states the Biomarker Performance the Profile provides.
The Requirements describe what must be done to meet the Claims.
The Assessment Procedures describe what must be done to assess specific Requirements (as needed).
Note: Do not dictate or re-iterate medical practice, imaging charter, or how to run and IRB. That’s not QIBA’s job,

## Slide 6: QIBA Profile Stages
Stage Name | Stage Meaning | Stage Criteria
Draft for Public Comment | Key factors affecting claim are described and procedures address each/most of the factors. | Open issues clearly listed Some groundwork may be ongoing Actor requirements clear & justified
Publically Reviewed | Consensus reached and ready for trial implementation. | Text reasonably stable Public Comments addressed Open issues mostly resolved
Technically Confirmed | Profile is practical to understand and implement. | Text stable Open issues resolved Procedures implemented at test site
Claim Confirmed | Claimed performance can be achieved. | Performance measured at test site Profile Claims achieved
Clinically Confirmed | Claimed performance will typically be achieved. | Profile Claims achieved in clinical use at multiple sites
Progressive levels of stability and confidence
Notes: Lets use the QIBA Profile Stages to consider ways we expect QIBA Japan to contribute.
Note this cycle is non-trivial and thus takes is different is that one cycle takes some time.

## Slide 7: Goal Stage 1: Draft for Public Comment
Performing groundwork, drafting Profile:
  CT Lung Density
  US Shearwave Speed for Liver Fibrosis
  fMRI BOLD Brain Mapping for Surgery
  MR DWI-ADC
  MR Elastography
  PET Amyloid
QIBA Japan already has Mirror Committees
  MR, CT, NM, US
Give your advice, experience & feedback
  About physics / engineering / medical / workflow
  About the templates and process
  Balancing perfection vs practical progress
Notes: Japan can help profiles reach Stage 1.
Help refine the common templates, and process explanations on the wiki

## Slide 8: Goal Stage 1: Draft for Public Comment
Performing early groundwork:
  CT Tumor Volume Change (liver)
  US Volume Blood Flow in Renal Transplants
  MR DCE-MRI with 3T and parallel imaging
  MR Dynamic Susceptibility Contrast (DSC-MRI)
  MR Diffusion Tensor Imaging (DTI-DWI)
  MR Proton Density Fat Fraction (PDFF)
  SPECT for Dopaminergic Degeneration in Basal Ganglia
Join or lead groundwork project
  E.g. Test-Retest, Phantom, DRO, Meta-analysis)
  Consider NIH-NIBIB funding pattern/process
  Some projects may also be worth repeating
Notes: Japan can help profiles reach Stage 1.
Emphasize that Stage 1 takes a LOT of work to complete.

## Slide 9: QIBA Profile Stages
Stage Name | Stage Meaning | Stage Criteria
Draft for Public Comment | Key factors affecting claim are described and procedures address each/most of the factors. | Open issues clearly listed Some groundwork may be ongoing Actor requirements clear & justified
Publically Reviewed | Consensus reached and ready for trial implementation. | Text reasonably stable Public Comments addressed Open issues mostly resolved
Technically Confirmed | Profile is practical to understand and implement. | Text stable Open issues resolved Procedures implemented at test site
Claim Confirmed | Claimed performance can be achieved. | Performance measured at test site Profile Claims achieved
Clinically Confirmed | Claimed performance will typically be achieved. | Profile Claims achieved in clinical use at multiple sites
Progressive levels of stability and confidence

## Slide 10: Goal Stage 2: Publicly Reviewed (Consensus)
Collecting/resolving comments to reach Stage 2:
  CT Small Nodule Volumetry
Give your advice, experience & feedback
  About physics / engineering / medical / workflow
  Propose ideas for unresolved issues
Notes: Japan can help profiles reach Stage 2

## Slide 11: QIBA Profile Stages
Stage Name | Stage Meaning | Stage Criteria
Draft for Public Comment | Key factors affecting claim are described and procedures address each/most of the factors. | Open issues clearly listed Some groundwork may be ongoing Actor requirements clear & justified
Publically Reviewed | Consensus reached and ready for trial implementation. | Text reasonably stable Public Comments addressed Open issues mostly resolved
Technically Confirmed | Profile is practical to understand and implement. | Text stable Open issues resolved Procedures implemented at test site
Claim Confirmed | Claimed performance can be achieved. | Performance measured at test site Profile Claims achieved
Clinically Confirmed | Claimed performance will typically be achieved. | Profile Claims achieved in clinical use at multiple sites
Progressive levels of stability and confidence

## Slide 12: Goal Stage 3: Technically Confirmed
Planning/performing feasibility tests:
  CT Tumor Volume Change – Advanced Disease
  DCE-MRI for 1.5T
Identify potential Japanese test sites
Advise about Japanese variation & commonality
Evaluate profile requirements and assessment procedures
Notes: Japan can help profiles reach Stage 3

## Slide 13: QIBA Profile Stages
Stage Name | Stage Meaning | Stage Criteria
Draft for Public Comment | Key factors affecting claim are described and procedures address each/most of the factors. | Open issues clearly listed Some groundwork may be ongoing Actor requirements clear & justified
Publically Reviewed | Consensus reached and ready for trial implementation. | Text reasonably stable Public Comments addressed Open issues mostly resolved
Technically Confirmed | Profile is practical to understand and implement. | Text stable Open issues resolved Procedures implemented at test site
Claim Confirmed | Claimed performance can be achieved. | Performance measured at test site Profile Claims achieved
Clinically Confirmed | Claimed performance will typically be achieved. | Profile Claims achieved in clinical use at multiple sites
Progressive levels of stability and confidence

## Slide 14: Goal Stage 4: Claim Confirmed
Planning/performing field trials:
  FDG-PET/CT Cancer Therapy Response
Identify potential Japanese test sites
Lead field trials
Identify relevant Pharmaceutical Clinical Trials that need a biomarker procedure
Notes: Japan can help profiles reach Stage 4

## Slide 15: QIBA Profile Stages
Stage Name | Stage Meaning | Stage Criteria
Draft for Public Comment | Key factors affecting claim are described and procedures address each/most of the factors. | Open issues clearly listed Some groundwork may be ongoing Actor requirements clear & justified
Publically Reviewed | Consensus reached and ready for trial implementation. | Text reasonably stable Public Comments addressed Open issues mostly resolved
Technically Confirmed | Profile is practical to understand and implement. | Text stable Open issues resolved Procedures implemented at test site
Claim Confirmed | Claimed performance can be achieved. | Performance measured at test site Profile Claims achieved
Clinically Confirmed | Claimed performance will typically be achieved. | Profile Claims achieved in clinical use at multiple sites
Progressive levels of stability and confidence
Notes: QIBA currently has no plans to organize Clinical Trials to reach Clinically Confirmed, but may advise on study design for such trials and may solicit data into QIDW so QIBA can complete the analysis to reach Clinically Confirmed. It will be a point of future discussion as we get closer.

## Slide 16: Stage 0: Survey & Selection
Our biggest challenge has been controlling our enthusiasm
The Profile pipeline has limits:
  QIBA has limited resources to analyze, do groundwork, write, review
  Radiologists and clinicians cannot assess many new biomarkers every year and integrate them into clinical decision making
  Regulators and payers want biomarkers proven safe and effective
QIBAs job is not exploration; QIBAs job is industrialization
  Make a biomarker robust, reliable and available
  Bring it “the last mile” into clinicians hands where it can help patients
  Too few biomarkers reach that point
Notes: Very large number of biomarkers in research literature and many look wonderful.
In America they refer to “the last mile”, for example when connecting your house to the Internet by optical fiber service.
Building a link between Tokyo and Osaka may take hundreds of people. Building the branches into the neighbourhoods may take thousands of people, The goal is now in sight and seems so close, but the last mile is when you deliver service to every house and that involves millions of people.
QIBA is a partnership between researchers and hospital doctors and equipment manufacturers and government agencies to bring biomarkers the last mile into the hands of all doctors.
Doing this takes resources from everyone, so we need to pick the best, most promising.
After we deliver, we can select some more.

## Slide 17: Stage 0: Survey & Selection
We expect Japan to choose biomarkers based on your expertise, technology, experience and demographics
Finding candidates will be easy; choosing will be hard.
Dr. Dan Sullivan, founding chairman of QIBA, proposed 5 characteristics:
  Translational — ready to move from research into clinical care
  Transformational – considerable impact on public health
  Feasible — good chance of success in a reasonable time frame
  Practical — cost-effectively use existing resources where possible
  Collaborative – existing interest across stakeholders
Notes: Of course QIBA Japan will initiate new biomarker activities based on the special experience and expertise in Japan. Some activities are already underway. Your challenge will be to choose carefully.
And we look forward to collaborating, sharing our resources, and seeing which biomarkers Japan will choose as the most promising.

## Slide 18: QIBA Japan Resources
Engage radiology research experts
Engage clinicians
  How can biomarkers have greatest clinical impact
Engage vendors
  Help design for a broad range of equipment
Engage biostatisticians
  Many biomarker efforts fail without them
Engage policy makers
  Collaborate on strategic goals, funding, promotion

## Slide 19
Looking forward to productive collaboration between
QIBA & QIBA Japan
Notes: Dr. Carson (Umich) will visit Tokyo and Sendai in early September for QIBA ultrasound discussions
I think now we will hear about some of that work to analyze the existing QIBA biomarker projects and consider some future directions.