From: Robert Ford, MD [Ford@radpharm.com]

Sent: Tuesday, December 16, 2008 8:24 AM

To: Petrick, Nicholas A

Subject: QIBA Study

Hello Nick,

I looked at your latest set of slides.  You asked for comments.

a.. I plan to look at the phantom images this week.  I suspect the lesion to measure will be obvious.  The slice on which the uni-dimensional measurement swill be taken should be identified to the reader.  We can do this electronically by me labeling the slice on which the image is to be measured.  Based on the permissions we assign to the reader, this would mean they could see the annotation I made indicating the lesion to be measured, but they would not be able to see any measurements made by other readers.

b.. I think the readers should measure lesions on preset windows and widths, otherwise the measurements will vary based on the settings.

c.. Is this sample size statistically significant or do we need more readers?

d.. We can order the images to be read in the worklist of the reader, but would need a randomization scheme to be followed in assigning the readers in the specified sequence to the phantom images.

Bob

Robert  Ford, MD

Founder and Chief Medical Officer

RadPharm Imaging Core Lab

100 Overlook Center

Princeton, New Jersey

08540

(   609-936-2604

6    609-514-4898

* ford@radpharm.com

: www.radpharm.com

This message is intended for the exclusive use of the individual or entity that is the named addressee and may contain information that is privileged or confidential. If you are not the named addressee or an employee or agent responsible for delivering this message to the named addressee, you are not authorized to read, print, retain, copy or disseminate this message or any part of it. If you have received this message in error, please notify us immediately by e-mail, discard any paper copies and delete all electronic files of the message