QIBA Profile:

- Clinical context (Michael)

  - Gain insight into microstructural and compositional changes in tumors due to treatment via DWI and ADC mapping

- Claims (Michael)

  - Using monoexponential fitting of DW-MRI data acquired at 1.5T or 3.0T, tissue water mobility in tumors can be characterized using ADCb1-b2 with a 15% test / retest coefficient of variation.  This clam holds for solid tumors greater than 1 cm in diameter, or twice the slice thickness, whichever is greater.

- Profile detail/protocol

  - Executive Summary (Michael)

    - Word about what is the state of the art in research and clinical trials

    - Why would standardization help

    - Few sentences what this profile is for.

  - Context of the imaging protocol within the clinical trial (Thorsten)

    - High level summary of what the imaging is for and what it will allow to do

    - Role of imaging in a response to therapy assessment

    - Therapy related effects as a consequence to therapy

  - Site selection, Qualification and training (Tom)

    - Phantom studies, other pre-requisites for being able to do the studies mentioned in this profile

      - Equipment

      - Phantom

      - Process of site qualification

      - Mechanism in place to train and educate the site on

  - Challenges to profile use (Alex)

    - Necrotic components

    - Hemorrhages

    - Lipid-rich tumors

    - Mucin-rich tumors

    - Susceptibility effects

  - Subject scheduling (Thorsten)

  - Subject preparation (Thorsten)

    - General preparation

    - Motion-specific preparation

  - Imaging Procedure

    - b-values (Michael)

      - Number and choice of b-values

        - Preferred: 3 b-value minimum (constant TE)

        - Acceptable: 2 b-value (0, and high)

      - Number of averages per b-value

    - Detailed description of imaging protocols, based on area of body

      - Motion (Marko)

        - Breath hold

        - Gating- cardiac or respiratory

      - Sequence type (Dave [Siemens], Greg [Philips], Sandeep [GE] for 2-8)

      - FOV, matrix size, slice thickness

      - 3 orthogonal gradients for each b-value>0

      - Single vs double echo

      - Single vs multishot

      - Parallel imaging

      - Fat-suppression techniques, per region, 1.5 vs 3 T

    - Imaging post-processing (Brendan Whicker, Hendrik)

      - Image distortion correction

      - Motion

  - Image Analysis (Brendan, Hendrik)

    - ROI protocol

      - Contrast bolus administration, if necessary

      - T2W ROI

      - Use of DWI image for ROI

      - Challenges

    - Obtaining an ADC value

      - Fit

      - Pixelwise, whole Tumor Mean/Median, histogram

  - Image interpretation (Alex, Mark)

    - Statistics to calculate from resulting maps

    - Tumor segmentation

    - Single operator

    - ADC changes with treatment

  - Archival and distribution of data (Michael)

    - Archiving segmentations

    - Saving segmentation masks (numeric)

  - Quality control (Martin Buechert)

    - List all sources of artifact and variation and procedures to mitigate them

      - Prospective

        - Perfusion at low b-value

        - Subject motion

        - Acq. Plane

        - Image artifacts (wrap, metal, etc…)

      - Retrospective

        - Registration methods

        - Adherence to imaging protocols

  - Imaging-associated risks and risk management (MIchael)

- Compliance

  - Site

  - Scanner

  - Software

- Appendices

  - perfusion effects in various tissues