fMRI Brain Mapping

Version 0.1

1 February 2011

Table of Contents

I. Executive Summary	3

II. Clinical Context and Claims	3

III. Profile Details	5

0. Reserved	5

1. Reserved	5

2. Reserved	5

3. Subject Scheduling	5

4. Subject Preparation	6

5. Imaging-related Substance Preparation and Administration	8

6. Individual Subject Imaging-related Quality Control	11

7. Imaging Procedure	11

8. Image Post-processing	16

9. Image Analysis	18

10. Image Interpretation	20

11. Archival and Distribution of Data	23

12. Quality Control	25

13. Imaging-associated Risks and Risk Management	29

IV. Compliance	31

References	31

Appendices	31

Appendix A: Acknowledgements and Attributions	31

Appendix B: Background Information	32

Appendix C: Conventions and Definitions	32

Appendix D: Documents included in the imaging protocol (e.g., CRFs)	33

Appendix E: Associated Documents	33

Appendix F: TBD	33

Appendix G: Model-specific Instructions and Parameters	33

# I. Executive Summary

This Profile has been developed to aid in the standardization and optimization of fMRI brain mapping for surgical planning. Whereas the primary purpose of this Profile development is for individual patient care, applications of the standard it creates has application to clinical trials as well.  This is described in the following section.

Summary of Clinical Trial Usage as described in "fMRI Brain Mapping"

The following aspects of a protocol for fMRI Brain Mapping are considered:

A. Patient evaluation and fMRI paradigm selection

B. Paradigm design

C. Patient training on behavioral task and quantitative assessment of performance

D. Equipment Q/A checks and calibrations

E. Patient preparation, instructions, behavioral check, adjustment of peripheral equipment

F. Pre-scan setup, shimming, selection of slices and other imaging parameters

G. Performance of fMRI scans including patient task instructions, performance monitoring

H. Post-scan evaluations of alertness, performance

I. Post processing, artifact detection etc.

J. Report generation and content, including technical Q/A and evaluation

K. Clinical interpretation

L. Archiving and export to treatment systems

M. Follow-up

# II. Clinical Context and Claims

fMRI is used as a tool for pre-treatment planning in individual patients with brain lesions, including tumors, vascular malformation and epileptogenic foci. The presenting symptoms and location of the affected brain tissue determine the particular region or regions of the brain to be mapped and the behavioral paradigm(s) selected (e.g. motor task, language task). The change in BOLD signal (relative to a control condition) provides information about the brain region(s) involved in task performance and about the proximity of this eloquent cortex to brain site(s) to be treated. Endpoints that will influence treatment planning include risk assessment (impact of treatment on functioning cortex, e.g. surgical or radiation induced damage) and predictive value estimation (will damage to eloquent tissue result in a deficit). The goal of this profile is to specify the procedures and quantitative parameters under which BOLD fMRI is an accurate and reliable predictor of brain function, that is, as a valid imaging biomarker for medically meaningful changes in brain activity elicited by a particular task.

Whereas the primary purpose of this Profile development is for individual patient care, applications of the standard it creates has application to clinical trials as well. This is described in the following section.

Utilities and Endpoints for Clinical Trials

**Describe one or more utilities or endpoints this Imaging Protocol could serve in a Clinical Trial. (e.g. to determine eligibility of potential subjects in the clinical trial; to triage eligible subjects into cohorts based on stage or severity of disease; to assess response to treatment; to establish the presence of progression for determining TTP, PFS, etc.; to monitor for adverse events; to establish a database for the development, optimization, and validation of imaging biomarkers, etc.)

Claim 1

**Introduce the claim with free form text. Note that the combo-boxes below are for purposes of being more specific and using controlled vocabularies, so use the free form text to explain but it is important to make sure that it matches the entries in the constrained input fields.

Profile specified for use with: **target subpopulation, for the following indicated biology: **indicated biology, and to serve the following purpose: **biomarker purpose.

**Introduce the specific read-outs with free form text.

Compliance Levels for Measurement Read-outs

| Measurement or Categoric Result | Performance Levels Achieved under Bull's Eye Conditions |
| --- | --- |
| center of mass of activation of a focus of interest | If Activities are Performed at Acceptable level within 5mm of itself, with at least 90% overlap of the activation clusters If Activities are Performed at Target Level If Activities are Performed at Ideal Level |
| relative magnitude of activation in homologous regions across hemispheres | If Activities are Performed at Acceptable level within 10% If Activities are Performed at Target Level If Activities are Performed at Ideal Level |
| Quantitative measures of “risk” to eloquent brain structures… distance metrics… etc | If Activities are Performed at Acceptable level If Activities are Performed at Target Level If Activities are Performed at Ideal Level |

# III. Profile Details

## 0. Reserved

## 1. Reserved

## 2. Reserved

## 3. Subject Scheduling

**Add any needed introduction or replace the following content from the Protocol.

**Describe requirements and considerations for the physician when scheduling imaging and other activities, which may include things both related and unrelated to the trial.

3.1. Timing Relative to Index Intervention Activity

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed regarding timing relative to index intervention activity.

| Index Intervention Activity | Timing |
| --- | --- |
|  | Acceptable Target Ideal |

3.2. Timing Relative to confounding Activities (to minimize “impact”)

**Add any needed introduction or replace the following content from the Protocol.

**(e.g. Avoid scheduling a biopsy on a tumor within X days prior to the FGD-PET scan to evaluate tumor viability; Avoid scheduling the MRI scan within X hours following administration of TPA (for stroke) to the subject.)

| Confounding Activity | Timing |
| --- | --- |
|  | Acceptable Target Ideal |

3.3. Scheduling Ancillary Testing

**Add any needed introduction or replace the following content from the Protocol.

**(e.g. order a blood draw to occur within X hours preceding the imaging procedure.)

| Ancillary Test | Scheduling |
| --- | --- |
|  | Acceptable Target Ideal |

## 4. Subject Preparation

**Add any needed introduction or replace the following content from the Protocol.

**Describe how subjects are prepared.

4.1. Prior to Arrival

**Add any needed introduction or replace the following content from the Protocol.

**Describe the presence/absence/timing of subject activities that may impact the procedure or results. These items should typically result in instructions for the subject at time of scheduling, or reminders sent to the subject shortly prior to imaging. (e.g. oral and/or IV intake, vigorous physical activity, non-protocol-related medical interventions, etc.)

| Preparation Step | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

4.2. Upon Arrival

**Add any needed introduction or replace the following content from the Protocol.

**Describe steps taken upon arrival.

4.2.1. Confirmation of subject compliance with instructions

**Add any needed introduction or replace the following content from the Protocol.

**(e.g. instructions to the admitting nurse/tech to confirm with the subject upon arrival that they have complied with each of the instructions in 4.1.)

| Instruction | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

4.2.2. Ancillary Testing

**Add any needed introduction or replace the following content from the Protocol.

**(e.g. blood draws, weight/blood pressure measurement, etc. associated with the imaging and downstream actions relative to such testing)

| Ancillary Test | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

4.2.3. Preparation for Exam

**Add any needed introduction or replace the following content from the Protocol.

**(e.g. empty bladder, removal of metal objects, etc.)

| Preparation Step | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

## 5. Imaging-related Substance Preparation and Administration

**Add any needed introduction or replace the following content from the Protocol.

**(e.g. Contrast agents, radiopharmaceuticals or stress agents intended to directly affect the imaging process. Does not include therapeutic drugs/agents unless they are also imaging agents.)

5.1. Substance Description and Purpose

**Add any needed introduction or replace the following content from the Protocol.

**Describe the substance and its purpose, stating any requirements needed.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

5.2. Dose Calculation and/or Schedule

**Add any needed introduction or replace the following content from the Protocol.

**Describe the dosce calculation and/or schedule, placing any needed requirements.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

5.3. Timing, Subject Activity Level, and Factors Relevant to Initiation of Image Data Acquisition

**Add any needed introduction or replace the following content from the Protocol.

**Describe the timing, subject activity level, and factors relevant to initiation of image data acquisition. Place needed requirements.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

5.4. Administration Route

**Add any needed introduction or replace the following content from the Protocol.

**Describe the administration route, placing any needed requirements.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

5.5. Rate, Delay and Related Parameters / Apparatus

**Add any needed introduction or replace the following content from the Protocol.

**Describe the rate, delay, and related parameters or apparatus. Place needed requirements.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

5.6. Required Visualization / Monitoring, if any

**Add any needed introduction or replace the following content from the Protocol.

**Describe the required visualization or monitoring, placing any needed requirements.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

5.7. Quality Control

See 12.2

## 6. Individual Subject Imaging-related Quality Control

See 12.3

## 7. Imaging Procedure

**Add any needed introduction or replace the following content from the Protocol.

fMRI signals reflect changes in local blood oxygenation and volume triggered by net changes in local neuronal activity. Such signals are therefore an indirect measure of brain activity. Moreover, the functional specificity of the fMRI activity depends on the behavioral task paradigm and the patient’s ability to perform the task. Thus, fMRI signals and the ability to identify functionally-specific eloquent cortex can be compromised by:

2. Behavioral compliance – Since the fMRI signal depends on the patient’s ability to perform the required behavioral task and thereby activate neurons in task-related brain areas, the occurrence, magnitude and extent of fMRI activation can vary in proportion to the accuracy, reliability, speed, etc of the patient’s performance.

3. Consistency over time of activation cluster

4. Detectability of signal changes in phantom

5. Temporal stability of signal changes in phantom (1/week)

7.1. Required Characteristics of Resulting Data

**Add any needed introduction or replace the following content from the Protocol.

**Describe the characteristics of the imaging data resulting from acquisition and reconstruction that are relevant to its use in the clinical trial. This description is generally independent of the vendor, platform, and version of the imaging equipment.

7.1.1. Data Content

**Add any needed introduction or replace the following content from the Protocol.

**Describe what the acquired images should contain/cover. (e.g. Anatomic Coverage, Field of View)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.1.2. Data Structure

**Add any needed introduction or replace the following content from the Protocol.

**Describe how the data should be organized/sampled. (e.g. Spatial Resolution, Collimation Width, Slice Interval, Temporal Resolution)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.1.3. Data Quality

**Add any needed introduction or replace the following content from the Protocol.

**Describe any needed measurements of quality. (e.g. Image Quality, Noise Levels, Motion Artifacts, Radiation Dose)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.2. Imaging Data Acquisition

**Add any needed introduction or replace the following content from the Protocol.

The following sections describe the acquistion of imaging data.

7.2.1. Subject Positioning

**Add any needed introduction or replace the following content from the Protocol.

**Describe the subject positioning and place needed requirements.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.2.2. Instructions to Subject During Acquisition

**Add any needed introduction or replace the following content from the Protocol.

**(e.g., breath hold, etc.)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.2.3. Timing/Triggers

**Add any needed introduction or replace the following content from the Protocol.

**(e.g., relative to administration of imaging agents; inter-time point standardization)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.2.4. Model-specific Parameters

Appendix G.1 lists acquisition parameter values for specific models/versions that can be expected to produce data meeting the requirements of Section 7.1.

7.2.5. Archival Requirements for Primary Source Imaging Data

See 11.3

7.2.6. Quality Control

See 12.3

7.3. Imaging Data Reconstruction

**Add any needed introduction or replace the following content from the Protocol.

**Describe the data reconstruction process including any inherent data correction, smoothing, etc. This may conceivably be performed on a different system than acquisition, and occasionally at a later time, particular for supplementary reconstructions.

7.3.1. Input Data to Be Used

**Add any needed introduction or replace the following content from the Protocol.

**Place requirements on the input data to be used.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.3.2. Methods to Be Used

**Add any needed introduction or replace the following content from the Protocol.

**Place requirements on the methods to be used.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.3.3. Required Characteristics of Resulting Data

**Add any needed introduction or replace the following content from the Protocol.

**Place requirements on characteristics of resulting data.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

7.3.4. Platform-specific Instructions

Appendix G.2 lists reconstruction parameter values for specific models/versions that can be expected to produce data meeting the requirements of Section 7.2.

7.3.5. Archival Requirements for Reconstructed Imaging Data

See 11.4

7.3.6. Quality Control

See 12.4

## 8. Image Post-processing

**Add any needed introduction or replace the following content from the Protocol.

**Describe subsequent modification of the reconstructed image pixels prior to analysis. This is often performed on a different platform than the acquisition system. (e.g. spatial registration, spatial re-orientation, re-slicing, feature enhancement, 3D view generation)

8.1. Input Data to Be Used

**Add any needed introduction or replace the following content from the Protocol.

**Describe required input data and any necessary validation or adjustments which should be performed on it. (e.g. particular image series or views; raw, processed, both)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

8.2. Methods to Be Used

**Add any needed introduction or replace the following content from the Protocol.

**Describe how the analysis should be performed.  (e.g. algorithms to be used; where measurements should be taken; definition of key anatomical points or pathology boundaries; related annotations)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

8.3. Required Characteristics of Resulting Data

**Add any needed introduction or replace the following content from the Protocol.

**Place requirements on characteristics of resulting data.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

8.4. Platform-specific Instructions

Appendix G.3 lists post-processing parameter values for specific models/versions that can be expected to produce data meeting the requirements of Section 8.

8.5. Archival Requirements

See 11.5

8.6. Quality Control

See 12.5

## 9. Image Analysis

**Add any needed introduction or replace the following content from the Protocol.

**Describe the generation of new data/information based on the images. This may be performed by an automated program, a semi-automated program, or entirely by a human. (e.g. organ segmentation, size or volume measurement, flow rate calculation, tissue characterization, observation of the presence/absence/degree of features such as edema)

9.1. Input Data to Be Used

**Add any needed introduction or replace the following content from the Protocol.

**Describe required input data and any necessary validation or adjustments which should be performed on it.  (e.g. particular image series or views; raw, processed, both)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

9.2. Methods to Be Used

**Add any needed introduction or replace the following content from the Protocol.

**Describe how the analysis should be performed.  (e.g. algorithms to be used; where measurements should be taken; definition of key anatomical points or pathology boundaries; scoring scales and criteria, related annotations)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

9.3. Required Characteristics of Resulting Data

**Add any needed introduction or replace the following content from the Protocol.

**Place requirements on characteristics of resulting data.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

9.4. Platform-specific Instructions

Appendix G.4 lists image analysis parameter values for specific models/versions that can be expected to produce data meeting the requirements of Section 9.

9.5. Archival Requirements

See 11.6

9.6. Quality Control

See 12.6

## 10. Image Interpretation

**Add any needed introduction or replace the following content from the Protocol.

**Describe the diagnostic conclusions of interest to be drawn from the images.  (e.g. progression of disease, presence/absence/degree of pathology, viable tumor vs. necrotic)

**While Analysis is primarily about computation; Interpretation is primarily about judgment. Interpretation may be performed at both the lesional / target level and in the aggregate at the subject level (e.g., in an oncology study each index lesion may be measured in longest diameter during the analysis phase, but in this phase a judgment may be made as to whether there is a new “non-index” lesion; the aggregation of the measured lesions with comparison to previous studies coupled with the judgment as to the presence or absence of a new lesion will result in the RECIST classification at the subject level).

10.1. Input Data to Be Used

**Add any needed introduction or replace the following content from the Protocol.

**Describe required input data and any necessary validation or adjustments which should be performed on it. May also specify data which should not be used until after the clinical trial interpretation is recorded. (e.g. particular image series or views; before and after processing versions of images to evaluate/validate the effects of processing; analysis results)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

10.2. Methods to Be Used

**Add any needed introduction or replace the following content from the Protocol.

**Describe how the interpretation should be performed.  (e.g. definition of key anatomical points or pathology boundaries; scoring scales and criteria such as BIRADS, interpretation schema such as RECIST, related annotations)

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

10.3. Required Characteristics of Resulting Data

**Add any needed introduction or replace the following content from the Protocol.

**Place requirements on characteristics of resulting data.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

10.4. Platform-specific Instructions

Appendix G.5 lists image interpretation parameter values for specific models/versions that can be expected to produce data meeting the requirements of Section 9.

10.5. Archival Requirements

See 11.7

10.6. Quality Control

See 12.7

## 11. Archival and Distribution of Data

**Add any needed introduction or replace the following content from the Protocol.

**Describe the required data formats, transmission methods, acceptable media, retention periods, … (e.g. Is the site required to keep local copies in addition to transmitting to the trial repository? Must all intermediate data be archived, or just final results? At what point may various data be discarded?)

11.1. Reserved

11.2. Reserved

11.3. Primary Source Imaging Data

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on primary source imaging data.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

11.4. Reconstructed Imaging Data

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on reconstructed data.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

11.5. Post-Processed Data

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on post-processed data.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

11.6. Analysis Results

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on analysis resuls.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

11.7. Interpretation Results

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on interpretation results.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

## 12. Quality Control

**Add any needed introduction or replace the following content from the Protocol.

**This is the section where all aspects of Quality Control are identfied and described.

12.1. QC Associated with the Site

The following sectins consider various aspects of quality control.

12.1.1. Quality Control Procedures

**Add any needed introduction or replace the following content from the Protocol.

**Describe required procedures and documentation for routine and periodic QC for the site and various pieces of equipment.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

12.1.2. Reserved

12.1.3. Reserved

12.2. QC Associated with Imaging-related Substance Preparation and Administration

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on QC associated with imaging-related substance preparation and administration.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

12.3. QC Associated with Individual Subject Imaging

**Add any needed introduction or replace the following content from the Protocol.

The following sections describe aspects of QC associated with individual subject imaging.

12.3.1. Phantom Imaging and/or Calibration

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on phantom imaging and/or calibration.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

12.3.2. Quality Control of the Subject Image and Image Data

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on QC of the subject image and image data.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

12.4. QC Associated with Image Reconstruction

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on QC associated with image reconstruction.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

12.5. QC Associated with Image Processing

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on QC associated with image processing.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

12.6. QC Associated with Image Analysis

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on QC associated with image analysis.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

12.7. QC Associated with Interpretation

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed on QC associated with interpretation.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

## 13. Imaging-associated Risks and Risk Management

**Add any needed introduction or replace the following content from the Protocol.

The following sections consider various imaging-associated risks and risk management.

13.1. Radiation Dose and Safety Considerations

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed regarding radiation dose and safety considerations.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

13.2. Imaging Agent Dose and Safety Considerations

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed regarding imaging agent dose and safety considerations.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

13.3. Imaging Hardware-specific Safety Considerations

**Add any needed introduction or replace the following content from the Protocol.

The following requirements are placed regarding hardware-specific safety considerations.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

The following set of requirements extends what has been stated in the protocol.

| Parameter | Compliance Levels |
| --- | --- |
|  | Acceptable Target Ideal |

13.4. Reserved

13.5. Reserved

# IV. Compliance

**Actor 1

**aggregate compliance method that identfies how those aspects of compliance mentioend above pertain to this actor.

**another Actor

**the compliance method for that actor.

# References

**a reference

# Appendices

## Appendix A: Acknowledgements and Attributions

**

**Add any additional or content, or replace content from the Protocol.

## Appendix B: Background Information

**

**Add any additional or content, or replace content from the Protocol.

## Appendix C: Conventions and Definitions

Definitions: Review this document and define relevant terms and notations here.

Acquisition vs. Analysis vs. Interpretation: This document organizes acquisition, reconstruction, post-processing, analysis and interpretation as steps in a pipeline that transforms data to information to knowledge. Acquisition, reconstruction and post-processing are considered to address the collection and structuring of new data from the subject. Analysis is primarily considered to be computational steps that transform the data into information, extracting important values. Interpretation is primarily considered to be judgment that transforms the information into knowledge.  (The transformation of knowledge into wisdom is beyond the scope of this document.)

Bulls-eye Compliance Levels Acquisition parameter values and some other requirements in this protocol are specified using a “bullseye” approach. Three rings are considered from widest to narrowest with the following semantics:

ACCEPTABLE: failing to meet this specification will result in data that is likely unacceptable for the intended use of this protocol.

TARGET: meeting this specification is considered to be achievable with reasonable effort and equipment and is expected to provide better results than meeting the ACCEPTABLE specification.

IDEAL: meeting this specification may require unusual effort or equipment, but is expected to provide better results than meeting the TARGET.

An ACCEPTABLE value will always be provided for each parameter. When there is no reason to expect better results (e.g. in terms of higher image quality, greater consistency, lower dose, etc.), TARGET and IDEAL values are not provided.

Some protocols may need sites that perform at higher compliance levels do so consistently, so sites may be requested to declare their “level of compliance”. If a site declares they will operate at the TARGET level, they must achieve the TARGET specification whenever it is provided and the ACCEPTABLE specification when a TARGET specification is not provided. Similarly, if they declare IDEAL, they must achieve the IDEAL specification whenever it is provided, the TARGET specification where no IDEAL level is specified, and the ACCEPTABLE level for the rest.

**Add any additional or content, or replace content from the Protocol.

## Appendix D: Documents included in the imaging protocol (e.g., CRFs)

**(Material the site needs to submit)

**Subject preparation

**Imaging agent dose calculation

**Imaging agent

**Image data acquisition

**Inherent image data reconstruction / processing

**Image analysis

**Interpretation

**Site selection and Quality Control

**Phantom Imaging and Calibration

**Add any additional or content, or replace content from the Protocol.

## Appendix E: Associated Documents

**e.g. the Imaging Charter, Site Manual, Standard Operating Procedures, etc.

**Add any additional or content, or replace content from the Protocol.

## Appendix F: TBD

## Appendix G: Model-specific Instructions and Parameters

The presence of specific product models/versions in the following tables should not be taken to imply that those products are fully compliant with the QIBA Profile. Compliance with a profile involves meeting a variety of requirements of which operating by these parameters is just one. To determine if a product (and a specific model/version of that product) is compliant, please refer to the QIBA Conformance Document for that product.   G.1. Image Acquisition Parameters  The following technique tables list acquisition parameter values for specific models/versions that can be expected to produce data meeting the requirements of Section 7.1.

These technique tables may have been prepared by the submitter of this imaging protocol document, the clinical trial organizer, the vendor of the equipment, and/or some other source. (Consequently, a given model/version may appear in more than one table.) The source is listed at the top of each table.

Sites using models listed here are encouraged to consider using these parameters for both simplicity and consistency. Sites using models not listed here may be able to devise their own acquisition parameters that result in data meeting the requirements of Section 7.1 and conform to the considerations in Section 13.

In some cases, parameter sets may be available as an electronic file for direct implementation on the imaging platform.

**Add any additional or content, or replace content from the Protocol.