Encoding of Oncology Clinical Trial Read Results in DICOM SR

Abbreviated QIBA CT 1B R2 Content

| Document Author(s) |
| --- |
| Name | Organization | Signature | Date |
| David Clunie | CoreLab Partners |  |  |

## Revision History

| Version | Date | Author(s) | Description |
| --- | --- | --- | --- |
| 2.11-Q1BR2 | 29 Dec 2012 | David Clunie | Extract relevant to content used in QIBA 1B Round 2 reader experiment; green highlights rows used. |

# Encoding of Oncology Clinical Trial Read Results in DICOM SR

Version 2.11-Q1BR2 DAC 2012/12/29

## Table of Contents

Revision History	2

Encoding of Oncology Clinical Trial Read Results in DICOM SR	3

Table of Contents	3

Introduction	6

Scope of an SR Instance	7

Other Instances Referenced From An SR Instance	8

Structure	9

Extensibility.	12

Information Model	12

Codes and Coding Scheme Version	13

Templates	13

TID RPH_0001	Clinical Trial Results Document Root	15

TID RPH_0002a	Person Observer Identifying Attributes	16

TID RPH_0002b	Device Observer Identifying Attributes	17

TID RPH_0002c	Clinical Trial Protocol Context	18

TID RPH_0002d	Subject Context	19

TID RPH_0003	Reading Session and Task Context	20

TID RPH_0004	Time Point Context	21

TID RPH_0005	Time Point Observations	24

TID RPH_0005b	Adjudication Observations	26

TID RPH_0006	Time Point Lesion Observations	27

TID RPH_0006b	General Lesion Observations	31

TID RPH_0007	Measurement Objects	33

TID RPH_0007a	Simple Measurements	38

TID RPH_0007b	Sub-Regions and Measurements	40

TID RPH_0007c	Text Annotations	44

TID RPH_0007d	Measurements Derived From Other Measurements	45

TID RPH_0009	Region Measurements	46

TID RPH_0010	Clinical Trial Results Image Library Entry Template	47

TID RPH_0020	Audit Trail Entry Template	50

Context Groups	53

CID RPH_7001	Clinical Trial Performing Roles	53

CID RPH_7001b	Clinical Trial Adjudicated Roles	55

CID RPH_7002	Clinical Trial Worklist Task Type	55

CID RPH_7003	Clinical Trial Worklist Task Category	56

CID RPH_7003b	Clinical Trial Worklist Task Levels	56

CID RPH_7003c	Clinical Trial Worklist Task Repeat Types	57

CID RPH_7003d	Clinical Trial Worklist Task Variability Types	57

CID RPH_7004	Lesion Type	58

CID RPH_7006	Anatomic Sites for Lesions	58

CID RPH_7006a	Anatomic Sites for CNS Lesions	59

CID RPH_7006b	Anatomic Sites for Lesions – Nodes	60

CID RPH_7006c	Anatomic Sites for Lesions – Viscera and Soft Tissue	62

CID RPH_7006d	Anatomic Sites for Lesions – Skeletal	65

CID RPH_7006e	Anatomic Sites for Lesions – Skin	68

CID RPH_7006f	Anatomic Sites for Lesions – Fluid Collections	69

CID RPH_7007	Anatomic Regions for Radiology Procedures	69

CID RPH_7007b	Anatomic Regions for External Photography Procedures	72

CID RPH_7010	Non-Target Lesion Response	75

CID RPH_7010b	PET Target Lesion Qualitative Response	75

CID RPH_7010c	PET Lesion Qualitative Assessment	76

CID RPH_7011	Reasons Unable to Evaluate Lesion	76

CID RPH_7012	Reasons Unable to Measure Target Lesion	77

CID RPH_7012b	Reasons Unable to Measure New Lesion	78

CID RPH_7013	Lesion Change Reasons	78

CID RPH_7013b	Lesion Addition Reasons	79

CID RPH_7013c	Calibration Change Reasons	79

CID RPH_7014	Time Point Change Reasons	80

CID RPH_7014b	Adjudication Change Reasons	80

CID RPH_7014c	Time Point Observation Addition Reasons	81

CID RPH_7015	Signature Meanings	81

CID RPH_7016	Algorithm Type	82

CID RPH_7017	Single Line Segment Measurements	82

CID RPH_7018	Region Linear Measurements	83

CID RPH_7019	Region Area Measurements	84

CID RPH_7020	Region Volume Measurements	84

CID RPH_7021	Region Pixel Value Measurements	85

CID RPH_7022	Measurements Derived From Other Measurements	85

CID RPH_7031	Time Point Numeric Observations	86

CID RPH_7032	Time Point Numeric Observation Units	87

CID RPH_7030	Measurement Derivation Modifiers	87

CID 3488	Min/Max/Mean	87

CID 7473	General Area Calculation Methods	88

CID 7474	General Volume Calculation Methods	88

CID RPH_7040	Region Segmentation Methods	89

CID RPH_7041	Automation	89

CID RPH_7050a	Adjudication Choice Reasons	90

CID RPH_7050b	Adjudication Discordance Reasons	91

CID RPH_7052	Adjudication Observation Scope	92

CID RPH_7060	Message Digest Algorithms	92

CID RPH_7070	Closed Curve Types	93

CID RPH_7071	Closed Polygon Types	93

CID RPH_7080	Procedures Reported	94

CID RPH_7081	NM Procedures Reported	94

CID RPH_7082	MR Procedures Reported	95

CID RPH_7083	BMD Procedures Reported	95

CID RPH_7230	 Yes-No Only	95

CID RPH_7231	 Yes-No-UE	96

CID RPH_7601	 Measurement Object Types	96

CID RPH_7602	 3D Geometric Object Types	97

CID RPH_7702	 Multiplicity	97

CID RPH_7710	Baseline Time Point Observation Types With Yes-No Answers	98

CID RPH_7711	Post-Baseline Time Point Observation Types With Yes-No Answers	98

CID RPH_7712	Post-Baseline Time Point Observation Types With Yes-No-UE Answers	98

CID 29	Acquisition Modality	99

CID 230	 Yes-No	100

CID 244	Laterality	101

Code Definitions	102

DICOM SR “Header” ATTRIBUTES	125

Comprehensive SR IOD Module Table	125

Patient Module	126

SR Document Series Module	129

SR Document General Module	131

SR Document Content Module	132

Container Macro	132

C.12.1	SOP Common Module	133

## Introduction

The objective of this document is to define a persistent format for storing the results of image-based oncology clinical trials with an encoding as a DICOM Structured Report.

The applications include:

- Saving and restoring (for display and editing) of lesions and comments (with presentation state information) within a visual reading tool

- Saving and restoring of state information (such as whether or not work has been completed and changes made)

- Saving and restoring of adjudication (result comparison) information

- Extraction of selected quantitative and qualitative information with appropriate context for transfer into data management systems and other database-oriented systems

- Exchange of information with other review and visualization tools, including display on ordinary DICOM-based clinical PACS workstations

- Migration of lesions and comments from legacy applications that use proprietary formats or other DICOM encoding mechanisms (such as RT Structure Sets)

The SR encodes both the results themselves (e.g., numeric values for measurements, coded values for responses, and plain text values for human-entered comments), as well as the locations on the images where lesions are located and from which the measurements are derived, except in the case where lesions are defined by rasterized bitmaps, in which case references to external Segmentation Storage SOP Instances are used.

## Scope of an SR Instance

The term “observation” rather than “lesion” or “comment” or “adjudication result” is used to include any type of information gathered during human or machine interpretation, to be consistent with standard DICOM SR terminology.

The scope of a single SR SOP Instance is the cumulative set of all of the observations made (work done) by a single reader role for a single subject, which includes:

- All observations created for the current time point

- Any additional observations added to previous time points

- Any changes to observations from previous time points, whether by the same user or a different user (e.g., if the current user has permission to change the work of another user, perhaps in the same reader role)

- All of the observations made in previous sub-tasks, whether incomplete sub-tasks about the current time-point, or completed sub-tasks about previous time points, whether by the same user, or by a different user in the same reader role (i.e., a substitute reader)

This implies that:

- This single SR SOP Instance constitutes all the new and changed observations from a single sub-task, as well as all previous sub-tasks. Observations from previous completed (signed aka. Verified) sub-tasks (whether by the same or a different user in the same reader role) are copied into the new SR SOP Instance. Observations from previous incomplete (unsigned aka. Unverified) sub-tasks are also copied into the new SR SOP Instance.

- When a sub-task is closed (as complete or incomplete, signed or not), it is always given a new SOP Instance UID, and the previous SOP Instance then becomes redundant (though it is still referenced as the predecessor).

- This single SR SOP Instance can be electronically signed (recorded as complete and verified) by the user; the scope and meaning of the signature are

  - all of the observations made in the sub-task (whether they be new or changes) such that the user creating the work is signing for their own work only, and

  - verification that they reviewed the work of previous sub-tasks, whether performed previously themselves, or by other users in the same reader role.

- Multiple users in different reader roles may be working on the same image data simultaneously and recording their own observations (which are recorded in separate instances).

- Establishing the state of all observations (all work done) on a subject for a specified reader role requires loading only the single most recent SR SOP Instance for that subject and reader role – predecessor SR SOP Instances do not need to be (and should not be) loaded; there is no need to merge SR SOP Instances created in multiple successive sub-tasks.

- Detecting the difference between what was done in the previous sub-task and the current sub-task can achieved by either comparing the current and predecessor SR SOP Instances, or by examining the (RP-100920, 99RPH, “Observation Creation DateTime”) of each observation of the current SR SOP Instance relative to the current sub-task start time ((RP-100924, 99RPH, “Worklist Sub-task Start DateTime”)); this is necessary to determine what to load into another system to record the work done in the current sub-task (e.g., to batch load Oracle Clinical with the new and changed results)

- If necessary, an application could render a “visual audit trail” by showing explicitly what the “state” of the observations was at each step of the process at the granularity of either the sub-task level, by loading the corresponding SR SOP Instance, or at the Content Item level, by comparing Content Items from successive SR SOP Instances.

- The burden to establish what constitutes the same lesion (distinguished by a “tracking unique identifier”) is on the observation creator or modifier, not the recipient; i.e., each new lesion is assigned a globally unique identifier, and each modified observation, whether modified by the same user or a different user, retains the same globally unique identifier, regardless of in which SR SOP Instance(s) the observation is recorded; in this manner, the recipient is not required to attempt to disambiguate two observations with the same label (e.g., “lesion 1”) that were made in different “user roles” (e.g., “reader 1” and “reader 2”), since these would have different “tracking unique identifiers”, whereas a single observation (e.g., “lesion 1”) created by one user (e.g., “smith”) and modified by another (e.g., “jones”), perhaps in the same “user role” (e.g., “reader 1”) would have the same “tracking unique identifier”; when a lesion splits, each of the “new” split components is assigned a new “tracking unique identifier” and a reference to the “tracking unique identifier” of its predecessor (parent) is recorded; in this way they are explicitly linked, but distinct entities. Likewise for lesions that coalesce (merge).

## Other Instances Referenced From An SR Instance

The SR Instance does not alone completely define the information captured during a read.

It will contain as necessary references to other DICOM SOP Instances, including:

- The original images on which measurement objects using 2D spatial coordinates are made.

- Segmentation instances that encode the rasterized bitmap of the area that constitutes a 3D measurement object

- Presentation States that encode the pan, zoom and windowing state of a (set of) image frames when a measurement object was created or edited (these will be grayscale or color depending on the image to which they apply)

- Derived images created and stored from MPR visualizations for 2D measurements made on planes other than the original images (which will be of a modality appropriate SOP Class, or an appropriate Multi-frame Secondary Capture SOP Class with 3D position and orientation information encoded)

- Registration instances that encode the results of rigid registration between different frames of reference used during the read

Note that it is a requirement of the DICOM SR definition that ALL such SOP Instances that are referenced in the SR Content tree also be listed in the Current Requested Procedure Evidence Sequence (0040,A375). See DICOM PS 3.3 C.17.2.3.

All of the DICOM Patient (i.e., subject) level information in the SR and other instances shall be consistent (and consistent with the original images from which they were derived). Consistent does not necessarily mean identical, in that there may be more information about the subject in some instances than others (e.g., a value for Patient’s Sex present in the images, but not replicated into the SR).

All such other instances created shall have the same Study Instance UID, Study Date and other Study level information as is encoded in the images from which they were derived, if there is only one such study. I.e., a saved derived image, or a presentation state, or a segmentation instance will all share the same study as the images from which they were derived, and NOT the Study information of the SR Instance that references them. In the case of other instances that are derived from multiple Studies (e.g., a registration that spans different Studies in the same or different time points), they shall be encoded with the Study information of the most recent Study from which they are derived.

All such other instances created shall be in a new Series within that Study, since DICOM requires that instances from different equipment and with different modalities (e.g., “SEG” for segmentation, “PR” for presentation states and “REG” for registration) be in different Series.

Since the scope of an SR instance includes work performed on previously encoded sub-tasks, which in the case of a sequential read includes observations made on studies for previous time points, by definition the cumulative SR instance that records the work will include references to non-SR instances that were generated during earlier sub-tasks. These shall continue to be referenced by their original SOP Instance UIDs and do not need to be copied or re-stored. This implies that they will remain in the same Study (with the same Study Instance UID and Study Date) as they were when they were created. If a change to the content related to such an instance is edited, however, a new SOP Instance shall be generated, and subsequent references from SR objects will be to the new instance only. The “old” instances will only be referenced by the “old” SR instances.

At any point in time, the entire collection of instances related to a subject’s original images, SR instances, and all other related instances will contain both old (irrelevant) and current (relevant) information, The references from the most current SR instance define what constitutes what is current, relevant and “active”; anything not referenced from the current SR instance is old, irrelevant and “stale” and should not be used or displayed (except to review the audit trail). The “active” subset can be determined from the Current Requested Procedure Evidence Sequence (0040,A375) attribute, or by enumerating all the references in the content tree.

## Structure

The templates defined here specify a hierarchical organization, though some of the hierarchy is implicit in the ordinary DICOM header attributes rather than within the SR Content Sequence tree; specifically:

- the clinical trial protocol information (the “top” of the tree) is specified in the various Clinical Trial Modules

- the subject information (the “second” layer of the tree) is specified both in the Patient Module and the relevant attributes of the Clinical Trial Modules

- the Study information (e.g. DICOM Study Date and Study Time) are the characteristics of the most recent time point, though there may be multiple imaging Studies from different time points used during a single reading sub-task (see General Study Module Attributes table)

The levels of information below the subject are specified in the SR Content Sequence through successive nesting; specifically:

- all information about the (single) reader (e.g., which user and in which reader role) who created the SR SOP Instance is grouped together at the top level of the content tree (“observer context”)

- observations made in a previous sub-task by an earlier, different user in the same reader role (which makes the current reader a “substitute reader”) are attributed with audit trail information to record who actually made those earlier observations that are contained (quoted) by value.

- the work list task and sub-task are explicitly described for the “current” sub-task and any previous sub-tasks; the “current” sub-task, i.e., the one in which the SR instance was generated, is apparent from a) its most recent TID RPH_0003 Row 13 (RP-100925, 99RPH, “Worklist Sub-task Closed DateTime”), and b) in the case of a completed and verified (“signed”) sub-task, the match with the value of Verification DateTime (0040,A030)

- the one or more time point(s) within an SR instance are described separately from the sub-tasks, since there is not a 1:1 correspondence between time points and sub-tasks (e.g., multiple time points may be modified within a single sub-task); the sub-task within which each observation in a time point is created or modified can be determined from the (RP-100082, 99RPH, “Worklist Sub-task UID”) with in the accompanying audit trail entries (TID RPH_0020)

- the Clinical Trial Timepoint related header attributes are NOT used, since they can only have a single value, and there may be observations about one or more time points rather than a single time point with a single instance, and there is not necessarily a single “current” time point, depending on the type of read

- observations about a time point itself are included at the time point level (e.g. “time point comments)

- image library entries are included at the time point level

- the common characteristics of certain types of observations (i.e., lesions) that span multiple time points are factored out and listed separately from the time point level

- all other observations (e.g., about lesions found on images for a particular time point and lesions that have no corresponding images for a particular time point) are listed below the time point level

- the date/time stamp of every observation is encoded in the (RP-100920, 99RPH, “Observation Creation DateTime”) and (RP-100921, 99RPH, “Observation Modification DateTime”) and content item of every observation, rather than relying on the Observation DateTime (0040,A032), which may or may not be present in a content item, and has no specific semantics with respect to creation, modification or addition.

- the presentation state (zoom, pan, windowing, etc.) captured at the time when a measurement or other annotation is created or edited on an image, is not encoded directly in the SR; rather it is encoded in a separate DICOM Presentation State instance, and a reference to that instance is recorded within the attributes of the IMAGE Content Item itself, not stored as separate Content Items in the SR tree (i.e., in the Referenced SOP Sequence (0008,1199)); see PS 3.3 C.18.4 Image Reference Macro

- for a multi-frame image, the selected frame number is encoded in the Referenced Frame Number (0008,1160) of the IMAGE Content Item; see PS 3.3 C.18.4 Image Reference Macro

- the rasterized bitmap of a 3D measurement or other annotation is recorded as a separate instance of the Segmentation IOD, and referenced from an IMAGE Content Item not stored within the SR tree; see PS 3.3 C.18.4 Image Reference Macro; there shall be one Segment in the Segmentation Storage SOP Instance, it shall always have a Segment Number of 1 (and hence the referenced Segment Number in the IMAGE Content Item shall also always be 1); it shall have a Segmentation Type (0062,0001) of FRACTIONAL, and a Segmentation Fractional Type (0062,0010) of PROBABILITY, will be 8 bits deep with stored pixel values of 0 and 255 only (representing 0 and 100% respectively); if the 3D object spans multiple slices, then there shall be a single Segmentation instance that contains multiple frames.

- all images referenced from within the content tree are required to be listed in the top-level attribute Current Requested Procedure Evidence Sequence (0040,A375), which encodes:

  - the Series and Study instance UIDs in addition to the SOP Instance UIDs of the images

  - optionally, a Referenced SOP Instance MAC Sequence (0400,0403), which allows a hash (Message Authentication Code) value to be stored to later verify the integrity of selected attributes (e.g., the Pixel Data) (i.e., that the value has not changed (in a different “version” of the image) since the measurement was made); see PS 3.3 C.17.2.1 and C.12.1.1.3.1.2

- the electronic signature is recorded in the top level DICOM header and not in the DICOM content tree; specifically:

  - whether signed or unsigned, the Author Observer Sequence (0040,A078) shall contain the user’s identity

  - unsigned (sub-task closed as incomplete) documents shall have

    - the Verification Flag (0040,A493) set to UNVERIFIED,

    - the Completion Flag (0040,A492) set to PARTIAL and

    - the Verifying Observer Sequence shall be absent (NOT present but empty)

  - signed (sub-task closed as complete) documents shall have

    - the Verification Flag (0040,A493) set to VERIFIED,

    - the Completion Flag (0040,A492) set to COMPLETE and

    - the Verifying Observer Sequence (0040,A073) shall contain a single sequence item that contains

      - the Verifying Observer Name (0040,A075) code with a value that is the full name (not user id) of the user,

      - a Verifying Observer Identification Code Sequence (0040,A088) that contains a single sequence item that contains

        - the user id as the Code Value,

        - the full name  as the Code Meaning and

        - a Coding Scheme Designator of 99RPH_USERS

      - a Verifying Organization (0040,A027) of “RadPharm, Inc.”

      - a Verification DateTime (0040,A030) that is the UTC date/time stamp of the signature (which will be the same value as the TID RPH_0003 Row 13 (RP-100925, 99RPH, “Worklist Sub-task Closed DateTime”))

    - the “reason for signature” of the document is encoded in the content tree, since there is no DICOM header attribute for this concept at the present time (cryptographic digital signatures, for which there is Digital Signature Purpose Code Sequence (0400,0401), are not used in this application at this time); a CoreLab Partners-specific value set is also used, since the reasons for signature differ from the ASTM standard codes used for clinical document signatures (see PS 3.16 CID 7007 and ASTM E 2084-00).

    - if appropriate depending on the read paradigm, the time points and observations within those time points will have their Completed flag set to YES in the content tree.

  - all DICOM SR documents have verification status of either UNVERIFIED or VERIFIED, which corresponds to “unsigned” or “signed”, and have a completion status of either PARTIAL or COMPLETE, independent of the verification status; theoretically, a SR document could be completed, but signed (verified) later; the planned workflow though is to insist on a signature prior to completion (and persistence of both simultaneously).

  - there is no current requirement for a cryptographic digital signature either of the individual user or the organization creating the SR instances, and we have no public key certificate infra-structure deployed at this time or immediate plans to do so; this also implies that that the use of cryptographic digital signatures to verify that referenced instances (images, segmentations, presentation states) have not changed (as described in PS 3.3 Table C.17-3 SOP Instance Reference Macro and Section C.12.1.1.3 Digital Signatures Macro) is also not used at this time, and specific content items to contain a message digest for all such references are used instead.

## Extensibility.

The basic templates defined here describe the minimal information that is required for ordinary RECIST or WHO style oncology eligibility and primary reads and adjudication.

The templates are extensible, so it is possible to add new content items at any location in the content tree.

For instance, if a particular protocol requires that a specific question be asked of the user about a lesion (e.g., “is there an associated fracture ? yes/no”), then an additional content item can be added at the lesion level (i.e., a child of Row 1, EV (100025, 99RPH, “Lesion”), with a CONTAINS relationship, in TID RPH_0006) that contains a new CODE content item with a Concept Name code corresponding to the question (e.g., EV (xxxxxx, 99RPH, “Fracture Present”)) with a value set of DCID (RPH_7230) “Yes-No Only”.

Another example is when a protocol requires that a new lesion seen on a bone scan be confirmed on another modality. It is necessary to record that together with the bone scan lesion metadata; an additional content item can be added at the lesion level (i.e., a child of Row 1, EV (100025, 99RPH, “Lesion”), with a CONTAINS relationship, in TID RPH_0006) that contains a new CODE content item with a Concept Name code such as EV (xxxxxx, 99RPH, “New Bone Scan Lesion Confirmed”), with a value set containing codes for (CT, DCM, “Computed Tomography”), (MR, DCM, “Magnetic Resonance”), (RG, DCM, “Radiographic Imaging”)  and (R-00339, SRT, “No”). See PS 3.16 CID 29 Acquisition Modality for a standard set of modality codes.

Existing standard codes for values should be used whenever possible when extending the templates (see DICOM PS 3.16 for all the standard codes and sources of external coding schemes supported by DICOM).

In this manner, applications that are aware of and expecting the extended content can find and use the information, and older applications can gracefully ignore the extended content.

## Information Model

The following entities are explicitly defined in a hierarchical information model:

- Clinical Trial Results

- Reading Sub-tasks (steps within a work list task, e.g., to read a single time point in comparison with previous time points)

- Time Points

- Studies

- Lesions (which may or may not be related to an image)

- Measurement Objects (both to define lesions and to define locations for additional measurements about lesions)

- Observations (including measurements, response categories and comments)

- Measurements (a specific type of observation, distinguished by reference to image regions)

- Adjudication results (a specific type of observation)

- Readers (“person observers” in DICOM SR nomenclature)

The relationships between these entities, and their “attributes” (SR content items), are illustrated in the accompanying UML model document. The normative reference for the content however, is the set of templates, context groups, code values, and modules described herein.

Because the scope of an individual SR instance is the cumulative result of execution of multiple sub-tasks, yet those sub-tasks may include changes to time point observations created in previous sub-tasks, the time point entity is NOT sub-ordinate to the sub-task entity. Rather a separate tree of time point information that represents the cumulative state is encoded, with each observation therein attributed with the sub-task UID of the sub-task in which it was created or modified. Another separate tree of task and sub-task descriptive information is maintained, within which sub-task information can be identified by sub-task UID.

Note:	The information model does not attempt to model references to predecessor documents and objects within predecessors (such as lesions with the same tracking longitudinal unique identifiers, and lesions that merge and split), though such relationships are defined in the templates.

## Codes and Coding Scheme Version

When existing appropriate codes for concepts are available, such as from SNOMED, DICOM or Radlex, these are used in the templates and context groups.

When necessary, private CoreLab Partners-specific codes are defined for concepts not yet in any know standard terminology. These shall use a Coding Scheme Designator of “99RPH”

Codes for units are encoded using UCUM. In all cases, when a UCUM code is used the Coding Scheme Version (0008,0103) attribute is also required, in addition to the usual tuple of Code Value, Coding Scheme Designator and Code Meaning (see DICOM PS 3.16 Section 7.2.2). Unless otherwise specified, the value for all UCUM codes for Coding Scheme Version shall be “1.4”.

Coding Scheme Version shall not be present for SNOMED, DICOM, RadLex or 99RPH codes.

## Templates

The templates that comprise the Clinical Trial Results Document Root are related as illustrated in the following figure.

The Root Template (“RPH_0001” of “99RPH”) shall be identified in the DICOM Instance by inclusion of the Content Template Sequence (0040,a504) Attribute in the top level dataset, with a single item as described in the Container Macro Section.

Notes:	1. This figure does describe the entity-relationship model, since some entities and their attributes and relationships are described as individual content items within templates, rather than as separate templates, and templates may be nested within child content items of other templates.

2. The templates make use of and/or reference to standard DICOM SR templates and context groups (value sets) defined in DICOM PS 3.16 2011, without replicating that information herein, except where necessary for clarity.

3. The inclusion of the Template Identifier allows receiving applications to confirm that the SR is of the correct “type”, since the SOP Class UID is not sufficient to distinguish clinical trials results or any other type of content that might be encoded in a Comprehensive SR SOP Class, nor is the top level concept name in the content tree (the “Document Title”) necessarily unique to the RPH_0001 template.

### TID RPH_0001	Clinical Trial Results Document Root

TID RPH_0001
CLINICAL TRIAL RESULTS DOCUMENT ROOT
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | CONTAINER | EV (RP-100001, 99RPH, “Clinical Trial Results”) | 1 | M |  |  |  |
| 2 | > | HAS CONCEPT MOD | INCLUDE | DTID (1204) Language of Content Item and Descendants | 1 | M |  |  | For English, use (eng,RFC3066,”English”); do not use ISO939_2 as the coding scheme. |
| 3 | > | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0002a) Person Observer Identifying Attributes | 1 | M |  |  | The human who performed the read. The scope of this (single) entry is the entire document, which includes all observations, regardless of task, sub-task, time point or any other entity in the hierarchy, except for any observations made by other individuals that are included, which are always identified as such in individual audit trail entries. |
| 4 | > | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0002b) Device Observer Identifying Attributes | 1 | M |  |  |  |
| 4b | > | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0002c) Clinical Trial Protocol Context | 1 | M |  |  |  |
| 4c | > | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0002d) Subject Context | 1 | M |  |  |  |
| 5 | > | CONTAINS | CONTAINER | EV (111028, DCM, “Image Library”) | 1 | MC | Required if images are referenced from observations. |  | E.g., all IMAGE children of SCOORDs |
| 6 | >> | CONTAINS | INCLUDE | DTID (RPH_0010) Clinical Trial Results Image Library Entry | 1-n | M |  |  | The image library contains relevant attributes of relevant images, e.g., the Pixel Spacing in an image to recomputed distances from coordinates without having to open the images, or the modality of the images to describe what type of image measurements were made from, etc. |
| 7 | > | CONTAINS | CONTAINER | EV (RP-100702, 99RPH, “General Lesion Observations”) | 1 | MC | Shall not be present if Row 15 is present. |  | I.e., initial or if “Level 2” adjudication. |
| 8 | >> | CONTAINS | INCLUDE | DTID(RPH_0006b) General Lesion Observations | 1 | M |  |  |  |
| 9 | > | CONTAINS | CONTAINER | EV (RP-100023, 99RPH, “Reading Sub-task”) | 1-n | M |  |  | Information from multiple sub-tasks may be encoded in a single instance ; the most recently created SR will successively accumulate information from previous sub-tasks, and reference previous “versions” as predecessors. |
| 10 | >> | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0003) Reading Session and Task Context | 1 | M |  |  | The multiple sub-tasks that have lead to the cumulative state encoded in this SR instance may have been performed in one task or multiple tasks. |
| 11 | > | CONTAINS | CONTAINER | EV (RP-100024, 99RPH, “Time Point”) | 1-n | M |  |  | There is always at least one time point. |
| 12 | >> | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0004) Time Point Context | 1 | M |  |  |  |
| 13 | >> | CONTAINS | INCLUDE | DTID(RPH_0005) Time Point Observations | 1 | MC | Shall not be present if Row 15 is present. |  | I.e., initial or if “Level 2” adjudication |
| 14 | >> | CONTAINS | INCLUDE | DTID(RPH_0006) Time Point Lesion Observations | 1 | MC | Shall not be present if Row 15 is present. |  | I.e., initial or if “Level 2” adjudication. |
| 15 | >> | CONTAINS | INCLUDE | DTID(RPH_0005b) Adjudication Observations | 1 | MC | Required if EV (RP-100212, 99RPH, “Worklist Task Level”) in TID RPH_0003 is (RP-100214, 99RPH, “Perform Comparision”). Shall not be present otherwise. |  | I.e., if “Level 1” adjudication. |
| 16 | > | CONTAINS | CODE | EV(RP-100074, 99RPH, “Signature meaning”) | 1 | MC | Required if Verification Flag (0040,A493) is VERIFIED. Shall not be present otherwise. | DCID RPH_7015 Signature Meanings |  |

### TID RPH_0002a	Person Observer Identifying Attributes

This template contains identifying and descriptive attributes of persons that are observers. It extends the standard TID 1003 to include additional information specific to clinical trials.

TID RPH_0002a
PERSON OBSERVER IDENTIFYING ATTRIBUTES 
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | HAS OBS CONTEXT | PNAME | EV (121008,DCM, “Person Observer Name”) | 1 | M |  |  | Human readable names, like Smith^Joan |
| 2 |  | HAS OBS CONTEXT | TEXT | EV (RP-100006, 99RPH, “Person Observer’s Login Name”) | 1 | M |  |  | Additional to TID 1003. E.g. “jsmith”. De-identified in public distribution. |
| 3 |  | HAS OBS CONTEXT | TEXT | EV (121009,DCM, “Person Observer’s Organization Name”) | 1 | M |  | Shall be equal to Institution Name (0008,0080) of the General Equipment Module | Is Type U in TID 1003. Also, in TID 1003 the constraint is “defaults to” rather than “shall be equal to”. |
| 4 |  | HAS OBS CONTEXT | CODE | EV (121011,DCM, “Person Observer’s Role in this Procedure”) | 1 | M |  | DCID(RPH_7001) Clinical Trial Performing Roles | Is Type U in TID 1003. RPH_7001 overrides the BCID 7453 in TID 1003. |
| 5 |  | HAS OBS CONTEXT | TEXT | EV (RP-100007, 99RPH, “Identifier within Person Observer’s Role”) | 1 | M |  | Typically “1” or “2”, or “A” or “B”, to designate individual within the role defined by Row 4 (which might be a code meaning “Reader”). |  |

### TID RPH_0002b	Device Observer Identifying Attributes

This template contains identifying and descriptive attributes of the device used during the read. It replaces the standard TID 1004, in order to avoid repeating information already present in the General Equipment Module, which is specified later in this document. It includes additional information specific to semi-automated and automated quantitative measurements performed in clinical trials.

Note:	EV (121012,DCM, “Device Observer UID”) is specified in TID 1004 (as mandatory) but is not useful in the our context.

TID RPH_0002b
DEVICE OBSERVER IDENTIFYING ATTRIBUTES
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | HAS OBS CONTEXT | TEXT | EV (RP-100084, 99RPH, “Application Name”) | 1-n | U |  |  | An “application” might be a “plug-in” to a “host”. The description and version of the “host” would be in the General Equipment Module. |
| 2 | > | HAS PROPERTIES | TEXT | EV (RP-100083, 99RPH, “Version”) | 1 | M |  |  |  |
| 3 |  | HAS OBS CONTEXT | TEXT | EV (111001, DCM, “Algorithm Name”) | 1-n | U |  |  |  |
| 4 | > | HAS PROPERTIES | TEXT | EV (RP-100083, 99RPH, “Version”) | 1 | M |  |  | There is a specific DICOM code (111003, DCM, “Algorithm Version”) used in Mammo CAD, but for consistency with the other items in this template, a generic “version” code is used. |
| 5 | > | HAS PROPERTIES | CODE | EV (RP-100085, 99RPH, “Algorithm Type”) | 1 | M |  | DCID (RPH_7016) Algorithm Type |  |
| 6 | > | HAS PROPERTIES | TEXT | EV (RP-100926, 99RPH, “Algorithm UID”) | 1 | M |  |  | A TEXT rather than UIDREF is used, since this may not be a DICOM format UID. Will be different for different versions of the same name. May be referenced from a particular application of this algorithm. Shall be different if the version is different for the same algorithm name. |
| 7 | > | HAS PROPERTIES | TEXT | EV (111002, DCM, “Algorithm Parameters”) | 1-n | U |  |  | Such parameters could be stuffed in some unstructured or proprietary structured way into such a text item, or (preferably) listed as extensible subordinate text, code or numeric content items in a structured manner (e.g., specific thresholds used for segmentation). |
| 8 |  | HAS OBS CONTEXT | TEXT | EV (RP-100086, 99RPH, “Business Rule Set Name”) | 1-n | MC | Required if business rules were used. |  | This is a name for a set of business rules used during the creation of this SR instance.Multiple, since for example, there may be a pan-CoreLab Partners set, and a protocol-specific set, each with a different name and version. |
| 9 | > | HAS PROPERTIES | TEXT | EV (RP-100083, 99RPH, “Version”) | 1 | M |  |  |  |

### TID RPH_0002c	Clinical Trial Protocol Context

This template contains identifying and descriptive attributes of the protocol that is being read. It conveys information specific to the protocol that is not included in the top level DICOM dataset (e.g., in the Clinical Trial Subject Modules).

TID RPH_0002c
CLINICAL TRIAL PROTOCOL CONTEXT
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | HAS OBS CONTEXT | TEXT | EV (RP-101100, 99RPH, “Protocol Name”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of ProtocolName in the worklist. |
| 2 |  | HAS OBS CONTEXT | TEXT | EV (RP-101101, 99RPH, “Protocol UID”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of ProtocolUID in the worklist. Is not a DICOM UID, hence the TEXT VT. |
| 3 |  | HAS OBS CONTEXT | TEXT | EV (RP-101109, 99RPH, “Protocol Number”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of ProtocolNumber in the worklist. |

### TID RPH_0002d	Subject Context

This template contains identifying and descriptive attributes of the subject of the read. It replaces the standard TID 1006, in order to convey information specific to the subject that is relavant to a clinical trial and not included in the top level DICOM dataset (e.g., in the General Patient and Clinical Trial Subject Modules).

TID RPH_0002d
SUBJECT CONTEXT
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | HAS OBS CONTEXT | TEXT | EV (RP-101102, 99RPH, “Site UID”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of Site UID in the worklist. Is not a DICOM UID, hence the TEXT VT. |
| 2 |  | HAS OBS CONTEXT | TEXT | EV (RP-101103, 99RPH, “Subject UID”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of Subject UID in the worklist. Is not a DICOM UID, hence the TEXT VT. |
| 3 |  | HAS OBS CONTEXT | DATE | EV (RP-101104, 99RPH, “Enrollment Date”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of Enrollment Date in the worklist. |
| 4 |  | HAS OBS CONTEXT | DATE | EV (RP-101105, 99RPH, “Randomization Date”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of Randomization Date in the worklist. |
| 5 |  | HAS OBS CONTEXT | DATE | EV (RP-101106, 99RPH, “First Dose Date”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of First Dose Date in the worklist. |
| 6 |  | HAS OBS CONTEXT | DATE | EV (RP-101107, 99RPH, “End of Treatment Date”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of End of Treatment Date in the worklist. |
| 7 |  | HAS OBS CONTEXT | DATE | EV (RP-101108, 99RPH, “Termination Date”) | 1 | MC | Required if present with a value in the worklist. |  | Set to the value of Termination Date in the worklist. |

### TID RPH_0003	Reading Session and Task Context

This template contains identifying and descriptive attributes of the reading session and the reading task that result in clinical trial results.

TID RPH_0003
READING SESSION AND TASK CONTEXT
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | HAS OBS CONTEXT | TEXT | EV (RP-100008, 99RPH, “Worklist Task Name”) | 1 | M |  |  |  |
| 2 | > | HAS OBS CONTEXT | UIDREF | EV (RP-100081, 99RPH, “Worklist Task UID”) | 1 | M |  |  | Allows results generated from one sub-task to be related to another sub-task within the same work list task, or to be referenced from elsewhere, though no such reference mechanism is currently defined. |
| 3 | > | HAS OBS CONTEXT | TEXT | EV (RP-100010, 99RPH, “Worklist Task Version”) | 1 | U |  |  | Will be different if the content of a task is edited (e.g., in response to a change in the read request). |
| 4 | > | HAS OBS CONTEXT | TEXT | EV (RP-100011, 99RPH, “Worklist Task Description”) | 1 | U |  |  | De-identified in public release |
| 5 | > | HAS OBS CONTEXT | CODE | EV (RP-100212, 99RPH, “Worklist Task Level”) | 1 | M |  | DCID RPH_7003b Clinical Trial Worklist Task Levels |  |
| 6 | > | HAS OBS CONTEXT | CODE | EV (RP-100210, 99RPH, “Worklist Task Type”) | 1 | M |  | DCID RPH_7002 Clinical Trial Worklist Task Type |  |
| 7 | > | HAS OBS CONTEXT | CODE | EV (RP-100211, 99RPH, “Worklist Task Category”) | 1 | M |  | DCID RPH_7003 Clinical Trial Worklist Task Category |  |
| 8 | > | HAS OBS CONTEXT | CODE | EV (RP-100232, 99RPH, “Worklist Task Repeat Type”) | 1 | MC | Required if the task is a repeat task. Shall not be present otherwise. | DCID RPH_7003c Clinical Trial Worklist Task Repeat Types |  |
| 9 | > | HAS OBS CONTEXT | CODE | EV (RP-100233, 99RPH, “Worklist Task Variability Type”) | 1 | MC | Required if the task is a variability task. Shall not be present otherwise. | DCID RPH_7003d Clinical Trial Worklist Task Variability Types |  |
| 10 | > | HAS OBS CONTEXT | TEXT | EV (RP-100009, 99RPH, “Worklist Sub-task Name”) | 1 | M |  |  |  |
| 11 | >> | HAS OBS CONTEXT | UIDREF | EV (RP-100082, 99RPH, “Worklist Sub-task UID”) | 1 | M |  |  | May be referenced from audit trail entries. |
| 12 | >> | HAS OBS CONTEXT | DATETIME | EV (RP-100924, 99RPH, “Worklist Sub-task Start DateTime”) | 1 | M |  |  | Does not change once started, even if the sub-task is closed as incomplete and re-opened one or more times before completion. |
| 13 | >> | HAS OBS CONTEXT | DATETIME | EV (RP-100925, 99RPH, “Worklist Sub-task Closed DateTime”) | 1 | M |  |  | Whether completed or not; will be the same as Verification DateTime (0040,A030) if closed as complete and signed. |

### TID RPH_0004	Time Point Context

This template contains identifying and descriptive attributes of a time point in clinical trial results.

TID RPH_0004
TIME POINT CONTEXT
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | HAS OBS CONTEXT | TEXT | EV (RP-100018, 99RPH, “Subject Time Point Unique Identifier”) | 1 | M |  |  | Value shall be the same as encoded in the Clinical Trial Time Point ID (0012,0050) attribute in the Clinical Trial Study Module of the “header”. |
| 2 |  | HAS OBS CONTEXT | TEXT | EV (RP-100017, 99RPH, “Protocol Time Point Unique Identifier”) | 1 | M |  |  |  |
| 3 |  | HAS OBS CONTEXT | TEXT | EV (RP-100019, 99RPH, “Time Point Name”) | 1 | M |  |  | Value shall be the same as encoded in the Clinical Trial Time Point Description (0012,0051) in the Clinical Trial Study Module of the “header”. This will be a generated text value, usually sequential in form, based on the days of enrollment and Timepoint Type provided. |
| 4 |  | HAS OBS CONTEXT | TEXT | EV (RP-100550, 99RPH, “Time Point Sponsor Name”) | 1 | M |  |  |  |
| 4a |  | HAS OBS CONTEXT | TEXT | EV (RP-100551, 99RPH, “Time Point Type”) | 1 | M |  |  | The values known are “scheduled” and “unscheduled”, but there is no need to code this, because it replicates the flag in Row 5. |
| 4b |  | HAS OBS CONTEXT | NUM | EV (RP-100552, 99RPH, “Days from enrollment”) | 1 | M |  | Units EV (d, UCUM, “Days”) | On-study baseline will have a HAS OBS CONTEXT value of 0 days; pre-study (eligibility) may have negative days. |
| 4c |  | HAS OBS CONTEXT | NUM | EV (RP-100553, 99RPH, “Time Point Order”) | 1 | M |  | Units EV (“{order}”, UCUM, “order”) | Usually derived from days from enrollment in a sequential read; the first time point will have an order value of 0 and increase by 1 for successive time points. |
| 5 |  | HAS OBS CONTEXT | CODE | EV (RP-100021, 99RPH, “Time Point Unscheduled”) | 1 | M |  | DCID (RPH_7230) Yes-No Only |  |
| 6 |  | HAS OBS CONTEXT | CODE | EV (RP-100022, 99RPH, “Time Point Baseline”) | 1 | M |  | DCID (RPH_7230) Yes-No Only |  |
| 7 |  | HAS OBS CONTEXT | CODE | EV (RP-100090, 99RPH, “Completed”) | 1 | M |  | DCID (RPH_7230) Yes-No Only | Implies that any subsequent changes will require permission, change reasons and an audit trail entry, and that any lesions added to this time point will be “additional” rather than “initial”. |
| 8 |  | HAS OBS CONTEXT | TEXT | EV (121065, DCM, “Procedure Description”) | 1-n | MC | Required if any images were available for review for this time point. | Shall be derived from the Study Description (0008,1030) of the General Study Module in the images. | Cardinality of >= 1 assumes that there will always be at least one Study. The UIDREF Study Instance UID would be a logical choice for the “parent” of each study-related entry, but cannot be used due to constraints on Comprehensive SR relationships between source and target content items; use the Study (Procedure) Description instead. |
| 9 | > | HAS PROPERTIES | UIDREF | EV (110180, DCM, “Study Instance UID”) | 1 | M |  | Shall be derived from the Study InstanceUID (0020,000D) of the General Study Module in the images. |  |
| 10 | > | HAS PROPERTIES | CODE | EV (121139, DCM, “Modality”) | 1-n | M |  | DCID (29) Modalities Shall be derived from the Modality (0008,0060) value(s) of the General Series Module in the images. | Note that this is a code, not a string, and so the string value from the Modality attribute in the DICOM image (e.g., “CT”) needs to be mapped to the proper code from DICOM Part 16 (e.g., (CT, DCM, “Computed Tomography”)). The cardinality is >= 1, since there may be more than one modality in a DICOM study (e.g., a CT and a PET in the one study). There is always at least one value known. |
| 10a | > | HAS PROPERTIES | CODE | EV (121058, DCM, “Procedure reported”) | 1 | MC | Shall be present if supplied in the worklist. | DCID RPH_7080 Procedures Reported If present, shall be copied from the ProcedureReported element supplied in the worklist. | This is code describing some sub-type of modality or procedure, e.g., a MUGA or Sestamibi or Ventilation/Perfusion type of NM scan. Typically absent, for example for ordinary body CT. |
| 11 | > | HAS PROPERTIES | DATE | EV (111060, DCM, “Study Date”) | 1 | M |  | Shall be derived from the Study Date (0008,0020) value of the General Study Module in the images. | The Study Date is mandatory because it should always be known. Note that date of response assessment is specifically encoded at the time point observation lesion level. |
| 12 | > | HAS PROPERTIES | TIME | EV (111061, DCM, “Study Time”) | 1 | U |  | If present, shall be derived from the Study Time (0008,0030) value of the General Study Module in the images. | The Study Time is optional because it may not always be known, and is generally less important to recipients. |
| 13 | > | HAS PROPERTIES | CODE | EV (RID12236, RADLEX, “Anatomic Region Covered”) | 1 | M |  | DCID RPH_7007 Anatomic Regions for Radiology Procedures, or DCID RPH_7007b Anatomic Regions for External Photography Procedures Shall be copied from the BodyPart element code supplied in the worklist, if present, otherwise may be derived from the Anatomic Region Sequence (0008,2218) code value or Body Part Examined (0018,0015) string value in the images. | This corresponds to the “Body Part” for the procedure; it is coded and not plain text. May be a combined anatomic region, e,g, if CT chest, abdomen and pelvis studies have been combined. |
| 13b | >> | HAS CONCEPT MOD | CODE | EV (G-C171, SRT, “Laterality”) | 1 | M |  | DCID (244) Laterality Shall be copied from the Laterality element code supplied in the worklist, if present, otherwise may be derived from the Laterality (0020,0060), Image Laterality (0020,0062) or Frame Laterality (0020, 9072) value in the images. | The value set contains codes for right, left, both and unilateral (unpaired), hence is always required for coded anatomic regions |
| 14 | > | HAS PROPERTIES | UIDREF | EV (RP-100904, 99RPH, “Exam Identifier”) | 1-n | MC | Shall be present if supplied in the worklist. |  |  |
| 15 | > | HAS PROPERTIES | NUM | EV (RID12405, RADLEX, “Reconstruction Interval”) | 1 | MC | Shall be present if supplied in the worklist. | EV (mm, UCUM, “millimeters”) | Represents the nominal reconstruction interval for the procedure (i.e., at the study level as supplied by the worklist). May differ from the actual RI computed for an image with respect to its neighbors and recorded in the image library. May be absent in the worklist if multiple studies with different RI are combined into one load … not sent rather than choosing (a possibly incorrect) one. |
| 16 | > | HAS PROPERTIES | NUM | EV (15074-8, LN, “Blood Glucose”) | 1 | MC | Shall be present if supplied in the worklist. | EV (mmol/l, UCUM, “mmol/l”) | May be supplied for PET procedures. There is actually a separate code in SNOMED for blood glucose via glucometer, as opposed to this more generic code, as well as a code for plasma glucose, but this choice is sufficient. |
| 17 | > | HAS PROPERTIES | NUM | EV (RP-100900, 99RPH, “PET Radionuclide Incubation Time”) | 1 | MC | Shall be present if supplied in the worklist. | EV (min, UCUM, “min”) | May be supplied for PET procedures . This value may differ from the value computed from the attributes in the PET image headers, if the site records this manually and/or accounts for other factors than are entered at or supported by the modality console. |

### TID RPH_0005	Time Point Observations

This template contains observations made about a time point in clinical trial results.

TID RPH_0005
TIME POINT OBSERVATIONS
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | CONTAINS | CONTAINER | EV (RP-100073, 99RPH, “Time Point Observation”) | 1-n | U |  |  |  |
| 2 | > | CONTAINS | UIDREF | EV(RP-100401, 99RPH, “Observation UID”) | 1 | M |  |  |  |
| 3 | > | CONTAINS | CODE | DCID (RPH_7710) Baseline Time Point Observation Types With Yes-No Answers | 1 | UC | XOR Row 4, 5 and 6 and RPH_0004 Row 6 (RP-100022, 99RPH, “Time Point Baseline”) is (R-0038D,SRT, “Yes”). | DCID (RPH_7230) Yes-No Only | May be provided to categorize a specific type of observation, e.g., an observation of a fluid collection. |
| 4 | > | CONTAINS | CODE | DCID (RPH_7711) Post-Baseline Time Point Observation Types With Yes-No Answers | 1 | UC | XOR Row 3, 5 and 6 and RPH_0004 Row 6 (RP-100022, 99RPH, “Time Point Baseline”) is (R-00339, SRT, “No”). | DCID (RPH_7230) Yes-No Only | May be provided to categorize a specific type of observation, e.g., an observation of pseudo-progression. |
| 5 | > | CONTAINS | CODE | DCID (RPH_7712) Post-Baseline Time Point Observation Types With Yes-No-UE Answers | 1 | UC | XOR Row 3, 4 and 6 and RPH_0004 Row 6 (RP-100022, 99RPH, “Time Point Baseline”) is (R-00339, SRT, “No”). | DCID (RPH_7231) Yes-No-UE |  |
| 6 | > | CONTAINS | NUM | DCID (RPH_7031) Time Point Numeric Observations | 1 | UC | XOR Row 3, 4 and 5 | DCID (RPH_7032) Time Point Numeric Observation Units | The units need to be appropriate to the type of observation (e.g., “mm” for SLD, “mm2” for SPD, “%” for changes from baseline or nadir). There is no direct reference to the time point lesion observations that aggregate measurements may have been computed from. If a numeric value is not available, then the Numeric Qualifier attribute within the NUM content item shall be used to convey: unable to evaluate (UE), for which (114011, DCM, “Value indeterminate”) shall be used not applicable (NA), for which (114007, DCM, “Measurement not attempted”) shall be used. |
| 7 | > | CONTAINS | TEXT | EV(121106, DCM, “Comment”) | 1 | U |  |  | If Rows 3, 4, 5 and 6 are all absent, the type is unspecified and any comment present is not categorized. Will be absent if a comment was present but was removed by the user (and an audit trail entry made), since zero-length (empty) values are not permitted for TEXT content items. |
| 8 | > | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0020) Audit Trail Entry Template | 1 | M |  | $ChangeReasons = DCID RPH_7014 Time Point Change Reasons $AdditionReasons = DCID RPH_7014c Time Point Observation Addition Reasons | This template includes a completed flag, which is with respect to the individual observation about the time point, and distinct from the completed flag for the entire time point (in RPH_0004 Timepoint Context). |

### TID RPH_0005b	Adjudication Observations

This template contains observations made about comparison between two or more performers’ clinical trial results (i.e., “adjudication”).

This template is included within a parent content item that describes a specific time point, but whether or not it applies to just that time point, or all previous time points as well, is explicitly called out,

TID RPH_0005b
ADJUDICATION OBSERVATIONS
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | CONTAINER | EV (RP-100280, 99RPH, “Adjudication Observation”) | 1 | M |  |  |  |
| 2 | > | CONTAINS | UIDREF | EV(RP-100401, 99RPH, “Observation UID”) | 1 | M |  |  |  |
| 3 | > | CONTAINS | CODE | EV (121011,DCM, “Person Observer’s Role in this Procedure”) | 1 | M |  | DCID(RPH_7001b) Clinical Trial Adjudicated Roles | This is the role of the observers whose work is being adjudicated, e.g., a code for “reader”. This is NOT the role of adjudicator themselves, which for this SR instance is encoded in TID RPH_0002a Person Observer Identifying Attributes. This role is factored out from the accepted and rejected observer’s lists in this template, since they must all have the same role. |
| 4 | > | CONTAINS | CONTAINER | EV (RP-100281, 99RPH, “Observers Accepted”) | 1 | MC | Required if an observer was accepted. |  | Will be absent if no observer was accepted. |
| 5 | >> | CONTAINS | TEXT | EV (RP-100007, 99RPH, “Identifier within Person Observer’s Role”) | 1 | M |  | Typically “1” or “2”, or “A” or “B”, to designate individual within the role defined by Row 4 (which might be a code meaning “Reader”). | E.g. just “1” (and not “reader 1”). This identifies which observer, if any, was chosen from the choices available (i.e., their results were accepted by the adjudicator). Only the role and the identifier within the role is provided; it is assumed that it is not necessary also include the persons full name or their login in. |
| 6 | > | CONTAINS | CONTAINER | EV (RP-100282, 99RPH, “Observers Rejected”) | 1 | M |  |  |  |
| 7 | >> | CONTAINS | TEXT | EV (RP-100007, 99RPH, “Identifier within Person Observer’s Role”) | 1-n | M |  |  | This identifies which observer(s) were not chosen from the choices available (i.e., their results were rejected by the adjudicator, in favor of the results of the observer described in Row 3). May be multiple, if there were more than two observers, or if no observers were chosen; results being adjudicated. |
| 8 | > | CONTAINS | CODE | EV (RP-100283, 99RPH, “Reason for Choice”) | 1 | MC | Required if Row 8b (RP-100286, 99RPH, “Image Quality Issues Contribute to Discordance”) is (R-00339, SRT, “No”) and Row 8a RP-100284, “Reason for Discordance”) value is not justifiable. | DCID RPH_7050a Adjudication Choice Reasons | Image quality may be the only reason, or there may be (one) additional reason when the reson for discordance is not justifiable (as defined in DCID RPH_7050b Adjudication Discordance Reason. |
| 8a | > | CONTAINS | CODE | EV (RP-100284, 99RPH, “Reason for Discordance”) | 1 | M |  | DCID RPH_7050b Adjudication Discordance Reason |  |
| 8b | > | CONTAINS | CODE | EV (RP-100286, 99RPH, “Image Quality Issues Contribute to Discordance”) | 1 | M |  | DCID (RPH_7230) Yes-No Only |  |
| 9 | > | CONTAINS | TEXT | EV(121106, DCM, “Comment”) | 1 | U |  |  |  |
| 10 | > | CONTAINS | CODE | EV(RP-100277, 99RPH, ”Observation Scope”) | 1 | M |  | CID RPH_7052 Adjudication Observation Scope | Whether or not the adjudication is performed and recorded one time point at a time (sequential) or at a specific time point with reference to all preceding time points. |
| 11 | > | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0020) Audit Trail Entry Template | 1 | M |  | $ChangeReasons = DCID RPH_7014a Adjudication Change Reasons |  |

### TID RPH_0006	Time Point Lesion Observations

This template contains observations made about lesions in clinical trial results at a specific time point (as opposed to general observations about lesions that are not time point specific – see TID RPH_0006b General Lesion Observations). It also includes “lesions” that are created for the purpose of calibrating scanned film or other secondary capture images.

TID RPH_0006
TIMEPOINT LESION OBSERVATIONS
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | CONTAINS | CONTAINER | EV (RP-100025, 99RPH, “Lesion”) | 1-n | U |  |  |  |
| 2 | > | CONTAINS | UIDREF | EV (112040, DCM, “Tracking Unique Identifier”) | 1 | M |  |  | The commonality of this UID with the same UID in the TID RPH_0006b General Lesion Observations template allows access to “common” information about a lesion that spans time points, specifically such things as its “label” (Tracing Identifier), type, site, etc., hence these are NOT repeated here. |
| 3 | > | CONTAINS | CODE | EV (RP-100320, 99RPH, “Calibration”) | 1 | M |  | DCID (RPH_7230) Yes-No Only | Whether or not this “lesion” was created for the purpose of calibrating scanned film or other secondary capture images. Calibrations are managed as lesions (and not just measurement objects) in order to capture a UID, completion status and change reasons when recalibration takes place. |
| 4 | > | CONTAINS | UIDREF | EV (RP-100028, 99RPH, “Predecessor Lesion Tracking Unique Identifier”) | 1-n | MC | Required if this lesion is related to one or more lesions on a previous time point that has split or merged at this time point. Shall be a single value if a lesion has split at this time point, in which case the parent lesion (before splitting) is referenced; shall be multiple values referencing all the lesions on the previous time point that merged. Shall not be present if Row 3 (RP-100320, 99RPH, “Calibration”) is (R-0038D,SRT, “Yes”). | Has the values of Row 2 EV (112040, DCM, “Tracking Unique Identifier”) for each of the predecessor lesions | Though once it has been “observed”, a relationship to predecessors could be construed as a common information that could be encoded in TID RPH_0006b General Lesion Observations; however, it is intended to capture on which time point the decision that predecessor relationship exists, and so it is encoded on per-time point basis in this template. The referenced predecessors, by definition, will not have observations in this time point, and on subsequent time points, there will be no references to predecessors present. |
| 5 | > | CONTAINS | TEXT | EV (121106, DCM, “Comment”) | 1 | U |  |  | Lesion comments at the time point level are optional, and there may only be one of them. |
| 7 | > | CONTAINS | INCLUDE | DTID(RPH_0007) Measurement Objects | 1 | MC | Required if Row 11 (RP-100042, 99RPH, “Unable to evaluate lesion”) is (R-00339,SRT, “No”). May be present otherwise. | $Calibration = Row 3 value | See Note 1. |
| 8 | > | CONTAINS | INCLUDE | DTID(RPH_0007) Measurement Objects | 1-n | UC | Shall be present otherwise only if Row 11 (RP-100042, 99RPH, “Unable to evaluate lesion”) is (R-00339,SRT, “No”) and Row 3 RP-100320, 99RPH, “Calibration”) is (R-00339,SRT, “No”). | $Calibration = EV (R-00339,SRT, “No”) | This describes additional regions and measurements about the lesion; see Notes 1 and 2. |
| 9 | > | CONTAINS | CODE | EV(RID11510, RADLEX, “Therapeutic Response”) | 1 | MC | Required if EV (RP-100022, 99RPH, “Time Point Baseline”) of the enclosing time point content item is (R-00339,SRT, “No”) and Row 4 EV (RP-100026, 99RPH, “Lesion Type”) of RPH_0006b for the same Tracking Unique Identifier is (RP-100030, 99RPH, “Non-target lesion”) and Row 6 is (R-00339,SRT, “No”) and Row 9b is absent. Shall not be present otherwise. | DCID RPH_7010 Non-Target Lesion Response or if the modality of the image on which the lesion is defined is PET DCID RPH_7010b PET Target Lesion Qualitative Response | Note that N/A (not applicable) has NOT been included in this list; note also that UE is also not included, since this is factored out into a yes/no flag, since the same concept is used for both target and non-target lesions. RPH_7010b defines PMD, SMD, PMR and CMR |
| 9b | > | CONTAINS | CODE | EV(RP-100901, 99RPH, “Qualitative Assessment”) | 1 | U |  | DCID RPH_7010c PET Lesion Qualitative Assessment. | May be present for certain types of PET protocols, for example. |
| 11 | > | CONTAINS | CODE | EV(RP-100042, 99RPH, “Unable to evaluate lesion”) | 1 | MC | Required if Row 3 RP-100320, 99RPH, “Calibration”) is (R-00339,SRT, “No”). Shall not be present otherwise. | DCID (RPH_7230) Yes-No Only | Should be yes when either the target/new UE checkbox is set, or the non-target response drop down is selected as UE. This is always present, even if baseline (except for missing images or calibrations); for baseline where measurements (quantitative assessments) are present, or where there is no therapeutic assessment (never is at baseline), it shall always be No; however, when qualitative assessments are being made (e.g., for PET), this flag may sometimes be Yes at baseline. |
| 12 | > | CONTAINS | CODE | EV(RP-100043, 99RPH, “Reason unable to evaluate”) | 1 | MC | Required if Row11 EV(RP-100042, 99RPH, “Unable to evaluate lesion”) is (R-0038D,SRT, “Yes”). Shall not be present otherwise. | DCID RPH_7011 Reasons Unable to Evaluate Lesion | Corresponds to the lesion UE choices for target, new and non-target lesions. |
| 13 | > | CONTAINS | CODE | EV(RP-100053, 99RPH, “Unable to measure lesion”) | 1 | MC | Required if EV (RP-100022, 99RPH, “Time Point Baseline”) of the enclosing time point content item is (R-00339,SRT, “No”) and Row 4 EV (RP-100026, 99RPH, “Lesion Type”) of RPH_0006b for the same Tracking Unique Identifier is NOT (RP-100030, 99RPH, “Non-target lesion”) and Row 11 EV(RP-100043, 99RPH, “Unable to evaluate lesion”) is (R-00339,SRT, “No”) and Row 9b EV(RP-100901, 99RPH, “Qualitative Assessment”) is absent and Row 6 is (R-00339,SRT, “No”). Shall not be present otherwise. | DCID (RPH_7230) Yes-No Only |  |
| 14 | > | CONTAINS | CODE | EV(RP-100054, 99RPH, “Reason unable to measure”) | 1 | MC | Required if Row 13 EV(RP-100053, 99RPH, “Unable to measure lesion”) is (R-0038D,SRT, “Yes”) and Row 14b EV(RP-100285, 99RPH, “Unequivocal Progression”) is not (R-0038D,SRT, “Yes”). Shall not be present otherwise. | DCID RPH_7012 Reasons Unable to Measure Target Lesion if lesion is a target lesion DCID RPH_7012b Reasons Unable to Measure New Lesion if lesion is a new lesion | Corresponds to the target/new lesion radio buttons, other than UE, which is factored out separately to be common with non-target lesions, other than “merged with” which is handled through referenced links, and other than unequivocal progression, which is a separate content item. |
| 14b | > | CONTAINS | CODE | EV (RP-100285, 99RPH, “Unequivocal Progression”) |  | UC | May only be present for non-target lesion and Row 13 EV(RP-100053, 99RPH, “Unable to measure lesion”) is (R-0038D,SRT, “Yes”). | DCID (RPH_7230) Yes-No Only | Used to indicate unequivocal progression when measurement is required but unable to measure. |
| 15 | > | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0020) Audit Trail Entry Template | 1 | M |  | If Row 3 (RP-100320, 99RPH, “Calibration”) is (R-00339,SRT, “No”), then $ChangeReasons = DCID RPH_7013 Lesion Change Reasons and $AdditionReasons = DCID RPH_7013b Lesion Addition Reasons If Row 3 (RP-100320, 99RPH, “Calibration”) is (R-0038D,SRT, “Yes”), then $ChangeReasons = DCID RPH_7013c Calibration Change Reasons and $AdditionReasons shall not be used. | Though this template is included only once, it may contain multiple modification entries within it, since multiple successive changes may have been performed on successive sub-tasks, or both a recalibration and another type of modification may have been made in the same sub-task. When a recalibration is performed, not only does the calibration lesion have an audit trail entry, but all lesions affected by it also (DCID RPH_7013 Lesion Change Reasons includes (RP-100351,99RPH,“Recalibration”)). |

Notes:	1. A Lesion may have multiple additional regions or measurements, for example, to describe the end points of a RECIST-style linear distance measurement that has been made (manually or automatically) on a lesion that has been defined spatially by other means, such as by 2D iso-contours that were generated from a 3D segmentation.

2. The presence of multiple regions or measurements for a Lesion may be because multiple (independent) observations about the lesion have been made (e.g., different kinds of lengths, volumes + manual lengths, etc.), or because there are related separate regions and measurements (e.g., a “tumor” region and a “background” region to allow computation of “tumor to background ratio” using RPH_0007d Measurements Derived From Other Measurements).

### TID RPH_0006b	General Lesion Observations

This template contains observations made about lesions in clinical trial results that are not specific to time point (as opposed to time point specific observations about lesions- see TID RPH_0006 Time Point Lesion Observations).

TID RPH_0006b
GENERAL LESION OBSERVATIONS
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | CONTAINS | CONTAINER | EV (RP-100025, 99RPH, “Lesion”) | 1-n | U |  |  |  |
| 2 | > | CONTAINS | UIDREF | EV (112040, DCM, “Tracking Unique Identifier”) | 1 | M |  | A globally unique identifier for all instances of this particular lesion in this particular subject made by this particular reader role that is the same for instances of the lesion in different SR SOP Instances. | Variously referred to in the model and other documents as “Lesion UID” or “Link UID”. |
| 3 | > | CONTAINS | TEXT | EV (112039,DCM, “Tracking Identifier”) | 1 | M |  | Shall be the same for all instances of the same lesion with the same Tracking Unique Identifier. | Tracking Identifier is from DICOM CAD, e.g., TID 4108, and is used together with Tracking Unique Identifier. The definition is “A text label used for tracking a finding or feature, potentially across multiple reporting objects, over time. This label shall be unique within the domain in which it is used.” Arguably, EV (121151, DCM, “Lesion Identifier”) could be used here instead, as in DICOM Procedure Logs, e.g., TID 3105. The definition is “Identification of a Lesion observed during an imaging procedure”. Has a value corresponding to the lesion label base as used in CoreLab Partners, e.g., “001”. Note that split lesions are regarded as separate lesions entirely (and not a “suffix” qualifying the parent lesion); likewise merged lesions. |
| 4 | > | CONTAINS | CODE | EV (RP-100026, 99RPH, “Lesion Type”) | 1 | M |  | DCID RPH_7004 Lesion Type | Will have a value of (RP-100320, 99RPH, “Calibration”) if a calibration. |
| 5b | > | CONTAINS | CODE | EV (RP-100036, 99RPH, “Reconstruction Interval Unknown But Sufficient For Lesion Selection”) | 1 | MC | Required if is Row 4 EV (RP-100026, 99RPH, “Lesion Type”) is (RP-100029, 99RPH, “Target lesion”) and Row 4 EV (RID12405, RADLEX, “Reconstruction Interval”) is not present in TID RPH_0010 Clinical Trial Results Image Library Entry for the image referenced by the baseline MO defining this lesion. | DCID (RPH_7230) Yes-No Only | Used to record that user has overriden rules related to minimum lesion size relative to reconstruction interval. |
| 6 | > | CONTAINS | CODE | EV (G-C0E3, SRT, “Finding Site”) | 1 | MC | Required if is Row 4 EV (RP-100026, 99RPH, “Lesion Type”) is not (RP-100320, 99RPH, “Calibration”). | BCID RPH_7006 Anatomic Sites for Lesions | The “finding site” is what users refer to as the “anatomic site” or “anatomic location”. Does NOT contain laterality, which is always separately encoded as a modifier (see Row 6b). |
| 6b | > | CONTAINS | CODE | EV (G-C171, SRT, “Laterality”) | 1 | MC | Required if is Row 4 EV (RP-100026, 99RPH, “Lesion Type”) is not (RP-100320, 99RPH, “Calibration”). | DCID (244) Laterality | The value set contains codes for right, left, both and unilateral (unpaired), hence is always required for coded finding sites. Not nested as a child as a concept modifier, in order to make accessible as gFindings column. |
| 6c | > | CONTAINS | CODE | EV (G-C2CE, SRT, “Multiplicity”) | 1 | MC | Required if Row 6 value is a lymph node site (i.e., in CID RPH_7006b) | DCID (RPH_7702) Multiplicity | May affect the rules for what axis to measure for some response criteria (e.g., short rather than long axis for RECIST 1.1 single lymph nodes). Not nested as a child as a concept modifier, in order to make accessible as gFindings column. |
| 10 | > | HAS OBS CONTEXT | INCLUDE | DTID(RPH_0020) Audit Trail Entry Template | 1 | M |  | $ChangeReasons = DCID RPH_7013 Lesion Change Reasons $AdditionReasons = DCID RPH_7013b Lesion Addition Reasons |  |

Notes:

### TID RPH_0007	Measurement Objects

This template contains regions and measurements and annotations made on images for the purpose of defining or describing lesions in clinical trial results, referred to collectively as “measurement objects”. It includes regions or measurements defined by 2D (image-relative) spatial coordinates, regions defined by 3D geometric objects, and regions defined by rasterized bitmaps of 3D locations encoded as references to single-segment multi-frame Segmentation Storage SOP Instances, with accompanying measurements. At this time no explicit 3D spatial coordinate mechanism is defined.

Measurement objects do NOT include the RPH_0020 Audit Trail Entry Template, since any change to a measurement object for a lesion (including changes to values as a consequence of recalibration), or addition of a measurement object to a lesion, will be recorded as an edit to the Timepoint Lesion Observations as a whole. The person and date and time of creation and last modification are persisted however.

TID RPH_0007 Parameters

| Parameter Name | Parameter Usage |
| --- | --- |
| $Calibration | Whether or not the Measurement Object is a calibration. DCID (RPH_7230) Yes-No Only. Used to constrain the measurement object type. |

TID RPH_0007
Measurement Objects
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | CONTAINS | CONTAINER | EV(RP-100502, 99RPH, “Measurement Object”) | 1 | M |  |  |  |
| 1a | > | CONTAINS | UIDREF | EV(RP-100403, 99RPH, “Measurement Object UID”) | 1 | M |  |  | This UID is used as the reference for the source of other measurements derived from this measurement. It is also used when an application propagates a measurement object from one time point to a subsequent time point, not to be reused, since a new measurement object on a new time point will have a new UID, but to be able to retrieve characteristics of the predecessor measurement object, or the lesion that it is a child of. |
| 1b | > | CONTAINS | COMPOSITE | EV(RP-100700, 99RPH, “Registration Used”) | 1-n | MC | Required if frames of reference were registered manually or automatically at the time that the measurement object was created or edited. | The type of registration (e.g. manual or automatic; see PS 3.16 CID 7100 RCS Registration Method Type) and whether or not the registration is between frames of reference or defined sub-sets of images is encoded in the referenced registration instance itself, and not replicated here. Whether the registration is rigid or deformable can be determined from the Referenced SOP Class in the COMPOSITE content item. | During the course of reading a sub-task, multiple potentially different manual and automatic registrations may be performed. This content item references the registration instances active and relevant to this measurement object. |
| 1c | >> | HAS OBS CONTEXT | TEXT | EV (RP-100926, 99RPH, “Algorithm UID”) | 1 | MC | Required if the registration was not established manually. |  |  |
| 2b | > | CONTAINS | CODE | EV (121139, DCM, “Modality”) | 1 | MC | Required if Row 3 (RP-100503, 99RPH, “Measurement Object Type”) is not (RP-100111, 99RPH, “Measurements Derived From Other Measurements”). | DCID (29) Modalities | Shall be taken from the Modality element in the DICOM image(s) to which this measurement object applies. |
| 2c | > | CONTAINS | DATE | EV (RP-100600, 99RPH, “Acquisition Date”) | 1 | MC | XOR row 2d | Shall be the value of Acquisition Date (0008,0022), if present, in the image(s) to which the measurement object applies. If Acquisition Date (0008,0022) is not present in the image, then the date extracted from Acquisition DateTime (0008,002A), or if absent, the value of Content Date (0008,0023), or if absent, the value of Series Date (0008,0021), or if absent the value of Study Date (0008,0020), shall be used. If more than one image obtained on different dates is used, then the earliest date shall be used. | Used to establish date of response or progression. The most reliable date related to the date on which the (primary) image was acquired is used here, for example to determine the exact date of response or progression. |
| 2d | > | CONTAINS | TEXT | EV (RP-100601, 99RPH, “Acquisition Date Alias”) | 1 | MC | XOR row 2c |  | When reader blinded to date; used to later reestablish the date to use for response or progression. |
| 3 | > | CONTAINS | CODE | EV(RP-100503, 99RPH, “Measurement Object Type”) | 1 | M |  | DCID (RPH_7601) Measurement Object Types, with the following constraints: If $Calibration = EV (R-00339,SRT, “No”), then may be one of the following: EV (RP-100103, 99RPH, “Line Segment”) (i.e., “ruler”) EV (RP-100104, 99RPH, “Biorthogonal Line Segments”) EV (RP-101016, 99RPH, “Triorthogonal Line Segments”) EV (RP-100105, 99RPH, “Angle”) EV(111041, DCM, “Outline”) EV(G-D705, SRT, “Volume”) EV (RP-100121, 99RPH, “3D Geometric Object”) EV(RP-100106, 99RPH, “Text Annotation”) (RP-100111, 99RPH, “Measurements Derived From Other Measurements”) If $Calibration = EV (R-0038D,SRT, “Yes”), then may be only: EV (RP-100103, 99RPH, “Line Segment”) (i.e., “ruler”) | The measurement object type itself is described by a separate (coded) content item rather than using the concept name of an SCOORD, since not all measurement objects can be defined by SCOORDs and some measurement objects are defined by multiple SCOORDs. |
| 4 | > | CONTAINS | INCLUDE | TID RPH_0007a Simple Measurements | 1 | MC | Required if Row 3 is (RP-100103, 99RPH, “Line Segment”) or EV (RP-100104, 99RPH, “Biorthogonal Line Segments”) or EV (RP-101016, 99RPH, “Triorthogonal Line Segments”) or EV (RP-100105, 99RPH, “Angle”) | $MeasurementType = Row 3 value $Automation = CID RPH_7041 | Measurement objects that do not consist of closed 2D or 3D structures are defined not to have sub-regions. |
| 5 | > | CONTAINS | INCLUDE | TID RPH_0007b Sub-Regions and Measurements | 1 | MC | Required if Row 3 is (111041, DCM, “Outline”) or (G-D705, SRT, “Volume”) or (RP-100121, 99RPH, “3D Geometric Object”). | $RegionType = Row 3 value | Measurement objects that are closed 2D or 3D structures are always defined to have at least one sub-region, even if there is only one. |
| 6 | > | CONTAINS | INCLUDE | TID RPH_0007c Text Annotation | 1 | MC | Required if Row 3 is (RP-100106, 99RPH, “Text Annotation”) |  |  |
| 7 | > | CONTAINS | INCLUDE | TID RPH_0007d Measurements Derived From Other Measurements | 1 | MC | Required if Row 3 is (RP-100111, 99RPH, “Measurements Derived From Other Measurements”) |  |  |
| 8 | > | CONTAINS | CODE | EV (RP-100150, 99RPH, “Discarded”) | 1 | M |  | DCID (RPH_7230) Yes-No Only | Whether or not a measurement object is discarded also affects whether or not a lesion is discarded at a particular time point, since if all measurement objects are discarded, the lesion is explicitly discarded (there is no discarded flag at the time point lesion level or the general lesion level). If a lesion is actually discarded by discarding all measurement objects at a time point, then depending on the business rules, all measurement objects for that lesion on all time points may also need to be discarded. Discardng a measurement object for a lesion that has been completed will require a change reason be captured and encoded at the time point lesion level. |
| 9 | > | HAS OBS CONTEXT | DATETIME | EV(RP-100920, 99RPH, “Observation Creation DateTime”) | 1 | M |  |  | The full audit trail entry for RPH_0020 is not deemed to be necessary for individual measurement objects, but rather the creation and (last) modification time are sufficient for the findings navigator model to persist. These may be used to detect the need for audit trail entries at the lesion level. |
| 9a | > | HAS OBS CONTEXT | TEXT | EV (RP-100006, 99RPH, “Person Observer’s Login Name”) | 1 | M |  |  | The observer who created the observation. Is always explicit, and never assumed to be the creator of the current sub-task, since may have been created by a different observer in a previous sub-task. |
| 10 | > | HAS OBS CONTEXT | DATETIME | EV(RP-100921, 99RPH, “Observation Modification DateTime”) | 1 | MC | Required if measurement object has been modified |  | Of the last modification (if modified more than once), e.g., when the size changes or there is a value change caused by recalibration |
| 10a | > | HAS OBS CONTEXT | TEXT | EV (RP-100012, 99RPH, “Last Modifying Person Observer’s Login Name”) | 1 | MC | Required if measurement object has been modified |  | The observer who last modified the observation. Is always explicit, and never assumed to be the creator of the current sub-task, since may have been created by a different observer in a previous sub-task. |
| 11 | > | CONTAINS | NUM | EV (RP-100140, 99RPH, “Product of Short and Long Axes”) | 1 | MC | Required if Row 3 (RP-100503, 99RPH, “Measurement Object Type”) is (RP-100104, 99RPH, “Biorthogonal Line Segments”) or (RP-101016, 99RPH, “Triorthogonal Line Segments”) | Units EV (mm2, UCUM, “mm2”) or EV ({pixels}, UCUM, “pixels”). See Note 1. | In this template, rather than within TID RPH_0007a Simple Measurement container, for additional configurable findings with measurement scope. |
| 12 | > | CONTAINS | NUM | EV (RP-100141, 99RPH, “Product of Short and Long and Normal Axes”) | 1 | MC | Required if Row 3 (RP-100503, 99RPH, “Measurement Object Type”) is (RP-101016, 99RPH, “Triorthogonal Line Segments”) | Units EV (mm3, UCUM, “mm3”) or EV ({pixels}, UCUM, “pixels”). See Note 1. | In this template, rather than within TID RPH_0007a Simple Measurement container, for additional configurable findings with measurement scope. |

Note:	1. Products of distance will be measured in mm2 or mm3 if the image contains Pixel Spacing or Imager Pixel Spacing, as appropriate, or has been calibrated, or in pixels if uncalibrated and no spacing information is available (and not pixels squared or cubed).

### TID RPH_0007a	Simple Measurements

This template describes simple distance and angle measurements defined by 2D (image-relative) spatial coordinates.

TID RPH_0007a Parameters

| Parameter Name | Parameter Usage |
| --- | --- |
| $MeasurementType | May be one of EV (RP-100103, 99RPH, “Line Segment”) (i.e., “ruler”) EV (RP-100104, 99RPH, “Biorthogonal Line Segments”) EV (RP-101016, 99RPH, “Triorthogonal Line Segments”) EV (RP-100105, 99RPH, “Angle”) |
| $Automation | DCID (RPH_7041) Measurement Automation |

TID RPH_0007a
Simple Measurements
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | CONTAINS | CONTAINER | EV (RP-101002, 99RPH, “Simple Measurement”) | 1 | M |  |  |  |
| 2 | > | CONTAINS | NUM | DCID (RPH_7017) Single Line Segment Measurements | 1 | MC | Required if $MeasurementType is (RP-100103, 99RPH, “Line Segment”). | Units EV (mm, UCUM, “mm”) or EV ({pixels}, UCUM, “pixels”). See Note 2. | Unless the user overrides the choice, the default Concept Name should be (121206, DCM, “Distance”). If the purpose of the region is for a RECIST measurement, then the Concept Name used should be (G-A185, SRT, “Long Axis”). |
| 3 | >> | INFERRED FROM | SCOORD | EV (121112, DCM, “Source of Measurement”) | 1 | M |  | GRAPHIC TYPE = {POLYLINE} with exactly two points. | This use of the concept of source of measurement is consistext with the pattern for DTID 300 and DTID 320 in DICOM PS 3.16. |
| 4 | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a single presentation state shall be present. The presentation state shall not contain annotations. |
| 5 | > | CONTAINS | NUM | EV (G-A185, SRT, “Long Axis”) | 1 | MC | Required if $MeasurementType is (RP-100104, 99RPH, “Biorthogonal Line Segments”) or (RP-101016, 99RPH, “Triorthogonal Line Segments”) | Units EV (mm, UCUM, “mm”) or EV ({pixels}, UCUM, “pixels”) |  |
| 6 | >> | INFERRED FROM | SCOORD | EV (121112, DCM, “Source of Measurement”) | 1 | M |  | GRAPHIC TYPE = {POLYLINE} with exactly two points. |  |
| 7 | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a single presentation state shall be present. It shall have the same SOP Instance UID as in Row 10. The presentation state shall not contain annotations. |
| 8 | > | CONTAINS | NUM | EV (G-A186, SRT, “Short Axis”) | 1 | MC | Required if $MeasurementType is (RP-100104, 99RPH, “Biorthogonal Line Segments”) or (RP-101016, 99RPH, “Triorthogonal Line Segments”) | Units EV (mm, UCUM, “mm”) or EV ({pixels}, UCUM, “pixels”) |  |
| 9 | >> | INFERRED FROM | SCOORD | EV (121112, DCM, “Source of Measurement”) | 1 | M |  | GRAPHIC TYPE = {POLYLINE} with exactly two points. |  |
| 10 | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a single presentation state shall be present. It shall have the same SOP Instance UID as in Row 7. The presentation state shall not contain annotations. |
| 11 | > | CONTAINS | NUM | EV (RP-101017, 99RPH, “Normal Axis”) | 1 | MC | Required if $MeasurementType is (RP-101016, 99RPH, “Triorthogonal Line Segments”) | Units EV (mm, UCUM, “mm”) or EV ({pixels}, UCUM, “pixels”) |  |
| 12 | >> | INFERRED FROM | SCOORD | EV (121112, DCM, “Source of Measurement”) | 1 | M |  | GRAPHIC TYPE = {POINT} with exactly one point. | One of the points defining the line segment perpendicular to the image plane. |
| 13 | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a single presentation state shall be present. It shall have the same SOP Instance UID as in Row 7. The presentation state shall not contain annotations. |
| 14 | >> | INFERRED FROM | SCOORD | EV (121112, DCM, “Source of Measurement”) | 1 | M |  | GRAPHIC TYPE = {POINT} with exactly one point. | The other point defining the line segment perpendicular to the image plane. |
| 15 | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a single presentation state shall be present. It shall have the same SOP Instance UID as in Row 7. The presentation state shall not contain annotations. |
| 16 | > | CONTAINS | NUM | EV (RP-100105, 99RPH, “Angle”) | 1 | MC | Required if $MeasurementType is (RP-100105, 99RPH, “Angle”) | Units EV (deg, UCUM, “degrees”) | This is always the acute angle contained by the intersection of the (extended) line segments. |
| 17 | >> | INFERRED FROM | SCOORD | EV (RP-100120, 99RPH, “Angle Line Segment”) | 2 | M |  | GRAPHIC TYPE = {MULTIPOINT} with exactly two points for one line segment | The two line segments need not intersect, or share a common vertex. |
| 18 | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a single presentation state shall be present. The presentation state shall not contain annotations. Both line segments (Row 17) shall contain an IMAGE reference child, and the references shall be to the same image and presentation state for both. |
| 19 | > | HAS OBS CONTEXT | CODE | EV (RP-101012, 99RPH, “Automation”) | 1 | M |  | $Automation |  |

Notes:	1. Rather than indirecting SCOORDS through references to other content items (e.g., IMAGEs in the Image Library), using R-SELECTED FROM the IMAGE content items are replicated in-line using ordinary SELECTED FROM relationships; this is easier to encode and parse and commonality is established because the (Referenced) SOP Instance UIDs are the same.

2. Linear distance will be measured in mm if the image contains Pixel Spacing or Imager Pixel Spacing, as appropriate, or has been calibrated, or in pixels if uncalibrated and no spacing information is available.

### TID RPH_0007b	Sub-Regions and Measurements

This template describes regions or measurements defined by 2D (image-relative) spatial coordinates, regions defined by 3D geometric objects, and regions defined by rasterized bitmaps of 3D locations encoded as references to single-segment multi-frame Segmentation Storage SOP Instances, with accompanying measurements. At this time no explicit 3D spatial coordinate mechanism is defined.

Regions may be associated with one or more measurements, depending on the type. Regions that are composed of multiple sub-regions, which may be included or excluded in the region, may contain one or more measurements associated with each sub-region, as well as aggregate measurements for the entire region.

.

TID RPH_0007b Parameters

| Parameter Name | Parameter Usage |
| --- | --- |
| $RegionType | May be one of EV (111041, DCM, “Outline”) or EV (RP-100121, 99RPH, “3D Geometric Object”) or EV (G-D705, SRT, “Volume”). |

TID RPH_0007b
Sub-Regions and Measurements
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1a |  | CONTAINS | CONTAINER | EV(RP-101003, 99RPH, “Image Region”) | 1 | M |  |  | An image region container is needed in order to be able to group multiple sub-regions together and provide simple measurements that apply to the entire region, e.g., automatically derived biorthogonal measurements. |
| 1b | > | CONTAINS | CONTAINER | EV(RP-100102, 99RPH, “Image Sub-region”) | 1-n | M |  |  | Multiple 2D or 3D sub-regions may be necessary to describe a lesion with “holes” or non-contiguous regions, hence this additional level of nesting. “Regions” that are closed 2D or 3D structures are always defined to have at least one sub-region, even if there is only one. |
| 2 | >> | CONTAINS | CODE | EV(RP-100034, 99RPH, “Include Flag”) | 1 | M |  | DCID (RPH_7230) Yes-No Only | Will be present even if only one sub-region is present, in which case will have a value of Yes. |
| 3 | >> | CONTAINS | CODE | EV(122554, DCM, “Segmentation Method”) | 1 | M |  | DCID (RPH_7040) Region Segmentation Methods | E.g., manual (i.e., hand drawn contour or tool) or some (coded) category of semi-automated or automated segmentation |
| 3a | >>> | HAS OBS CONTEXT | TEXT | EV (RP-100926, 99RPH, “Algorithm UID”) | 1 | MC | Required if Row 3 (122554, DCM, “Segmentation Method”) is not (G-D221, SRT, “Manual”). |  |  |
| 3b | >>> | HAS OBS CONTEXT | CODE | EV(RP-100930, 99RPH, “Additional Seed Points Used”) | 1 | U |  | DCID (RPH_7230) Yes-No Only |  |
| 3c | >>> | HAS OBS CONTEXT | CODE | EV(RP-100931, 99RPH, “Outline Manually Edited”) | 1 | U |  | DCID (RPH_7230) Yes-No Only |  |
| 3d | >>> | CONTAINS | SCOORD | EV (RP-100932, 99RPH, “Initial Segmentation Stroke”) | 1 | U |  | GRAPHIC TYPE = {POLYLINE} with exactly two points. |  |
| 3e | >>>> | SELECTED FROM | IMAGE |  | 1 | M |  |  |  |
| 4 | >> | CONTAINS | SCOORD | EV(111041, DCM, “Outline”) | 1-n | MC | Required if $RegionType is (111041, DCM, “Outline”). | GRAPHIC TYPE = {ELLIPSE, POLYLINE} For a POLYLINE, the start and end point the same (i.e., it is closed). A rectangle is a special case of a polyline, in that it consists of 4 line segments (5 points) that are constrained to be perpendicular. The ELLIPSE is defined by the endpoints of its minor and major axes (not by a center point and long and short axis vectors). The other graphic types defined in DICOM, POINT, MULTIPOINT and CIRCLE are not used. | Multiple outlines may be present, e.g., to describe iso-contours on successive slices constituting a 3D sub-region. |
| 4a | >>> | HAS CONCEPT MOD | CODE | EV(RP-100899, 99RPH,”Closed Curve Type”) | 1 | MC | Required if Row 4 GRAPHIC TYPE is POLYLINE and the points are to be interpreted as control points rather than joined by line segments. Shall not be present if Row 4b is present. | DCID (RPH_7070) Closed Curve Types | E.g., if used as the control points of a spline. The absence of this content item means that the points shall be joined as line segments. Additional parameters required to fully specify a spline are not yet defined. |
| 4b | >>> | HAS CONCEPT MOD | CODE | EV(RP-100897, 99RPH,”Closed Polygon Type”) | 1 | MC | Required if Row 4 GRAPHIC TYPE is POLYLINE of a pre-defined shape. Shall not be present if Row 4a is present. | DCID (RPH_7071) Closed Polygon Types | E.g., a rectangle. Knowing this allows subsequent editing tools to be more easily aware of the shape being drawn rather than having to use a generic tool, or doing pattern recognition to detect this. |
| 5 | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a presentation state shall be present. The presentation state shall not contain annotations. |
| 5a | >> | CONTAINS | CODE | EV (RP-100128, 99RPH, “3D Geometric Object Type”) | 1 | MC | Required if $RegionType is (RP-100121, 99RPH, “3D Geometric Object”). | DCID RPH_7602 3D Geometric Object Types |  |
| 5b | >> | CONTAINS | SCOORD | EV(111041, DCM, “Outline”) | 1 | MC | Required if $RegionType is (RP-100121, 99RPH, “3D Geometric Object”). | GRAPHIC TYPE = {ELLIPSE, CIRCLE} The ELLIPSE is defined by the endpoints of its minor and major axes (not by a center point and long and short axis vectors). The CIRCLE is defined by the central pixel and a pixel on the perimeter of the circle. The other graphic types defined in DICOM, POINT, MULTIPOINT and POLYLINE are not used. | A single outline is used to define the cross section of a 3D Geometric Object. |
| 5c | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a presentation state shall be present. The presentation state shall not contain annotations. |
| 5d | >> | CONTAINS | SCOORD | EV(RP-100122, 99RPH, “First Extent of 3D Geometric Object”) | 1 | MC | Required if $RegionType is (RP-100121, 99RPH, “3D Geometric Object”). | GRAPHIC TYPE = {POINT} The other graphic types defined in DICOM, CIRCLE, ELLIPSE, MULTIPOINT and POLYLINE are not used. | One extent of the normal to the cross section defined in Row 5b. |
| 5e | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a presentation state shall be present. The presentation state shall not contain annotations. |
| 5f | >> | CONTAINS | SCOORD | EV(RP-100123, 99RPH, “Second Extent of 3D Geometric Object”) | 1 | MC | Required if $RegionType is (RP-100121, 99RPH, “3D Geometric Object”). | GRAPHIC TYPE = {POINT} The other graphic types defined in DICOM, CIRCLE, ELLIPSE, MULTIPOINT and POLYLINE are not used. | The other extent of the normal to the cross section defined in Row 5b. |
| 5g | >>> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a presentation state shall be present. The presentation state shall not contain annotations. |
| 6 | >> | CONTAINS | IMAGE | EV (RP-100100, 99RPH, “Region Raster”) | 1 | MC | Required if $RegionType is (G-D705, SRT, “Volume”) |  | SOP Class UID (0008,1150) shall be “1.2.840.10008.5.1.4.1.1.66.4” (Segmentation Storage SOP Class); Referenced Segment Number (0062,000B) shall be “1”; there shall be no accompanying reference to a presentation state. An IMAGE rather than COMPOSITE content item is used, since the reference may be to a sub-set of frames. |
| 7 | >> | CONTAINS | INCLUDE | TID RPH_0009 Region Measurements | 1 | U |  | $RegionType = $RegionType | These measurements are of the individual sub-region(s). |
| 8 | > | CONTAINS | INCLUDE | TID RPH_0009 Region Measurements | 1 | M |  | $RegionType = $RegionType | These measurements are of the entire region. |
| 9 | > | CONTAINS | CODE | EV(RP-100503, 99RPH, “Measurement Object Type”) | 1 | U |  | EV (RP-100104, 99RPH, “Biorthogonal Line Segments”) or EV (RP-101016, 99RPH, “Triorthogonal Line Segments”) | This is to encode an automatically derived coordinates and values applicable to the entire region. |
| 10 | > | CONTAINS | INCLUDE | TID RPH_0007a Simple Measurements | 1 | MC | Required if Row 9 is present | $MeasurementType = Row 9 value $Automation = EV (G-D231, SRT, “Automated”) | Even though the segmentation may have been performed manually, or semi-automatically, the biorthogonal measurement itself is derived fully automatically. |

Notes:	1. Rather than indirecting SCOORDS through references to other content items (e.g., IMAGEs in the Image Library), using R-SELECTED FROM the IMAGE content items are replicated in-line using ordinary SELECTED FROM relationships; this is easier to encoded and parse and commonality is established because the (Referenced) SOP Instance UIDs are the same.

### TID RPH_0007c	Text Annotations

This template describes graphic annotations consisting of text messages that are applied to locations on an image.

Text annotations do not have a UID; there is no current intent to load such annotations into OC (i.e., they are not the same as “Comments” called out elsewhere at the Timepoint and Lesion level).

TID RPH_0007c
Text Annotations
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1a |  | CONTAINS | CONTAINER | EV(RP-100106, 99RPH, “Text Annotation”) |  |  |  |  |  |
| 1b | > | CONTAINS | SCOORD | EV (121055, DCM, “Path”) | 1 | M |  | GRAPHIC TYPE = {MULTIPOINT} with exactly two points. | A line is drawn between the two specified points, as a pointer to link the location at which the text is rendered (second point) to the location to which it applies (first point, which is decorated with an arrow head). |
| 2 | >> | SELECTED FROM | IMAGE |  | 1 | M |  |  | A reference to a single presentation state shall be present. The presentation state shall not contain annotations. |
| 3 | > | CONTAINS | TEXT | EV(RP-100106, 99RPH, “Text Annotation”) | 1 | M |  |  | The value is the text message to be rendered on the image. |

### TID RPH_0007d	Measurements Derived From Other Measurements

This template describes measurements that are derived from other lesions, regions or measurements.

TID RPH_0007d
Measurements Derived From Other Measurements
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1a |  | CONTAINS | CONTAINER | EV (RP-101004, 99RPH, “Derived Measurement”) | 1 | M |  |  |  |
| 1b | > | CONTAINS | NUM | DCID RPH_7022 Measurements Derived From Other Measurements | 1 | M |  |  |  |
| 2 | >> | INFERRED FROM | UIDREF | EV (RP-100112, 99RPH, “Source Measurement Object UID”) | 2-n | M |  | The measurement object with the specified UID shall be in the same SR SOP Instance as this derived measurement. | The number and order of the UID references are specified in the context group for the parent measurement. An R-INFERRED FROM relationship is not used to point directly to the content item; by-reference relationships are avoided throughout these templates. |

### TID RPH_0009	Region Measurements

This template defines geometric (size) and pixel value based measurements made on 2D regions or sub-regions. They may also be used for measurements of planes of a 3D region.

TID RPH_0009 Parameters

| Parameter Name | Parameter Usage |
| --- | --- |
| $RegionType | The type of region, in order to constrain, types of measurements that are meaningful. |

TID RPH_0009
REGION MEASUREMENTS
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | CONTAINS | NUM | DCID RPH_7018 (Region Linear Measurements) | 1-n | U |  | Units EV (mm, UCUM, “mm”) or EV ({pixels}, UCUM, “pixels”). See Note 1. | E.g., “perimeter” of sub-region or region. |
| 2 |  | CONTAINS | NUM | DCID RPH_7019 (Region Area Measurements) | 1-n | UC | May only be present if $RegionType is (111041, DCM, “Outline”) | Units EV (mm2, UCUM, “mm2”) or EV ({pixels}, UCUM, “pixels”) See Note 1. | E.g., “area” of sub-region or region. |
| 3 | > | HAS CONCEPT MOD | CODE | EV (G-C036, SRT, “Measurement Method”) | 1 | U |  | DCID (7473) General Area Calculation Methods | E.g., “Area of closed irregular polygon”. |
| 4 |  | CONTAINS | NUM | DCID RPH_7020 (Region Volume Measurements) | 1-n | UC | May only be present if $RegionType is (111041, DCM, “Outline”) or (G-D705, SRT, “Volume”) | Units EV (mm3, UCUM, “mm3”) or EV ({pixels}, UCUM, “pixels”) See Note 1. | E.g., “volume” of sub-region or region. |
| 5 | > | HAS CONCEPT MOD | CODE | EV (G-C036, SRT, “Measurement Method”) | 1 | U |  | DCID (7474) General Volume Calculation Methods | E.g., “Integration of sum of closed areas on contiguous slices”. |
| 6 |  | CONTAINS | NUM | EV (RP-100410, 99RPH, “Pixel Count”) | 1 | U |  | Units EV (“{count}”, UCUM, “count”) |  |
| 7 |  | CONTAINS | NUM | DCID RPH_7021 (Region Pixel Value Measurements) | 1-n | UC |  | Units depend on measurement and are defined in DCID RPH_7021. | E.g., “HU” or “SUVbw” of sub-region or region. |
| 8 | > | HAS CONCEPT MOD | CODE | EV(121401, DCM, “Derivation”) | 1 | M |  | DCID(RPH_7030) Measurement Derivation Modifiers | E.g., “mean”, “max”, “SD” |
| 9 | > | HAS CONCEPT MOD | CODE | EV (G-C036, SRT, “Measurement Method”) | 1 | U |  | DCID (7473) General Area Calculation Methods or DCID (7474) General Volume Calculation Methods | E.g., “Integration of sum of closed areas on contiguous slices”. |

Notes:	1. Linear distance will be measured in mm if the image contains Pixel Spacing or Imager Pixel Spacing, as appropriate, or has been calibrated, or in pixels if uncalibrated and no spacing information is available. Area and volume will also be reported in pixels if uncalibrated and no spacing information is available (and not pixels squared or cubed).

### TID RPH_0010	Clinical Trial Results Image Library Entry Template

Each instance of the Image Library Entry template contains the Image SOP Class and Instance UIDs, and selected attributes for an image.  If values for the attributes are not present in the Image SOP Instance, then as many of the attributes as possible should be derived. It is similar to the standard TID 4020 CAD Image Library Entry to include additional information specific to clinical trials across a broad range of different modalities. Unlike TID 4020, it is extensible to allow implementations to add any further necessary information. Unlike TID 4020, no Study level date and time information is included, since this would be redundant with information encoded in the Time Point related templates.

TID RPH_0010
 CLINICAL TRIAL RESULTS IMAGE LIBRARY ENTRY 
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | CONTAINS | IMAGE |  | 1 | M |  |  | A reference to a presentation state shall not be present |
| 2 | > | HAS ACQ CONTEXT | NUM | EV (111026, DCM, “Horizontal Pixel Spacing”) | 1 | MC | Shall be present if Imager Pixel Spacing (0018,1164) or Pixel Spacing (0028,0030) or Nominal Scanned Pixel Spacing (0018,2010) is in the Image Instance, or if Row 2a is present, and derived accordingly. | UNITS = EV (mm, UCUM, “millimeter”) | This and similar content items allow retrospective geometric size computations from spatial coordinates without requiring ccess to the images. Unlike TID 4020, the units are consrained to be mm not μm. |
| 2a | >> | HAS PROPERTIES | UIDREF | EV(RP-100403, 99RPH, “Measurement Object UID”) | 1 | MC | Required if the image has been manually calibrated. |  | The linear distance measurement object used to calibrate the horizontal spacing. May be the same UID as Row 3a if a single calibration applies to both row and column spacing. If an image is recalibrated, the change reason will be recorded in the audit trail entry of the referenced measurement object. |
| 3 | > | HAS ACQ CONTEXT | NUM | EV (111066, DCM, “Vertical Pixel Spacing”) | 1 | MC | Shall be present if Imager Pixel Spacing (0018,1164) or Pixel Spacing (0028,0030) or Nominal Scanned Pixel Spacing (0018,2010) is in the Image Instance, or if Row 3a is present, and derived accordingly. | UNITS = EV (mm, UCUM, “millimeter”) |  |
| 3a | >> | HAS PROPERTIES | UIDREF | EV(RP-100403, 99RPH, “Measurement Object UID”) | 1 | MC | Required if the image has been manually calibrated. |  | The linear distance measurement object used to calibrate the vertical spacing. May be the same UID as Row 2a if a single calibration applies to both row and column spacing. |
| 4 | > | HAS ACQ CONTEXT | NUM | EV (RID12405, RADLEX, “Reconstruction Interval”) | 1 | MC | Shall be present if Image Position (Patient) (0020,0032) and Image Orientation (Patient) (0020,0037) are in the Image Instance, or if Row 6 is present, and derived accordingly. | UNITS = EV (mm, UCUM, “millimeter”) | For digitally acquired images that are regularly sampled as a 3D dataset, this is the distance along the normal to the slice orientation between the centers of reconstructed slices in the same orientation. This definition circumvents the need to specify a different interval to the slice above and the slice below (if any). For calibrated images, this is a value entered by the user. |
| 5 | > | HAS ACQ CONTEXT | NUM | EV (RID12636, RADLEX, “Slice Thickness”) | 1 | MC | Shall be present if Slice Thickness (0018,0050) is in the Image Instance, and derived accordingly. | UNITS = EV (mm, UCUM, “millimeter”) | Not used in calibrated images. |
| 6 | > | HAS ACQ CONTEXT | TEXT | EV (RP-100881, 99RPH, “Message Digest”) | 1 | M |  | A hash value of the entire image file as supplied to the reading application, encoded as a hexadecimal string. | The generic mechanism of PS 3.3 Table C.17-3 SOP Instance Reference Macro and Section C.12.1.1.3 Digital Signatures Macro is not used, since these require digital signature certificates and a PKI be present. The terminology of “MAC” rather than “hash” is used for consistency with the digital signatures features in DICOM. |
| 7 | >> | HAS PROPERTIES | CODE | EV (RP-100882, 99RPH, “Message Digest Algorithm”) | 1 | M |  | DCID(RPH_7060) Message Digest Algorithms |  |
| 8 | >> | HAS PROPERTIES | CODE | EV (RP-100886, 99RPH, “Message Digest Scope”) | 1 | M |  | EV (RP-100887, 99RPH, “Entire file”) | However, the limitation of a simplistic scheme of hashing all bytes in a file (rather than selective components of selective attributes) means that the message digest will be different if the representation of the same meaning changes (e.g., implicit to explicit value representation, addition or removal of group lengths, change in sequence item length encoding (fixed or delimited) or change in meta-information header content (when transmitted using DICOM network protocols). This content item is provided to describe what mechanism was used, though currently there is only one; it allows changing to a more tolerant scheme in the future. This is a deviation from the original SRS-MR-006 and SFS-1500, which specified that the hash be performed only on the pixel data. |
| 9 | > | HAS ACQ CONTEXT | TEXT | EV (RP-101090, 99RPH, “Input URL”) | 1 | U |  |  | Allows for check against current work list sub-task to see if referenced image is supposed to be available for current sub-task or not. |

### TID RPH_0020	Audit Trail Entry Template

This template is included for any observation that requires an entry in the audit trail, including general and time point lesion observations, measurement objects, and time point observations.

TID RPH_0020 Parameters

| Parameter Name | Parameter Usage |
| --- | --- |
| $ChangeReasons | The context group of change reasons. |
| $AdditionReasons | The context group of addition reasons |

TID RPH_0020
AUDIT TRAIL ENTRY
Type: Extensible

|  | NL | Rel with Parent | VT | Concept Name | VM | Req Type | Condition | Value Set Constraint | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | HAS OBS CONTEXT | CODE | EV (RP-100090, 99RPH, “Completed”) | 1 | M |  | DCID (RPH_7230) Yes-No Only | Implies that any subsequent changes will require permission, change reasons and an audit trail entry. |
| 2a |  | CONTAINS | CONTAINER | EV (RP-101010, 99RPH, “Creation Information”) | 1 | M |  |  |  |
| 2b | > | HAS OBS CONTEXT | DATETIME | EV(RP-100920, 99RPH, “Observation Creation DateTime”) | 1 | M |  |  | This is more specific than replying on the Observation DateTime (0040,A032) Attribute, which may or may not be present in a content item, and has no specific semantics with respect to creation, modification or addition. |
| 3 | > | HAS OBS CONTEXT | TEXT | EV (RP-100006, 99RPH, “Person Observer’s Login Name”) | 1 | M |  |  | The observer who created the observation. Is always explicit, and never assumed to be the creator of the current sub-task, since may have been created by a different observer in a previous sub-task. |
| 4 | > | HAS OBS CONTEXT | UIDREF | EV (RP-100082, 99RPH, “Worklist Sub-task UID”) | 1 | M |  |  | Provides a reference to the sub-task (and parent task) information for the sub-task in which the observation was created. |
| 5a |  | CONTAINS | CONTAINER | EV (RP-101011, 99RPH, “Modification Information”) | 1-n | MC | Required if the observation whose Row 1 EV (RP-100090, 99RPH, “Completed”) is (R-0038D,SRT, “Yes”) has been edited (changed) (i.e., since the observation was created and an electronic signature applied). |  | The condition on the completion flag is relative to when the information was loaded for the sub-task (i.e., the flag was set in a previous sub-task). This modification entry applies to all properties of the observation (e.g., for a time point lesion observation, everything that is said at this time point about the entire lesion; even if two properties have changed (e.g., there is a property added and a comment made), there is only a single change reason (and change reason comment). May be multiple, since multiple successive changes may have been performed on successive sub-tasks, or both a recalibration and another type of modification may have been made in the same sub-task. |
| 5b | > | HAS OBS CONTEXT | DATETIME | EV(RP-100921, 99RPH, “Observation Modification DateTime”) | 1 | M |  |  |  |
| 6 | > | HAS OBS CONTEXT | TEXT | EV (RP-100006, 99RPH, “Person Observer’s Login Name”) | 1 | M |  |  | The observer who modified the observation. Is always explicit, and never assumed to be the creator of the current sub-task, since may have been modified by a different observer in a previous sub-task (i.e., for a substitute read or correction). |
| 7 | > | HAS OBS CONTEXT | UIDREF | EV (RP-100082, 99RPH, “Worklist Sub-task UID”) | 1 | M |  |  | Provides a reference to the sub-task (and parent task) information for the sub-task in which the observation was modified. |
| 8 | > | HAS OBS CONTEXT | CODE | EV(RP-100058, 99RPH, “Edit Reason”) | 1 | M |  | DCID $ChangeReasons |  |
| 9 | >> | HAS OBS CONTEXT | TEXT | EV(RP-100923, 99RPH, “Edit Comment”) | 1 | U |  |  | There does not need to be a comment, and there can only be one comment. |
| 10 |  | HAS OBS CONTEXT | CODE | EV(RP-100922, 99RPH, “Additional Observation”) | 1 | MC | Required if the observation is additional to a parent entity that has previously been completed (i.e., a parent, such as a time point, with a content item EV (RP-100090, 99RPH, “Completed”) with a value of (R-0038D,SRT, “Yes”)). | EV (R-0038D,SRT, “Yes”) | This flag indicates that an observation was added “retrospectively”, and is present to capture the identity of the observer making the addition and the reason for the addition, as distinct from a modification to an existing observation. Only one addition entry may be present per observation, since subsequent changes would be modifications. Absence of this content item means that an observation is not additional (i.e., it is an initial observation). Used, for example, to indicate that an additional target lesion was added to a baseline time point retrosopectively (i.e., after it had been completed, and whilst reading a future time point). |
| 10b | > | HAS OBS CONTEXT | DATETIME | EV(RP-101014, 99RPH, “Observation Addition DateTime”) | 1 | M |  |  |  |
| 11 | > | HAS OBS CONTEXT | TEXT | EV (RP-100006, 99RPH, “Person Observer’s Login Name”) | 1 | M |  |  | The observer who modified the observation. Is always explicit, and never assumed to be the creator of the current sub-task, since may have been modified by a different observer in a previous sub-task (i.e., for a substitute read or correction). |
| 12 | > | HAS OBS CONTEXT | UIDREF | EV (RP-100082, 99RPH, “Worklist Sub-task UID”) | 1 | M |  |  | Provides a reference to the sub-task (and parent task) information for the sub-task in which the observation was added. |
| 13 | > | HAS OBS CONTEXT | CODE | EV(RP-100058, 99RPH, “Edit Reason”) | 1 | M |  | DCID $AdditionReasons |  |
| 14 | >> | HAS OBS CONTEXT | TEXT | EV(RP-100923, 99RPH, “Edit Comment”) | 1 | U |  |  |  |

## Context Groups

### CID RPH_7001	Clinical Trial Performing Roles

Context ID RPH_7001

Clinical Trial Performing Roles

Type: Extensible Version: 20101116

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100002 | Reader |
| 99RPH | RP-101040 | Radiology Reader |
| 99RPH | RP-101041 | Post-Radiology PET Reader |
| 99RPH | RP-101042 | Oncology Reader |
| 99RPH | RP-101043 | Post-Radiology Oncology Reader |
| 99RPH | RP-101044 | Non-Oncology Photography Reader |
| 99RPH | RP-100003 | Eligibility Reader |
| 99RPH | RP-101049 | Eligibility Radiology Reader |
| 99RPH | RP-101050 | Eligibility Oncology Reader |
| 99RPH | RP-101055 | PET Reader |
| 99RPH | RP-100004 | Adjudicator |
| 99RPH | RP-101045 | Radiology Adjudicator |
| 99RPH | RP-101046 | Oncology Adjudicator |
| 99RPH | RP-101051 | Eligibility Radiology Adjudicator |
| 99RPH | RP-101052 | Eligibility Oncology Adjudicator |
| 99RPH | RP-101056 | PET Adjudicator |
| 99RPH | RP-100005 | Reviewer |
| 99RPH | RP-101031 | Designator |
| 99RPH | RP-101032 | Adjudicator Repeating Read |
| 99RPH | RP-101047 | Adjudicator Repeating Radiology Read |
| 99RPH | RP-101048 | Adjudicator Repeating Oncology Read |
| 99RPH | RP-101053 | Adjudicator Repeating Eligibility Radiology Read |
| 99RPH | RP-101054 | Adjudicator Repeating Eligibility Oncology Read |
| 99RPH | RP-101057 | Adjudicator Repeating PET Read |
| 99RPH | RP-101033 | Quality Control – Images |
| 99RPH | RP-101034 | Quality Control – Results |
| 99RPH | RP-101037 | Quality Control – Radiotherapy Plan |
| 99RPH | RP-101035 | Eligibility Adjudicator |
| 99RPH | RP-101036 | Adjudicator Repeating Eligibility Read |

### CID RPH_7001b	Clinical Trial Adjudicated Roles

Context ID RPH_7001b

Clinical Trial Adjudicated Roles

Type: Extensible Version: 20090923

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100002 | Reader |
| 99RPH | RP-101040 | Radiology Reader |
| 99RPH | RP-101042 | Oncology Reader |
| 99RPH | RP-100003 | Eligibility Reader |
| 99RPH | RP-101049 | Eligibility Radiology Reader |
| 99RPH | RP-101050 | Eligibility Oncology Reader |

### CID RPH_7002	Clinical Trial Worklist Task Type

Context ID RPH_7002

Clinical Trial Worklist Task Type

Type: Extensible Version: 20110516

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Notes |
| --- | --- | --- | --- |
| 99RPH | RP-100800 | Radiology |  |
| 99RPH | RP-100801 | Oncology |  |
| 99RPH | RP-100802 | PET |  |
| 99RPH | RP-100803 | Eligibility Radiology |  |
| 99RPH | RP-100804 | Eligibility Oncology |  |
| 99RPH | RP-100805 | Eligibility Non-Oncology |  |
| 99RPH | RP-100806 | Non-Oncology Photo |  |
| 99RPH | RP-100807 | Radiology/PET |  |
| 99RPH | RP-100808 | Overall |  |
| 99RPH | RP-100809 | Review |  |
| 99RPH | RP-100810 | RTQA |  |
| 99RPH | RP-100811 | Individual Randomized |  |
| 99RPH | RP-100812 | Comparison Randomized |  |

### CID RPH_7003	Clinical Trial Worklist Task Category

Context ID RPH_7003

Clinical Trial Worklist Task Category

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Notes |
| --- | --- | --- | --- |
| 99RPH | RP-100220 | Sequential Locked Read |  |
| 99RPH | RP-100221 | Sequential Unlocked Read |  |
| 99RPH | RP-100222 | Non-sequential Unlocked Read |  |

### CID RPH_7003b	Clinical Trial Worklist Task Levels

Context ID RPH_7003b

Clinical Trial Worklist Task Levels

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Notes |
| --- | --- | --- | --- |
| 99RPH | RP-100213 | Perform initial task | I.e., initial read |
| 99RPH | RP-100214 | Perform comparison | I.e., level 1 adjudication |
| 99RPH | RP-100215 | Repeat rejected task | I.e., level 2 adjudication |

### CID RPH_7003c	Clinical Trial Worklist Task Repeat Types

Context ID RPH_7003c

Clinical Trial Worklist Task Repeat Types

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Notes |
| --- | --- | --- | --- |
| 99RPH | RP-100230 | Supplemental Read |  |
| 99RPH | RP-100231 | Repeat Read |  |

### CID RPH_7003d	Clinical Trial Worklist Task Variability Types

Context ID RPH_7003d

Clinical Trial Worklist Task Variability Types

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Notes |
| --- | --- | --- | --- |
| 99RPH | RP-100234 | Intraobserver variability |  |
| 99RPH | RP-100235 | Interobserver variability |  |

### CID RPH_7004	Lesion Type

Context ID RPH_7004

Lesion Type

Type: Extensible Version: 20090923

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100029 | Target lesion |
| 99RPH | RP-100030 | Non-target lesion |
| 99RPH | RP-100031 | New lesion |
| 99RPH | RP-100035 | Background lesion |
| 99RPH | RP-100320 | Calibration |

### CID RPH_7006	Anatomic Sites for Lesions

Context ID RPH_7006

Anatomic Sites for Lesions

Type: Extensible Version: 20090623

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| Include CID RPH_7006a Anatomic Sites for Lesions – CNS |
| Include CID RPH_7006b Anatomic Sites for Lesions – Nodes |
| Include CID RPH_7006c Anatomic Sites for Lesions – Viscera and Soft Tissue |
| Include CID RPH_7006d Anatomic Sites for Lesions – Skeletal |
| Include CID RPH_7006e Anatomic Sites for Lesions – Skin |
| Include CID RPH_7006f Anatomic Sites for Lesions – Fluid Collections |

### CID RPH_7006a	Anatomic Sites for CNS Lesions

Context ID RPH_7006a

Anatomic Sites for CNS Lesions

Type: Extensible Version: 20090623

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Laterality Unilateral (See Note 2) | SNOMED (SRT) Equivalent |
| --- | --- | --- | --- | --- |
| 99RPANATLOC | 27 | Brain | No |  |
| 99RPANATLOC | 84 | Frontal Lobe | No |  |
| 99RPANATLOC | 86 | Occipital Lobe | No |  |
| 99RPANATLOC | 92 | Frontoparietal | No |  |
| 99RPANATLOC | 93 | Frontotemporal | No |  |
| 99RPANATLOC | 94 | Parietoccipital | No |  |
| 99RPANATLOC | 95 | Temporaloccipital | No |  |
| 99RPANATLOC | 96 | Temporalparietal | No |  |
| 99RPANATLOC | 85 | Parietal Lobe | No |  |
| 99RPANATLOC | 87 | Temporal Lobe | No |  |
| 99RPANATLOC | 98 | Fourth Ventricle | Yes |  |
| 99RPANATLOC | 97 | Lateral Ventricle | No |  |
| 99RPANATLOC | 99 | Third Ventricle | Yes |  |
| 99RPANATLOC | 88 | Basal Ganglia | No |  |
| 99RPANATLOC | 89 | Thalamus | No |  |
| 99RPANATLOC | 90 | Brainstem | No |  |
| 99RPANATLOC | 91 | Cerebellum | No |  |
| 99RPANATLOC | 156 | Caudate | No |  |
| 99RPANATLOC | 157 | Dural | Yes |  |
| 99RPANATLOC | 162 | Epidural | Yes |  |
| 99RPANATLOC | 163 | Subdural | Yes |  |
| 99RPANATLOC | 164 | Spinal Cord | Yes |  |
| 99RPANATLOC | 158 | Falx | Yes |  |
| 99RPANATLOC | 159 | Corpus Callosum | Yes |  |
| 99RPANATLOC | 160 | Hippocampus | No |  |
| 99RPANATLOC | 161 | Leptomeningeal | No |  |

Notes:	1. We could actually use SNOMED codes rather than CoreLab Partners codes in the DICOM SR encoding, and map back and forth from the user interface, but this is probably unnecessary work; better to just note the correspondence with standard codes like SNOMED here, and use the CoreLab Partners numeric codes for now.

2. I.e., either (G-C171, SRT, “Laterality”) always set to (G-A103, SRT, “Unilateral”), or may be one of (G-A100, SRT, “Right”), (G-A101, SRT, “Left”) or (G-A102, SRT, “Right and left”).

### CID RPH_7006b	Anatomic Sites for Lesions – Nodes

Context ID RPH_7006b

Anatomic Sites for Lesions – Nodes

Type: Extensible Version: 20090714

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Laterality Unilateral | SNOMED (SRT) Equivalent |
| --- | --- | --- | --- | --- |
| 99RPANATLOC | 165 | Nodes | Yes |  |
| 99RPANATLOC | 1 | Waldeyer’s Ring | No |  |
| 99RPANATLOC | 2 | Pre-Auricular Nodes | No |  |
| 99RPANATLOC | 25 | Submental Nodes | No |  |
| 99RPANATLOC | 166 | Cervical Nodes | No |  |
| 99RPANATLOC | 3 | Upper Cervical Nodes | No |  |
| 99RPANATLOC | 4 | Middle or Lower Cervical Nodes | No |  |
| 99RPANATLOC | 5 | Post-Cervical Nodes | No |  |
| 99RPANATLOC | 6 | Supraclavicular Nodes | No |  |
| 99RPANATLOC | 7 | Infraclavicular Nodes | No |  |
| 99RPANATLOC | 26 | Subpectoral Nodes | No |  |
| 99RPANATLOC | 81 | Thoracic Nodes | No |  |
| 99RPANATLOC | 8 | Paratracheal Nodes | No |  |
| 99RPANATLOC | 9 | Mediastinal Nodes | No |  |
| 99RPANATLOC | 10 | Hilar Nodes | No |  |
| 99RPANATLOC | 68 | Sub-Carinal Nodes | Yes |  |
| 99RPANATLOC | 11 | Axillary Nodes | No |  |
| 99RPANATLOC | 12 | Epitrochlear Nodes | No |  |
| 99RPANATLOC | 13 | Retrocrural Nodes | No |  |
| 99RPANATLOC | 82 | Abdominal Nodes | No |  |
| 99RPANATLOC | 15 | Splenic Hilar Nodes | Yes |  |
| 99RPANATLOC | 16 | Portal Nodes | Yes |  |
| 99RPANATLOC | 17 | Celiac Nodes | Yes |  |
| 99RPANATLOC | 32 | Paracardiac Nodes | No |  |
| 99RPANATLOC | 37 | Aorto Caval Nodes | No |  |
| 99RPANATLOC | 18 | Para-Aortic Nodes | No |  |
| 99RPANATLOC | 51 | Epicardial Nodes | No |  |
| 99RPANATLOC | 69 | Cardiophrenic Nodes | No |  |
| 99RPANATLOC | 19 | Mesenteric Nodes | No |  |
| 99RPANATLOC | 70 | Peripancreatic Nodes | No |  |
| 99RPANATLOC | 71 | Retroperitoneal Nodes | No |  |
| 99RPANATLOC | 83 | Pelvic Nodes | No |  |
| 99RPANATLOC | 20 | Common Iliac Nodes | No |  |
| 99RPANATLOC | 72 | Internal Iliac Nodes | No |  |
| 99RPANATLOC | 21 | External Iliac Nodes | No |  |
| 99RPANATLOC | 22 | Inguinal Nodes | No |  |
| 99RPANATLOC | 73 | Pre-Sacral Nodes | Yes |  |
| 99RPANATLOC | 74 | Perirectal Nodes | No |  |
| 99RPANATLOC | 23 | Femoral Nodes | No |  |
| 99RPANATLOC | 24 | Popliteal Nodes | No |  |

Notes:	1. These anatomic sites may be used to refer to single lymph nodes (e.g., when measuring a lymph node as a target lesion as per RECIST 1.1), or a group of lymph nodes in the same location that have coalesced into a single mass (and may or may not be measured according to response criteria). Whether or not the reference is to a single node or multiple nodes may be encoded separately.

### CID RPH_7006c	Anatomic Sites for Lesions – Viscera and Soft Tissue

Context ID RPH_7006c

Anatomic Sites for Lesions – Viscera and Soft Tissue

Type: Extensible Version: 20090714

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Laterality Unilateral | SNOMED (SRT) Equivalent |
| --- | --- | --- | --- | --- |
| 99RPANATLOC | 167 | Extranodal Viscera | Yes |  |
| 99RPANATLOC | 52 | Muscle | Yes |  |
| 99RPANATLOC | 100 | Eye/Orbit | No |  |
| 99RPANATLOC | 168 | Nose | Yes |  |
| 99RPANATLOC | 75 | Oral Cavity | No |  |
| 99RPANATLOC | 76 | Tongue | Yes |  |
| 99RPANATLOC | 77 | Parotid | No |  |
| 99RPANATLOC | 78 | Submandibular | No |  |
| 99RPANATLOC | 169 | Pharynx | No |  |
| 99RPANATLOC | 101 | Nasopharynx | No |  |
| 99RPANATLOC | 56 | Oropharynx | No |  |
| 99RPANATLOC | 170 | Hypopharynx | No |  |
| 99RPANATLOC | 102 | Paranasal Sinuses | No |  |
| 99RPANATLOC | 172 | Maxillary Sinus | No |  |
| 99RPANATLOC | 173 | Frontal Sinus | No |  |
| 99RPANATLOC | 174 | Sphenoid Sinus | No |  |
| 99RPANATLOC | 175 | Ethmoid Sinus | No |  |
| 99RPANATLOC | 45 | Neck (Soft Tissue) | No |  |
| 99RPANATLOC | 57 | Larynx | No |  |
| 99RPANATLOC | 28 | Thyroid | No |  |
| 99RPANATLOC | 79 | Thoracic | No |  |
| 99RPANATLOC | 128 | Shoulder Soft Tissue | No |  |
| 99RPANATLOC | 131 | Upper Arm Soft Tissue | No |  |
| 99RPANATLOC | 176 | Forearm Soft Tissue | No |  |
| 99RPANATLOC | 177 | Wrist Soft Tissue | No |  |
| 99RPANATLOC | 178 | Hand Soft Tissue | No |  |
| 99RPANATLOC | 179 | Mediastinum | No |  |
| 99RPANATLOC | 67 | Breast | No |  |
| 99RPANATLOC | 59 | Axilla | No |  |
| 99RPANATLOC | 30 | Pleural Cavity | No |  |
| 99RPANATLOC | 29 | Lung | No |  |
| 99RPANATLOC | 14 | Trachea/Bronchi | Yes |  |
| 99RPANATLOC | 55 | Esophagus | Yes |  |
| 99RPANATLOC | 103 | Aorta | Yes |  |
| 99RPANATLOC | 104 | Heart | Yes |  |
| 99RPANATLOC | 80 | Paracardiac | No |  |
| 99RPANATLOC | 114 | Cardiophrenic | No |  |
| 99RPANATLOC | 105 | Pericardium | Yes |  |
| 99RPANATLOC | 115 | Epicardium | No |  |
| 99RPANATLOC | 106 | Superior Vena Cava | Yes |  |
| 99RPANATLOC | 107 | Diaphragm | No |  |
| 99RPANATLOC | 116 | Thoracic Inlet | No |  |
| 99RPANATLOC | 180 | Paraspinal | No |  |
| 99RPANATLOC | 117 | Abdomen | No |  |
| 99RPANATLOC | 63 | Peritoneum/omentum | Yes |  |
| 99RPANATLOC | 33 | Liver | Yes |  |
| 99RPANATLOC | 53 | Biliary Tract/Gallbladder | Yes |  |
| 99RPANATLOC | 31 | Spleen | Yes |  |
| 99RPANATLOC | 118 | Mesenteric | No |  |
| 99RPANATLOC | 119 | Peripancreatic | Yes |  |
| 99RPANATLOC | 54 | Pancreas | Yes |  |
| 99RPANATLOC | 34 | Stomach | Yes |  |
| 99RPANATLOC | 109 | Retroperitoneum | No |  |
| 99RPANATLOC | 65 | Adrenal | No |  |
| 99RPANATLOC | 35 | Kidney | No |  |
| 99RPANATLOC | 120 | Renal Fossa | No |  |
| 99RPANATLOC | 121 | Pre-Sacral | Yes |  |
| 99RPANATLOC | 50 | Small Bowel | Yes |  |
| 99RPANATLOC | 38 | Colon | Yes |  |
| 99RPANATLOC | 122 | Peri-Cecal | Yes |  |
| 99RPANATLOC | 123 | Perirectal | No |  |
| 99RPANATLOC | 108 | Rectum | Yes |  |
| 99RPANATLOC | 110 | Ureter | No |  |
| 99RPANATLOC | 111 | Bladder | Yes |  |
| 99RPANATLOC | 112 | Pelvic Soft Tissue | No |  |
| 99RPANATLOC | 61 | Uterus | Yes |  |
| 99RPANATLOC | 60 | Vagina | Yes |  |
| 99RPANATLOC | 113 | Prostate | Yes |  |
| 99RPANATLOC | 39 | Gonad | No |  |
| 99RPANATLOC | 124 | Testicle | No |  |
| 99RPANATLOC | 125 | Ovary | No |  |
| 99RPANATLOC | 145 | Upper Leg | No |  |
| 99RPANATLOC | 181 | Knee | No |  |
| 99RPANATLOC | 182 | Lower Leg Soft Tissue | No |  |
| 99RPANATLOC | 183 | Foot Soft Tissue | No |  |

### CID RPH_7006d	Anatomic Sites for Lesions – Skeletal

Context ID RPH_7006d

Anatomic Sites for Lesions – Skeletal

Type: Extensible Version: 20090714

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Laterality Unilateral | SNOMED (SRT) Equivalent |
| --- | --- | --- | --- | --- |
| 99RPANATLOC | 126 | Skull | No |  |
| 99RPANATLOC | 44 | Skull Base | Yes |  |
| 99RPANATLOC | 184 | Facial Bones | Yes |  |
| 99RPANATLOC | 127 | Mandible | No |  |
| 99RPANATLOC | 197 | Acromioclavicular | No |  |
| 99RPANATLOC | 129 | Clavicle | No |  |
| 99RPANATLOC | 130 | Scapula | No |  |
| 99RPANATLOC | 198 | Sternoclavicular | No |  |
| 99RPANATLOC | 132 | Humerus | No |  |
| 99RPANATLOC | 199 | Elbow | No |  |
| 99RPANATLOC | 133 | Ulna | No |  |
| 99RPANATLOC | 134 | Radius and Ulna | No |  |
| 99RPANATLOC | 135 | Radius | No |  |
| 99RPANATLOC | 136 | Carpus | No |  |
| 99RPANATLOC | 137 | Metacarpus | No |  |
| 99RPANATLOC | 185 | Phalanges (fingers) | No |  |
| 99RPANATLOC | 46 | Cervical Spine | Yes |  |
| 99RPANATLOC | 138 | Cervical Spine (multiple) | Yes |  |
| 99RPANATLOC | C1 | C1 | Yes |  |
| 99RPANATLOC | C2 | C2 | Yes |  |
| 99RPANATLOC | C3 | C3 | Yes |  |
| 99RPANATLOC | C4 | C4 | Yes |  |
| 99RPANATLOC | C5 | C5 | Yes |  |
| 99RPANATLOC | C6 | C6 | Yes |  |
| 99RPANATLOC | C7 | C7 | Yes |  |
| 99RPANATLOC | 139 | Sternum | Yes |  |
| 99RPANATLOC | 140 | Ribs (multiple) | No |  |
| 99RPANATLOC | X1 | Rib 1 | No |  |
| 99RPANATLOC | X2 | Rib 2 | No |  |
| 99RPANATLOC | X3 | Rib 3 | No |  |
| 99RPANATLOC | X4 | Rib 4 | No |  |
| 99RPANATLOC | X5 | Rib 5 | No |  |
| 99RPANATLOC | X6 | Rib 6 | No |  |
| 99RPANATLOC | X7 | Rib 7 | No |  |
| 99RPANATLOC | X8 | Rib 8 | No |  |
| 99RPANATLOC | X9 | Rib 9 | No |  |
| 99RPANATLOC | X10 | Rib 10 | No |  |
| 99RPANATLOC | X11 | Rib 11 | No |  |
| 99RPANATLOC | X12 | Rib 12 | No |  |
| 99RPANATLOC | 47 | Thoracic Spine | Yes |  |
| 99RPANATLOC | 141 | Thoracic Spine (multiple) | Yes |  |
| 99RPANATLOC | T1 | T1 | Yes |  |
| 99RPANATLOC | T2 | T2 | Yes |  |
| 99RPANATLOC | T3 | T3 | Yes |  |
| 99RPANATLOC | T4 | T4 | Yes |  |
| 99RPANATLOC | T5 | T5 | Yes |  |
| 99RPANATLOC | T6 | T6 | Yes |  |
| 99RPANATLOC | T7 | T7 | Yes |  |
| 99RPANATLOC | T8 | T8 | Yes |  |
| 99RPANATLOC | T9 | T9 | Yes |  |
| 99RPANATLOC | T10 | T10 | Yes |  |
| 99RPANATLOC | T11 | T11 | Yes |  |
| 99RPANATLOC | T12 | T12 | Yes |  |
| 99RPANATLOC | 48 | Lumbar Spine | Yes |  |
| 99RPANATLOC | 142 | Lumbar Spine (multiple) | Yes |  |
| 99RPANATLOC | LS1 | L1 | Yes |  |
| 99RPANATLOC | LS2 | L2 | Yes |  |
| 99RPANATLOC | LS3 | L3 | Yes |  |
| 99RPANATLOC | LS4 | L4 | Yes |  |
| 99RPANATLOC | LS5 | L5 | Yes |  |
| 99RPANATLOC | 49 | Sacrum | Yes |  |
| 99RPANATLOC | 143 | Sacrum (multiple) | Yes |  |
| 99RPANATLOC | S1 | S1 | Yes |  |
| 99RPANATLOC | S2 | S2 | Yes |  |
| 99RPANATLOC | S3 | S3 | Yes |  |
| 99RPANATLOC | S4 | S4 | Yes |  |
| 99RPANATLOC | S5 | S5 | Yes |  |
| 99RPANATLOC | 144 | Hip | No |  |
| 99RPANATLOC | 200 | Sacroiliac | No |  |
| 99RPANATLOC | 186 | Ilium | No |  |
| 99RPANATLOC | 187 | Acetabulum | No |  |
| 99RPANATLOC | 188 | Ischium | No |  |
| 99RPANATLOC | 189 | Pubis | No |  |
| 99RPANATLOC | 190 | Coccyx | Yes |  |
| 99RPANATLOC | 146 | Femur | No |  |
| 99RPANATLOC | 191 | Femur Neck | No |  |
| 99RPANATLOC | 192 | Femur Subtrochanter | No |  |
| 99RPANATLOC | 193 | Femur Midshaft | No |  |
| 99RPANATLOC | 194 | Femur Distal | No |  |
| 99RPANATLOC | 147 | Patella | No |  |
| 99RPANATLOC | 148 | Fibula | No |  |
| 99RPANATLOC | 149 | Tibia | No |  |
| 99RPANATLOC | 150 | Tibia and Fibula | No |  |
| 99RPANATLOC | 151 | Tarsus | No |  |
| 99RPANATLOC | 152 | Metatarsus | No |  |
| 99RPANATLOC | 195 | Calcaneus | No |  |
| 99RPANATLOC | 196 | Phalanges (Toes) | No |  |
| 99RPANATLOC | 36 | Bone | Yes |  |
| 99RPANATLOC | 153 | Bone Marrow | Yes |  |

Notes:	1. These anatomic sites may be used to indicate that a lesion is a bone lesion, and hence different rules applied when deriving response criteria (e.g., one may not measure the size of a bone lesion).

### CID RPH_7006e	Anatomic Sites for Lesions – Skin

Context ID RPH_7006e

Anatomic Sites for Lesions – Skin

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Laterality Unilateral | SNOMED (SRT) Equivalent |
| --- | --- | --- | --- | --- |
| 99RPANATLOC | 41 | Subcutaneous | Yes |  |
| 99RPANATLOC | 66 | Skin | Yes |  |
| 99RPANATLOC | 58 | Chest Wall | No |  |
| 99RPANATLOC | 154 | Abdominal Wall | No |  |
| 99RPANATLOC | 155 | Back | Yes |  |

### CID RPH_7006f	Anatomic Sites for Lesions – Fluid Collections

Context ID RPH_7006f

Anatomic Sites for Lesions – Fluid Collections

Type: Extensible Version: 20090623

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Laterality Unilateral | SNOMED (SRT) Equivalent |
| --- | --- | --- | --- | --- |
| 99RPANATLOC | 62 | Pleural Effusion | No |  |
| 99RPANATLOC | 64 | Pericardial Effusion | Yes |  |
| 99RPANATLOC | 43 | Ascites | Yes |  |

### CID RPH_7007	Anatomic Regions for Radiology Procedures

Context ID RPH_7007

Anatomic Regions for Radiology Procedures

Type: Extensible Version: 20091117

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Laterality Unilateral | Body Part Examined (0018,0015) |
| --- | --- | --- | --- | --- |
| SRT | T-D4000 | Abdomen | Yes | ABDOMEN |
| SRT | T-B3000 | Adrenal gland | Yes | ADRENAL |
| SRT | R-FAB57 | Abdomen and Pelvis | Yes | ABDOMENPELVIS |
| SRT | T-15750 | Ankle | No | ANKLE |
| SRT | T-D8100 | Axilla | No | AXILLA |
| SRT | T-A9092 | Brachial Plexus | No |  |
| SRT | T-A0100 | Brain | Yes | BRAIN |
| SRT | T-04000 | Breast | No | BREAST |
| SRT | T-12770 | Calcaneus | No | CALCANEUS |
| SRT | T-45010 | Carotid Artery | No | CAROTID |
| SRT | T-A010D | Cerebral vessels | Yes |  |
| SRT | T-11501 | Cervical spine | Yes | CSPINE |
| SRT | T-D00F7 | Cervico-thoracic spine | Yes | CTSPINE |
| SRT | T-D3000 | Chest | Yes | CHEST |
| SRT | R-FAB55 | Chest and Abdomen | Yes | CHESTABDOMEN |
| SRT | R-FAB56 | Chest, Abdomen and Pelvis | Yes | CHESTABDPELVIS |
| SRT | T-12310 | Clavicle | No | CLAVICLE |
| SRT | T-11BF0 | Coccyx | Yes | COCCYX |
| SRT | T-43000 | Coronary artery | Yes | CORONARYARTERY |
| SRT | T-D8300 | Elbow | No | ELBOW |
| SRT | T-11002 | Entire bony skeleton | Yes |  |
| SRT | T-11196 | Facial bones | Yes |  |
| SRT | T-12710 | Femur | No | FEMUR |
| SRT | T-D9700 | Foot | No | FOOT |
| SRT | T-12402 | Forearm | No |  |
| SRT | T-D0010 | Whole body | Yes | WHOLEBODY |
| SRT | T-D8700 | Hand | No | HAND |
| SRT | T-D064D | Hand and wrist | No |  |
| SRT | T-D1100 | Head | Yes | HEAD |
| SRT | T-D1000 | Head and Neck | Yes | HEADNECK |
| SRT | T-32000 | Heart | Yes | HEART |
| SRT | T-15710 | Hip | No | HIP |
| SRT | T-12410 | Humerus | No | HUMERUS |
| SRT | T-48710 | Inferior vena cava | Yes |  |
| SRT | T-71000 | Kidney | No | KIDNEY |
| SRT | T-D9200 | Knee | No | KNEE |
| SRT | T-62000 | Liver | Yes | LIVER |
| SRT | T-D0680 | Lower extremity | No |  |
| SRT | T-D9400 | Lower Leg | No | LEG |
| SRT | T-11503 | Lumbar spine | Yes | LSPINE |
| SRT | T-D00F9 | Lumbo-sacral spine | Yes | LSSPINE |
| SRT | T-11180 | Mandible | Yes | JAW |
| SRT | T-D1600 | Neck | Yes | NECK |
| SRT | T-D14AE | Orbit | No | ORBIT |
| SRT | T-22000 | Paranasal sinus | Yes |  |
| SRT | T-D6000 | Pelvis | Yes | PELVIS |
| SRT | T-9200B | Prostate | Yes | PROSTATE |
| SRT | T-44000 | Pulmonary artery | Yes |  |
| SRT | T-11300 | Rib | No | RIB |
| SRT | T-15680 | Sacroiliac joint | No |  |
| SRT | T-11AD0 | Sacrum | Yes | SSPINE |
| SRT | T-12280 | Scapula | No | SCAPULA |
| SRT | T-D2220 | Shoulder | No | SHOULDER |
| SRT | T-11100 | Skull | Yes | SKULL |
| SRT | T-D0146 | Spine | Yes | SPINE |
| SRT | T-15610 | Sternoclavicular joint | No |  |
| SRT | T-11210 | Sternum | Yes | STERNUM |
| SRT | T-48610 | Superior vena cava | Yes |  |
| SRT | T-D9100 | Thigh | No | THIGH |
| SRT | T-11502 | Thoracic spine | Yes | THIGH |
| SRT | T-D00F8 | Thoraco-lumbar spine | Yes | TLSPINE |
| SRT | T-B6000 | Thyroid | Yes | THYROID |
| SRT | T-D8200 | Upper arm | No | ARM |
| SRT | T-D0677 | Upper extremity | No |  |
| SRT | T-15460 | Wrist | No | WRIST |

Notes:	1. This table is derived from the larger set defined in DICOM PS 3.16 Annex L.

2. The Body Part Examined value is provided for reference to the value that may be present in the image objects (and hence perhaps automatically derived).

### CID RPH_7007b	Anatomic Regions for External Photography Procedures

Context ID RPH_7007b

Anatomic Regions for External Photography Procedures

Type: Extensible Version: 20090723

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Laterality Unilateral | Body Part Examined (0018,0015) |
| --- | --- | --- | --- | --- |
| SRT | T-02880 | 1st Toe | No |  |
| SRT | T-D8808 | 2nd (Index) Finger | No |  |
| SRT | T-02890 | 2nd Toe | No |  |
| SRT | T-D8809 | 3rd (Middle) Finger | No |  |
| SRT | T-02900 | 3rd Toe | No |  |
| SRT | T-D880A | 4th (Ring) Finger | No |  |
| SRT | T-02910 | 4th Toe | No |  |
| SRT | T-D880B | 5th (Little) Finger | No |  |
| SRT | T-02920 | 5th Toe | No |  |
| SRT | T-D0691 | Abdomen | Yes |  |
| SRT | T-D9503 | Ankle | No |  |
| SRT | T-D300E | Anterior Chest Wall | No |  |
| SRT | T-D1618 | Anterior Neck | Yes |  |
| SRT | T-D9107 | Anterior Thigh | No |  |
| SRT | T-D06A4 | Arm | No |  |
| SRT | T-D8106 | Axilla | No |  |
| SRT | T-D0690 | Back | Yes |  |
| SRT | T-0243A | Breast | No |  |
| SRT | T-D00C9 | Buttock | No |  |
| SRT | T-0212F | Cheek | No |  |
| SRT | T-D3005 | Chest Wall | No |  |
| SRT | T-0216D | Chin | Yes |  |
| SRT | T-D1617 | Clavicular Region | No |  |
| SRT | T-D9731 | Dorsal Foot | No |  |
| SRT | T-D8731 | Dorsal Hand | No |  |
| SRT | T-0220B | Ear | No |  |
| SRT | T-D079D | Elbow | No |  |
| SRT | T-D0303 | Extremity | No |  |
| SRT | T-02138 | Eyelid | No |  |
| SRT | T-02124 | Face | Yes |  |
| SRT | T-D8807 | Finger | No |  |
| SRT | T-D2312 | Flank | No |  |
| SRT | T-D06AD | Foot | No |  |
| SRT | T-D1111 | Forehead | Yes |  |
| SRT | T-02505 | Genital Region | Yes |  |
| SRT | T-D7002 | Groin | No |  |
| SRT | T-D06A9 | Hand | No |  |
| SRT | T-D067E | Head | Yes |  |
| SRT | T-02844 | Heel | No |  |
| SRT | T-D2507 | Hip | No |  |
| SRT | T-D06E8 | Jaw | Yes |  |
| SRT | T-D9207 | Knee | No |  |
| SRT | T-D300F | Lateral Chest Wall | No |  |
| SRT | T-D07AF | Lateral Neck | No |  |
| SRT | T-52800 | Lips | Yes |  |
| SRT | T-D4008 | Lower Abdomen | No |  |
| SRT | T-D06A7 | Lower Arm | No |  |
| SRT | T-D2122 | Lower Back | No |  |
| SRT | T-D300A | Lower Chest Wall | Yes |  |
| SRT | T-D06AA | Lower Extremity | No |  |
| SRT | T-D06AC | Lower Leg | No |  |
| SRT | T-52201 | Lower Lip | Yes |  |
| SRT | T-51000 | Mouth | Yes |  |
| SRT | T-D067F | Neck | No |  |
| SRT | T-04104 | Nipple | No |  |
| SRT | T-D07AB | Nose | Yes |  |
| SRT | T-D0778 | Occipital Region | No |  |
| SRT | T-D14AF | Orbit | No |  |
| SRT | T-D8741 | Palmar Hand | No |  |
| SRT | T-D9745 | Plantar Foot | No |  |
| SRT | T-D9311 | Popliteal Fossa | No |  |
| SRT | T-D300B | Posterior Chest Wall | No |  |
| SRT | T-D1627 | Posterior Neck | Yes |  |
| SRT | T-02812 | Posterior Thigh | No |  |
| SRT | T-D1163 | Scalp | Yes |  |
| SRT | T-D2223 | Shoulder | No |  |
| SRT | T-D0776 | Temple | No |  |
| SRT | T-D06AB | Thigh | No |  |
| SRT | T-D8817 | Thumb | No |  |
| SRT | T-D0692 | Toe | No |  |
| SRT | T-5300C | Tongue | Yes |  |
| SRT | T-D4007 | Upper Abdomen | No |  |
| SRT | T-D06A5 | Upper Arm | No |  |
| SRT | T-D3012 | Upper Back | Yes |  |
| SRT | T-D3013 | Upper Chest Wall | Yes |  |
| SRT | T-52104 | Upper Lip | Yes |  |
| SRT | T-D07AD | Upper Neck | No |  |
| SRT | T-D8604 | Wrist | No |  |

Note:	In choosing SNOMED concepts for external photography, used “surface region” concepts, when available, else “entire skin of …” concepts.

### CID RPH_7010	Non-Target Lesion Response

Context ID RPH_7010

Non-Target Lesion Response

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| RADLEX | RID11515 | PD – Progressive Disease |
| RADLEX | RID11514 | SD – Stable Disease |
| RADLEX | RID11513 | PR – Partial Response |
| RADLEX | RID11511 | CR – Complete Response |
| 99RPH | RP-100041 | LR – Lesion Removed |

### CID RPH_7010b	PET Target Lesion Qualitative Response

Context ID RPH_7010b

PET Target Lesion Qualitative Response

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100270 | PMD – Progressive metabolic disease |
| 99RPH | RP-100271 | SMD – Stable metabolic disease |
| 99RPH | RP-100272 | PMR – Partial metabolic response |
| 99RPH | RP-100273 | CMR – Complete metabolic response |

### CID RPH_7010c	PET Lesion Qualitative Assessment

Context ID RPH_7010c

PET Lesion Qualitative Assessment

Type: Extensible Version: 20090213

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100902 | Positive PET Finding |
| 99RPH | RP-100903 | Negative PET Finding |

### CID RPH_7011	Reasons Unable to Evaluate Lesion

Context ID RPH_7011

Reasons Unable to Evaluate Lesion

Type: Extensible Version: 20090617

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| DCM | 111235 | Quality renders image unusable |
| 99RPH | RP-100045 | Lesion obscured |
| 99RPH | RP-100046 | Improper field of view |
| 99RPH | RP-100047 | Missing window |
| 99RPH | RP-100048 | Missing or inconsistent contrast agent or phase |
| RADLEX | RID11262 | Missing image |
| RADLEX | RID11261 | Missing exam |
| 99RPH | RP-100051 | Change in reconstruction interval |
| 99RPH | RP-100052 | Modality changed |
| 99RPH | RP-100050 | Change in reconstruction method or parameters |
| 99RPH | RP-100049 | Not distinguishable from other lesions |
| 99RPH | RP-100130 | Lesion segmentation cannot be performed |
| 99RPH | RP-100131 | Attenuation Correction map not available |
| 99RPH | RP-100132 | Attenuation Correction map technically limited |
| 99RPH | RP-100133 | Poor count statistics |
| 99RPH | RP-100134 | Not distinguishable from normal physiologic activity |
| 99RPH | RP-100135 | Parameter(s) required for SUV calculation not provided |

### CID RPH_7012	Reasons Unable to Measure Target Lesion

Context ID RPH_7012

Reasons Unable to Measure Target Lesion

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100055 | Too small to measure |
| 99RPH | RP-100056 | Lesion resolved |
| 99RPH | RP-100057 | Lesion removed |

### CID RPH_7012b	Reasons Unable to Measure New Lesion

Context ID RPH_7012b

Reasons Unable to Measure New Lesion

Type: Extensible Version: 20090617

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100055 | Too small to measure |
| 99RPH | RP-100056 | Lesion resolved |
| 99RPH | RP-100057 | Lesion removed |
| 99RPH | RP-100075 | Lesion unmeasurable |

### CID RPH_7013	Lesion Change Reasons

Context ID RPH_7013

Lesion Change Reasons

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0RP-100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100350 | Correction to lesion label |
| 99RPH | RP-100059 | DCF correction |
| 99RPH | RP-100060 | Correction based on CMO review |
| 99RPH | RP-100064 | Image quality issue – lesion not clearly seen |
| 99RPH | RP-100065 | Inter-current disease – lesion not clearly seen |
| 99RPH | RP-100062 | Lesion identified was artifact |
| 99RPH | RP-100063 | Lesion identified was benign |
| 99RPH | RP-100066 | Lesion incorrectly measured |
| 99RPH | RP-100069 | Lesion was in previously irradiated field |
| 99RPH | RP-100067 | New bone lesion result of flare phenomenon |
| 99RPH | RP-100351 | Recalibration |
| 99RPH | RP-100061 | Lesion did not meet qualification requirements |

### CID RPH_7013b	Lesion Addition Reasons

Context ID RPH_7013b

Lesion Addition Reasons

Type: Extensible Version: 20090217

| Coding Scheme Designator (0008,0102) | Code Value (0008,0RP-100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100068 | Lesion was present previously but not Identified |
| 99RPH | RP-100072 | Measuring a non-target lesion to justify progression |
| 99RPH | RP-100071 | New clinical data presented |
| 99RPH | RP-100070 | New images presented |

### CID RPH_7013c	Calibration Change Reasons

Context ID RPH_7013c

Calibration Change Reasons

Type: Extensible Version: 20090218

| Coding Scheme Designator (0008,0102) | Code Value (0008,0RP-100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100351 | Recalibration |

### CID RPH_7014	Time Point Change Reasons

Context ID RPH_7014

Time Point Change Reasons

Type: Extensible Version: 20110825

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100059 | DCF correction |
| 99RPH | RP-100060 | Correction based on CMO review |
| 99RPH | RP-100076 | Source measurement changed |

### CID RPH_7014b	Adjudication Change Reasons

Context ID RPH_7014b

Adjudication Change Reasons

Type: Extensible Version: 20090217

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100059 | DCF correction |
| 99RPH | RP-100060 | Correction based on CMO review |
| 99RPH | RP-100071 | New clinical data presented |
| 99RPH | RP-100070 | New images presented |

### CID RPH_7014c	Time Point Observation Addition Reasons

Context ID RPH_7014c

Time Point Observation Addition Reasons

Type: Extensible Version: 20090902

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100071 | New clinical data presented |
| 99RPH | RP-100070 | New images presented |

### CID RPH_7015	Signature Meanings

Context ID RPH_7015

Signature Meanings

Type: Extensible Version: 20110808

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100330 | Radiology Read Performed |
| 99RPH | RP-100331 | Adjudication level 1 Performed |
| 99RPH | RP-100332 | Adjudication level 2 Performed |
| 99RPH | RP-100333 | Corrections Performed |
| 99RPH | RP-100334 | Eligibility Read Performed |
| 99RPH | RP-100335 | Oncology Read Performed |
| 99RPH | RP-100336 | PET Read Performed |
| 99RPH | RP-100340 | Nuclear Medicine Review Performed |
| 99RPH | RP-100341 | CT + PET Read Performed |
| 99RPH | RP-100342 | CMO Review Performed |
| 99RPH | RP-100343 | Read Result Quality Control Performed |
| 99RPH | RP-100344 | Image Quality Control Performed |

### CID RPH_7016	Algorithm Type

Context ID RPH_7016

Algorithm Type

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100087 | Segmentation algorithm |
| 99RPH | RP-100088 | Registration algorithm |
| 99RPH | RP-100089 | Propagation algorithm |

### CID RPH_7017	Single Line Segment Measurements

Context ID RPH_7017
Single Line Segment Measurements

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | G-A22A | Length |
| DCM | 121206 | Distance |
| SRT | G-A220 | Width |
| SRT | G-D785 | Depth |
| SRT | M-02550 | Diameter |
| SRT | G-A185 | Long Axis |
| SRT | G-A186 | Short Axis |
| SRT | G-A193 | Major Axis |
| SRT | G-A194 | Minor Axis |
| SRT | G-A195 | Perpendicular Axis |
| SRT | G-A196 | Radius |
| DCM | 121207 | Height |

### CID RPH_7018	Region Linear Measurements

Context ID RPH_7018
Region Linear Measurements

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | G-A185 | Long Axis |
| SRT | G-A186 | Short Axis |
| SRT | G-A195 | Perpendicular Axis |
| SRT | G-A197 | Perimeter |

Notes:	1. This template is a subset derived from the more generic DICOM PS 3.16 CID 7470 Linear Measurements.

### CID RPH_7019	Region Area Measurements

Context ID RPH_7019
Region Area Measurements

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | G-A166 | Area |

Notes:	1. This template is a subset derived from the more generic DICOM PS 3.16 CID 7471 Area Measurements.

### CID RPH_7020	Region Volume Measurements

Context ID RPH_7020
Region Volume Measurements

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | G-D705 | Volume |

Notes:	1. This template is a subset derived from the more generic DICOM PS 3.16 CID 7472 Volume Measurements.

### CID RPH_7021	Region Pixel Value Measurements

Context ID RPH_7021
Region Pixel Value Measurements

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Units Coding Scheme Designator (0008,0102) | Units Code Value (0008,0100) | Units Code Meaning (0008,0104) |
| --- | --- | --- | --- | --- | --- |
| DCM | 112031 | Attenuation Coefficient | UCUM | [hnsf’U] | Hounsfield unit |
| 99RPH | RP-100107 | Standardized Uptake Value body weight | UCUM | {SUVbw}g/ml | Standardized Uptake Value body weight |
| 99RPH | RP-100108 | Standardized Uptake Value lean body mass | UCUM | {SUVlbm}g/ml | Standardized Uptake Value lean body mass |
| 99RPH | RP-100109 | Standardized Uptake Value body surface area | UCUM | {SUVbsa}cm2/ml | Standardized Uptake Value body surface area |

Notes:	1. Separate codes are needed for the concept of the value, and the concept of the units.

2. The concepts of mean, maximum, etc. are not pre-coordinate with these codes; the context in which they are used allows or requires them to be post-coordinated with modifiers; see CID RPH_7030 Measurement Derivation Modifiers.

### CID RPH_7022	Measurements Derived From Other Measurements

Context ID RPH_7022

Measurements Derived From Other Measurements Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Units Coding Scheme Designator (0008,0102) | Units Code Value (0008,0100) | Units Code Meaning (0008,0104) | Source Measurement Constraints |
| --- | --- | --- | --- | --- | --- | --- |
| 99RPH | RP-100110 | Tumor to background ratio | UCUM | 1 | No units | UID #1 = tumor UID #2 = background |

### CID RPH_7031	Time Point Numeric Observations

Context ID RPH_7031

Time Point Numeric Observations

Type: Extensible Version: 20111021

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Units Coding Scheme Designator (0008,0102) | Units Code Value (0008,0100) | Units Code Meaning (0008,0104) |
| --- | --- | --- | --- | --- | --- |
| 99RPH | RP-100142 | Sum of the Longest Diameters (SLD) | UCUM | mm | mm |
| 99RPH | RP-100143 | Sum of the Product of the Short and Long Diameters (SPD) | UCUM | mm2 | mm2 |
| 99RPH | RP-100144 | Change in Sum of the Longest Diameters (SLD) from Nadir | UCUM | % | % |
| 99RPH | RP-100145 | Change in Sum of the Product of the Short and Long Diameters (SPD) from Nadir | UCUM | % | % |
| 99RPH | RP-100146 | Change in Sum of the Longest Diameters (SLD) from Baseline | UCUM | % | % |
| 99RPH | RP-100147 | Change in Sum of the Product of the Short and Long Diameters (SPD) from Baseline | UCUM | % | % |

### CID RPH_7032	Time Point Numeric Observation Units

Context ID RPH_7032

Time Point Numeric Observation Units Type: Extensible Version: 20110808

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| UCUM | mm | mm |
| UCUM | mm2 | mm2 |

### CID RPH_7030	Measurement Derivation Modifiers

Context ID RPH_7030

Measurement Derivation Modifiers

Type: Extensible Version: 20091023

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| Include CID 3488 Min/Max/Mean |
| SRT | R-10047 | Standard Deviation |
| SRT | R-40507 | Total |
| SRT | R-00319 | Median |
| SRT | R-0032E | Mode |
| 99RPH | RP-101080 | Local Mean |
| 99RPH | RP-101081 | Local Maximum |

### CID 3488	Min/Max/Mean

This context group contains modifiers that indicate whether the measurement is a minimum, maximum or averaged value.

Context ID 3488

Min/Max/Mean

Type : Extensible		Version : 20040614

| Code Scheme | Code Value | Concept Name |
| --- | --- | --- |
| SRT | G-A437 | Maximum |
| SRT | R-404FB | Minimum |
| SRT | R-00317 | Mean |

### CID 7473	General Area Calculation Methods

Context ID 7473
General Area Calculation Methods

Type:   Extensible		Version:   20070827

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| DCM | 122501 | Area of closed irregular polygon |
| DCM | 122502 | Area of a closed NURBS |

### CID 7474	General Volume Calculation Methods

Context ID 7474
General Volume Methods

Type:   Extensible		Version:   20070827

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| DCM | 122503 | Integration of sum of closed areas on contiguous slices |

### CID RPH_7040	Region Segmentation Methods

Context ID RPH_7040
Region Segmentation Methods

Type: Extensible Version: 20090731

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | G-D221 | Manual |
| 99RPH | RP-101030 | Random Walker 3D |

Notes:	1. This template should be extended as necessary to include categories (families) of tools as appropriate (as distinct from specific versions of specific algorithms), and pre-coordinate concepts such as 2D or 3D, threshold, connectivity or model based, etc.

### CID RPH_7041	Automation

Context ID RPH_7041
Automation

Type: Extensible Version: 20090402

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | G-D221 | Manual |
| SRT | G-D231 | Automated |
| 99RPH | RP-101013 | Semi-automated |

### CID RPH_7050a	Adjudication Choice Reasons

Context ID RPH_7050a
Adjudication Choice Reasons

Type: Extensible Version: 20090826

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100311 | Arbitrary choice |
| 99RPH | RP-100312 | Agree with lesion selection |
| 99RPH | RP-100313 | Agree new disease is unequivocal |
| 99RPH | RP-100314 | Disagree new disease is unequivocal |
| 99RPH | RP-100315 | New lesion identified may be an artifact |
| 99RPH | RP-100316 | New lesion identified may be benign |
| 99RPH | RP-100317 | New lesion identified may have been present at baseline |
| 99RPH | RP-100318 | Agree progression of non-target disease is unequivocal |
| 99RPH | RP-100319 | Disagree progression of non-target disease is unequivocal |

### CID RPH_7050b	Adjudication Discordance Reasons

Context ID RPH_7050b
Adjudication Discordance Reasons

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) | Justifiable |
| --- | --- | --- | --- |
| 99RPH | RP-100290 | Justifiable Difference in Lesion Selection | Yes |
| 99RPH | RP-100291 | Incorrect lesion selection | No |
| 99RPH | RP-100292 | Justifiable Difference in Number of Target Lesions Identified at Baseline | Yes |
| 99RPH | RP-100293 | Incorrect Number of Target Lesions Identified at Baseline | No |
| 99RPH | RP-100294 | Missing Image Data Led to a Justifiable Difference Between the Readers | Yes |
| 99RPH | RP-100295 | One Reader Did Not Follow the Charter | No |
| 99RPH | RP-100296 | Justifiable Perception Difference in Determining New Lesions | Yes |
| 99RPH | RP-100297 | Incorrect Perception Difference in Determining New Lesions | No |
| 99RPH | RP-100298 | Justifiable Perception Difference in Determining Progression on the Basis of Non-Target Lesions | Yes |
| 99RPH | RP-100299 | Incorrect Perception Difference in Determining Progression on the Basis of Non-Target Lesions | No |
| 99RPH | RP-100300 | Justifiable Perception Difference in Lesion Measurements | Yes |
| 99RPH | RP-100301 | Incorrect Perception Difference in Lesion Measurements | No |
| 99RPH | RP-100305 | Justifiable Difference in qualitative lesion assessment | Yes |
| 99RPH | RP-100306 | Incorrect qualitative lesion assessment | No |
| 99RPH | RP-100307 | Justifiable difference in anatomic correlation of lesion | Yes |
| 99RPH | RP-100308 | Incorrect anatomic correlation of lesion | No |
| 99RPH | RP-100309 | Justifiable Difference in Lesion Segmentation | Yes |
| 99RPH | RP-100310 | Incorrect Lesion Segmentation | No |

### CID RPH_7052	Adjudication Observation Scope

Context ID RPH_7052
Adjudication Observation Scope

Type: Extensible Version: 20090916

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100278 | Current TimePoint |
| 99RPH | RP-100279 | Current and all previous TimePoints |

### CID RPH_7060	Message Digest Algorithms

Context ID RPH_7060
Message Digest Algorithms

Type: Extensible Version: 20090211

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100883 | MD5 |
| 99RPH | RP-100884 | SHA1 |
| 99RPH | RP-100885 | RIPEMD160 |

### CID RPH_7070	Closed Curve Types

Context ID RPH_7070
Closed Curve Types

Type: Extensible Version: 20090213

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100898 | Spline |

### CID RPH_7071	Closed Polygon Types

Context ID RPH_7071
Closed Polygon Types

Type: Extensible Version: 20090213

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | G-A159 | Rectangle |

### CID RPH_7080	Procedures Reported

Context ID RPH_7080
Procedures Reported

Type: Extensible Version: 20090213

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| Include CID RPH_7081 NM Procedures Reported |
| Include CID RPH_7082 MR Procedures Reported |
| Include CID RPH_7083 BMD Procedures Reported |

### CID RPH_7081	NM Procedures Reported

Context ID RPH_7081
NM Procedures Reported

Type: Extensible Version: 20090213

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | P5-D1010 | Bone Scan |
| SRT | P5-D30FA | MUGA |
| 99RPH | RP-100905 | Sestamibi |
| SRT | P5-D2500 | Ventilation/Perfusion |

### CID RPH_7082	MR Procedures Reported

Context ID RPH_7082
MR Procedures Reported

Type: Extensible Version: 20090213

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | P5-09042 | Spectroscopy |

### CID RPH_7083	BMD Procedures Reported

Context ID RPH_7083
BMD Procedures Reported

Type: Extensible Version: 20090213

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-100906 | Whole Body Composition |

### CID RPH_7230		Yes-No Only

Context ID RPH_7230
Yes-No Only
Type:   Non-extensible		Version: 20090331

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| SRT | R-0038D | Yes |
| SRT | R-00339 | No |

### CID RPH_7231		Yes-No-UE

Context ID RPH_7231
Yes-No-UE
Type:   Non-extensible		Version: 20110822

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| SRT | R-0038D | Yes |
| SRT | R-00339 | No |
| 99RPH | RP-100044 | Unable to evaluate |

### CID RPH_7601		Measurement Object Types

Context ID RPH_7601
Measurement Object Types
Type:   Extensible		Version: 20090702

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| 99RPH | RP-100103 | Line Segment |
| 99RPH | RP-100104 | Biorthogonal Line Segments |
| 99RPH | RP-101016 | Triorthogonal Line Segments |
| 99RPH | RP-100105 | Angle |
| DCM | 111041 | Outline |
| SRT | G-D705 | Volume |
| 99RPH | RP-100121 | 3D Geometric Object |
| 99RPH | RP-100106 | Text Annotation |
| 99RPH | RP-100111 | Measurements Derived From Other Measurements |

### CID RPH_7602		3D Geometric Object Types

Context ID RPH_7602
3D Geometric Object Types
Type:   Extensible		Version: 20090702

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| 99RPH | RP-100124 | Ellipsoid |
| 99RPH | RP-100125 | Sphere |
| 99RPH | RP-100126 | Circular cylinder |
| 99RPH | RP-100127 | Elliptical cylinder |

### CID RPH_7702		Multiplicity

Context ID RPH_7702
Multiplicity
Type:   Non-extensible		Version: 20090623

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| SRT | G-A224 | Singular |
| SRT | G-A445 | Multiple |

### CID RPH_7710	Baseline Time Point Observation Types With Yes-No Answers

Context ID RPH_7710

Baseline Time Point Observation Types With Yes-No Answers

Type: Extensible Version: 20110822

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-101019 | Baseline fluid collection is present |

### CID RPH_7711	Post-Baseline Time Point Observation Types With Yes-No Answers

Context ID RPH_7711

Post-Baseline Time Point Observation Types With Yes-No Answers

Type: Extensible Version: 20110822

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-101018 | Pseudo-progression |

### CID RPH_7712	Post-Baseline Time Point Observation Types With Yes-No-UE Answers

Context ID RPH_7712

Post-Baseline Time Point Observation Types With Yes-No-UE Answers

Type: Extensible Version: 20110822

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| 99RPH | RP-101020 | Baseline fluid collection has increased |
| 99RPH | RP-101021 | New fluid collection is present |

### CID 29	Acquisition Modality

This Context Group includes codes that may be used to identify an image or waveform acquisition modality, as used in Attribute Modality (0008,0060) of a Modality Worklist Scheduled Procedure Step or a Composite SOP Instance (see PS3.3).  It generally corresponds to a class of diagnostic equipment, or to a specific acquisition function or technique in a device. This Context Group may be used as the value set for HL7 v2 Table 0259 (see HL7 v2.6 Chapter 8 Section 8.8.8.47).

Note:	This Context Group is not the complete set of codes that may appear in the Attribute Modality (0008,0060); these are only the codes associated with orderable acquisition processes (not post-processing).

Context ID 29
Acquisition Modality
Type: Extensible Version: 20081028

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| DCM | BMD | Bone Mineral Densitometry |
| DCM | BDUS | Ultrasound Bone Densitometry |
| DCM | EPS | Cardiac Electrophysiology |
| DCM | CR | Computed Radiography |
| DCM | CT | Computed Tomography |
| DCM | DX | Digital Radiography |
| DCM | ECG | Electrocardiography |
| DCM | ES | Endoscopy |
| DCM | XC | External-camera Photography |
| DCM | GM | General Microscopy |
| DCM | HD | Hemodynamic Waveform |
| DCM | IO | Intra-oral Radiography |
| DCM | IVUS | Intravascular Ultrasound |
| DCM | MR | Magnetic Resonance |
| DCM | MG | Mammography |
| DCM | NM | Nuclear Medicine |
| DCM | OCT | Optical Coherence Tomography |
| DCM | OPM | Ophthalmic Mapping |
| DCM | OP | Ophthalmic Photography |
| DCM | OPR | Ophthalmic Refraction |
| DCM | OPT | Ophthalmic Tomography |
| DCM | OPV | Ophthalmic Visual Field |
| DCM | PX | Panoramic X-Ray |
| DCM | PT | Positron emission tomography |
| DCM | RF | Radiofluoroscopy |
| DCM | RG | Radiographic imaging |
| DCM | SM | Slide Microscopy |
| DCM | US | Ultrasound |
| DCM | XA | X-Ray Angiography |

### CID 230		Yes-No

Context ID 230
Yes-No
Type:   Non-extensible		Version: 20060613

| Coding Scheme Designator | Code Value | Code Meaning |
| --- | --- | --- |
| SRT | R-0038D | Yes |
| SRT | R-00339 | No |
| SRT | R-0038A | Undetermined |

### CID 244	Laterality

Context ID 244
Laterality
Type: Non-Extensible	Version: 20030108

| Coding Scheme Designator (0008,0102) | Code Value (0008,0100) | Code Meaning (0008,0104) |
| --- | --- | --- |
| SRT | G-A100 | Right |
| SRT | G-A101 | Left |
| SRT | G-A102 | Right and left |
| SRT | G-A103 | Unilateral |

## Code Definitions

Code Definitions
(Coding Scheme Designator “99RPH” Coding Scheme Version “01”)

| Code Value | Code Meaning | Definition | Notes |
| --- | --- | --- | --- |
| RP-100001 | Clinical Trial Results | Document title for clinical trial results. |  |
| RP-100002 | Reader | Performing role that involves reading data or images of any type. |  |
| RP-100003 | Eligibility Reader | Performing role that involves evaluating data or images of any type against defined criteria for the purpose of establishing eligibility to be enrolled in a clinical trial. |  |
| RP-100004 | Adjudicator | Performing role that involves an adjudicator comparing the work performed by other readers and accepting or rejecting their results (response assessments). |  |
| RP-100005 | Reviewer | Performing role that involves reviewing the work performed by other readers for any purpose. |  |
| RP-100006 | Person Observer’s Login Name | Login name (user ID) of human observer that created the observations. | Contrast with (121008,DCM,“Person Observer Name”) |
| RP-100007 | Identifier within Person Observer’s Role | A numeric or alphabetic designator of an individual within a role. | E.g., “1” or “2”, or “A” or “B”; should not recapitulate the role (i.e., should not be “READER1”), since it is used in conjunction with a separate coded concept for the role itself. |
| RP-100008 | Worklist Task Name | The name of the worklist task that was selected to initiate the reading session for the subject. E.g., this might be to read all of the available time points for the subject. |  |
| RP-100009 | Worklist Sub-task Name | The name of the worklist sub-task within the worklist task that was selected to initiate the reading sub-task for the subject. E.g., this might be a sub-task to read the current time point in comparison with previous time points in a sequential read. |  |
| RP-100010 | Worklist Task Version | The version of the task identified by the Worklist Task UID. |  |
| RP-100011 | Worklist Task Description | A description of the task. |  |
| RP-100012 | Last Modifying Person Observer’s Login Name | Login name (user ID) of human observer that last modified the observations. |  |
| RP-100017 | Protocol Time Point Unique Identifier | An identifier of the time point, which is unique within a appropriate local context (such as an entire organization, system or protocol), which identifies the time point “slot” within a protocol. I.e., all of the subjects within a protocol that are examined at a particular scheduled time point (e.g., baseline) time point will have the same Protocol Time Point Unique Identifier, but different Subject Time Point Unique Identifiers. However, in different protocols, the Protocol Time Point Unique Identifiers for the same conceptual “time point” will be different. E.g., the “baseline” time point will have different Protocol Time Point Unique Identifiers in different protocols. | This is a unique identifier in a generic sense, but not encoded as a DICOM (dotted numeric) UID. It is not intended to be human-readable. |
| RP-100018 | Subject Time Point Unique Identifier | An identifier of the time point, which is unique within an appropriate local context (such as an entire organization, system or protocol), which identifies the actual time point during which a particular subject was examined. | This is a unique identifier in a generic sense, but not encoded as a DICOM (dotted numeric) UID. It is not intended to be human-readable. |
| RP-100019 | Time Point Name | A name for a time point, such as may be displayed to the user during a reading session. E.g., “TP0”. |  |
| RP-100021 | Time Point Unscheduled | Whether or not a time point was unscheduled. |  |
| RP-100022 | Time Point Baseline | Whether or not a time point was the “baseline” time point. E.g., in RECIST, the time point at which target and non-target lesions are selected. |  |
| RP-100023 | Reading Sub-task | Information about the lowest level of a workflow performed during a read, e.g., the reading of a single time point in comparison with its predecessors in a sequential read. |  |
| RP-100024 | Time Point | Information about a single time point, e.g., the results of analysis of images obtained within a certain temporal window around a significant clinical event, such as a cycle of chemotherapy. |  |
| RP-100025 | Lesion | A localized area of diseased or disordered tissue. |  |
| RP-100026 | Lesion Type | The type of lesion, as defined by the response criteria. E.g., in RECIST, a target lesion. |  |
| RP-100027 | Lesion Type Modifier | The modifier of the type of lesion, e.g., a measurement for a non-target lesion to establish progression. |  |
| RP-100028 | Predecessor Lesion Tracking Unique Identifier | A reference to a lesion on a previous time point used when lesions split or merge. |  |
| RP-100029 | Target Lesion | A lesion that consists of measurable disease. | Always designated on the baseline time point, but may be found on the original read, or flagged with as an additional lesion on subsequent review. |
| RP-100030 | Non-target Lesion | A lesion that consists of disease that is not measured or measurable. | Always designated on the baseline time point, but may be found on the original read, or flagged with as an additional lesion on subsequent review. |
| RP-100031 | New lesion | A lesion that was not present on the baseline time point. |  |
| RP-100032 |  |  | Retired – not to be used. |
| RP-100033 |  |  | Retired – not to be used. |
| RP-100034 | Include Flag | Whether or not a geometric sub-region of interest is included or excluded from the definition of the location of a lesion. |  |
| RP-100035 | Background lesion | A lesion used to as the background for a computation derived from another lesion. | May be used for an entire timepoint, or for a specific lesion computation, or both. |
| RP-100036 | Reconstruction Interval Unknown But Sufficient For Lesion Selection | The reconstruction interval of the images on which a lesion (e.g., target lesion) is being measured is unknown, but the reader has determined ( e.g., by visual inspection) that the reconstruction interval is sufficient to select the lesion. | E.g., used when the user has overriden rules related to minimum lesion size relative to reconstruction interval. |
| RP-100041 | LR – Lesion Removed | A lesion cannot be evaluated because the lesion itself or the organ containing it has been removed (e.g., surgically) |  |
| RP-100042 | Unable to evaluate lesion | Whether or not a lesion can be evaluated | The concept name of a yes-no question |
| RP-100043 | Reason unable to evaluate |  |  |
| RP-100044 | Unable to evaluate | The subject of the concept cannot be evaluated | The value of a concept with a yes-no-UE CID. |
| RP-100045 | Lesion obscured | The location of the lesion is obscured (e.g., by artifact). |  |
| RP-100046 | Improper field of view | The field of view of images at the current time point is too small to provide adequate anatomic coverage. |  |
| RP-100047 | Missing window | There are no images with the required window center and width at the current time point (i.e., for scanned printed film of digital modalities). |  |
| RP-100048 | Missing or inconsistent contrast agent or phase | The imaging study does not contain images with the appropriate IV and/or oral contrast, or does not contain images with the required contrast phase, or contains contrast phases that are different from those used previously. |  |
| RP-100049 | Not distinguishable from other lesions | A lesion is not distinguishable from other lesions. |  |
| RP-100050 | Change in reconstruction method or parameters | The method (algorithm) or the parameters of the algorithm (other than reconstruction interval) used to reconstruct images from the acquired raw data is different. | E.g., for PET,filtered backprojection or iterative reconstruction, the number of iterations, etc., may have changed. For CT, a different reconstruction kernel (e.g., bone or high frequency rather than soft tissue) may have changed. |
| RP-100051 | Change in reconstruction interval | The reconstruction interval (distance between the centers of adjacent slices) is different in the current study is from that used previously. |  |
| RP-100052 | Modality changed | The modality used is different in the current study from that used previously. |  |
| RP-100053 | Unable to measure lesion |  |  |
| RP-100054 | Reason unable to measure |  |  |
| RP-100055 | Too small to measure | A lesion is too small to measure, based on the clinical trial protocol criteria. |  |
| RP-100056 | Lesion resolved | A lesion cannot be measured because it has completely resolved. |  |
| RP-100057 | Lesion removed | A lesion cannot be measured because it has been removed (e.g., surgically resected). |  |
| RP-100058 | Edit Reason | The reason an observation has been edited (added or changed). |  |
| RP-100059 | DCF correction |  | Data Clarification Form – i.e., the catch all for any correction that is not specified by another more detailed reason. |
| RP-100060 | Correction based on CMO review |  |  |
| RP-100061 | Lesion did not meet qualification requirements |  | E.g. a target did not meet size criteria |
| RP-100062 | Lesion identified was artifact |  |  |
| RP-100063 | Lesion identified was benign |  |  |
| RP-100064 | Image quality issue – lesion not clearly seen |  |  |
| RP-100065 | Inter-current disease – lesion not clearly seen |  |  |
| RP-100066 | Lesion incorrectly measured |  |  |
| RP-100067 | New bone lesion result of flare phenomenon |  |  |
| RP-100068 | Lesion was present previously but not Identified |  |  |
| RP-100069 | Lesion was in previously irradiated field |  |  |
| RP-100070 | New images presented |  |  |
| RP-100071 | New clinical data presented |  |  |
| RP-100072 | Measuring a non-target lesion to justify progression |  |  |
| RP-100073 | Time point observation | Observation about an entire time point, as opposed to a single lesion; e.g., user entered comments about the time point. |  |
| RP-100074 | Signature meaning | Meaning of (reason for) the electronic signature (e.g., per 21 CFR part 11.50 (a)(3)). |  |
| RP-100075 | Lesion unmeasurable | A lesion is unmeasureable without a specified reason | E.g., may be too diffuse. |
| RP-100076 | Source measurement changed |  | E.g., the derived SLD changed because one of the lesion LDs changed. |
| RP-100081 | Worklist Task UID | A unique identifier for each worklist task |  |
| RP-100082 | Worklist Sub-task UID | A unique identifier for each worklist sub-task |  |
| RP-100083 | Version | The version identifier assigned by a manufacturer, author or organization to a specific entity, e.g., a software application, algorithm, set of rules, configuration, etc. |  |
| RP-100084 | Application Name | The name assigned by a manufacturer to a specific software application (e.g., a plug-in). |  |
| RP-100085 | Algorithm Type | The family (class) to which an algorithm belongs. |  |
| RP-100086 | Business Rule Set Name | The name assigned by a manufacturer, author or organization to a set of business rules that dictate application behavior at various trigger points. |  |
| RP-100087 | Segmentation algorithm | A type of algorithm that performs segmentation of an image. |  |
| RP-100088 | Registration algorithm | A type of algorithm that performs registration between sets of images. |  |
| RP-100089 | Propagation algorithm | A type of algorithm that performs propagation of locations between sets of images. |  |
| RP-100090 | Completed | A flag indicating whether or not an entity has been “completed” within some application-specific context (e.g., if a time point, or lesions in a time point, have been “completed” (i.e., “locked”)). This may indicate that any subsequent changes need to be detected and recorded in an audit trail. |  |
| RP-100100 | Region Raster | Purpose of reference for an IMAGE content item that references a Segmentation Instance that encodes a raster of the voxels defining the region of a finding or feature | Purpose of Reference for content item of value type IMAGE |
| RP-100102 | Image Sub-region |  |  |
| RP-100103 | Line Segment | A single straight line segment defined by two end-points. |  |
| RP-100104 | Biorthogonal Line Segments | Two straight line segments perpendicular to each other, each defined by two end-points. |  |
| RP-100105 | Angle | The angle between two lines defined by two line segments. |  |
| RP-100106 | Text Annotation | A graphic annotation consisting of a text message that is applied to a location on an image. |  |
| RP-100107 | Standardized Uptake Value body weight |  |  |
| RP-100108 | Standardized Uptake Value lean body mass |  |  |
| RP-100109 | Standardized Uptake Value body surface area |  |  |
| RP-100110 | Tumor to background ratio |  |  |
| RP-100111 | Measurements Derived From Other Measurements | A measurement that is computed from other lesions, regions, or measurement |  |
| RP-100112 | Source Measurement Object UID | The UID of a measurement object that is used as the source for a measurement derived from other measurements. |  |
| RP-100120 | Angle Line Segment | A line segment is one of two that defines an angle. |  |
| RP-100121 | 3D Geometric Object | The cross section that defines a 3D geometric object. |  |
| RP-100122 | First Extent of 3D Geometric Object | One extent of the normal to the cross section of a 3D geometric object. |  |
| RP-100123 | Second Extent of 3D Geometric Object | A second extent of the normal to the cross section of a 3D geometric object. |  |
| RP-100124 | Ellipsoid |  |  |
| RP-100125 | Sphere |  |  |
| RP-100126 | Circular cylinder |  |  |
| RP-100127 | Elliptical cylinder |  |  |
| RP-100128 | 3D Geometric Object Type |  |  |
| RP-100130 | Lesion segmentation cannot be performed |  |  |
| RP-100131 | Attenuation Correction map not available |  |  |
| RP-100132 | Attenuation Correction map technically limited |  |  |
| RP-100133 | Poor count statistics |  |  |
| RP-100134 | Not distinguishable from normal physiologic activity |  |  |
| RP-100135 | Parameter(s) required for SUV calculation not provided |  |  |
| RP-100140 | Product of Short and Long Axes | The product of the short and long diameters of a biorthogonal measurement. | This is the area of a rectangle enclosing the biorthogonal measurement, |
| RP-100141 | Product of Short and Long and Normal Axes | The product of the short and long and normal diameters of a triorthogonal measurement. | This is the area of a cuboid enclosing the biorthogonal measurement, |
| RP-100142 | Sum of the Longest Diameters (SLD) | The sum of the long diameters of all the target lesions in a time point. |  |
| RP-100143 | Sum of the Product of the Short and Long Diameters (SPD) | The sum of the product of the short and long diameters of the biorthogonal measurements of all the target lesions in a time point. |  |
| RP-100144 | Change in Sum of the Longest Diameters (SLD) from Nadir | The relative change in the SLD from the time point with the least amount of disease (nadir) to the current time point. |  |
| RP-100145 | Change in Sum of the Product of the Short and Long Diameters (SPD) from Nadir | The relative change in the SPD from the time point with the least amount of disease (nadir) to the current time point. |  |
| RP-100146 | Change in Sum of the Longest Diameters (SLD) from Baseline | The relative change in the SLD from the baseline time point to the current time point. |  |
| RP-100147 | Change in Sum of the Product of the Short and Long Diameters (SPD) from Baseline | The relative change in the SPD from the baseline time point to the current time point. |  |
| RP-100150 | Discarded | Whether or not an object (such as a lesion or measurement) that has previously been observed has been discarded (e.g., because it was subsequently found to be a normal anatomic finding rather than a lesion). |  |
| RP-100210 | Worklist Task Type | The type of worklist task. E.g., the type of read, such as a “sequential read” or an “adjudication”. |  |
| RP-100211 | Worklist Task Category | The category of a worklist task. E.g., whether or not a “sequential read” is “locked”, or a “substitute read”. |  |
| RP-100212 | Worklist Task Level | The level of the task with respect to adjudication of multiple task performers’ work. | E.g., original, level 1 adjudication (comparison), level 2 adjudication (reject and repeat). |
| RP-100213 | Perform initial task | The task level is that of performance of the original task. | E.g., to perform the primary read. |
| RP-100214 | Perform comparison | The task level is that of comparing the work performed by other performers. | E.g., to compare two readers’ results. |
| RP-100215 | Repeat rejected task | The task level is that of repeating the work of other performers that was rejected. | E.g., all previous readers’ results were rejected during adjudication, and the adjudicator re-reads. |
| RP-100220 | Sequential Locked Read | A task in which the performer will see the assigned time points in sequence and the measurements will be locked (can not be altered except with appropriate permissions and with an entered change reason). |  |
| RP-100221 | Sequential Unlocked Read | A task in which the performer will see the assigned time points in sequence and the measurements will be unlocked (can alter measurement anytime without entering a change reason). |  |
| RP-100222 | Non-sequential Unlocked Read | A task in which the performer will see all the time points together and measurements will be unlocked (can alter measurement anytime without entering a change reason). |  |
| RP-100230 | Supplemental Read | A task in which an initial read has previously been completed for the time point and additional information has been received for the completed time point that requires that it be re-read. |  |
| RP-100231 | Repeat Read | A task in which an initial read has previously been completed for the time point and the same time point needs to be re-read without a specified reason. |  |
| RP-100232 | Worklist Task Repeat Type | The reason why a task (read) is to be repeated for a previously completed time point |  |
| RP-100233 | Worklist Task Variability Type | The type of variability within or between performers that is being evaluated by a task. |  |
| RP-100234 | Intraobserver variability | The purpose of the task is to evaluate variability in the results of the same performer on different occasions. | This concept is present in MeSH, but that is not a formally recognized coding scheme in DICOM and no form of code defined. |
| RP-100235 | Interobserver variability | The purpose of the task is to evaluate variability in the results of the different performers. | This concept is present in MeSH, but that is not a formally recognized coding scheme in DICOM and no form of code defined. |
| RP-100270 | PMD - Progressive metabolic disease | An increase in SUV of greater than 25% within the lesion defined on the baseline scan, visible increase in the extent of uptake (20% in the longest dimension) or the appearance of new uptake in metastatic lesions. | As per “Measurement of Clinical and Subclinical Tumour Response Using [18F]-¯uorodeoxyglucose and Positron Emission Tomography: Review and 1999 EORTC Recommendations” in Eur J Cancer, Vol. 35, No. 13, pp. 1773±1782, 1999. |
| RP-100271 | SMD - Stable metabolic disease | An increase in tumor SUV of less than 25% or a decrease of less than 15% and no visible increase in extent of uptake (20% in the longest dimension). |  |
| RP-100272 | PMR - Partial metabolic response | Reduction of a minimum of 15±25% in SUV after one cycle of chemotherapy, and greater than 25% after more than one treatment cycle. |  |
| RP-100273 | CMR - Complete metabolic response | Complete resolution of uptake within the lesion volume so that it was indistinguishable from surrounding normal tissue. |  |
| RP-100277 | Observation Scope | The scope to which an observation applies. | E.g., whether an adjudication observation applies to one time point or a time point and all its predecessors. |
| RP-100278 | Current TimePoint |  |  |
| RP-100279 | Current and all previous TimePoints |  |  |
| RP-100280 | Adjudication Observation | The result of comparison of two or more performers’ results. |  |
| RP-100281 | Observers Accepted | Which observers were chosen from the choices available. |  |
| RP-100282 | Observers Rejected | Which observers were chosen from the choices available. |  |
| RP-100283 | Reason for Choice | The reason for a choice. | E.g., of one observer over others during a comparison (adjudication) of results. |
| RP-100284 | Reason for Discordance | The reason why two or more sets of observations are not in agreement | E.g., if two reader’s results differ during a comparison (adjudication). |
| RP-100285 | Unequivocal Progression | Progression is unequivocal when measurement is required but unable to measure |  |
| RP-100286 | Adjudication Choice Impacted by Image Quality | One of the reasons why two or more sets of observations are not in agreement is the quality of the images. |  |
| RP-100290 | Justifiable Difference in Lesion Selection |  |  |
| RP-100291 | Incorrect lesion selection |  |  |
| RP-100292 | Justifiable Difference in Number of Target Lesions Identified at Baseline |  |  |
| RP-100293 | Incorrect Number of Target Lesions Identified at Baseline |  |  |
| RP-100294 | Missing Image Data Led to a Justifiable Difference Between the Readers |  |  |
| RP-100295 | One Reader Did Not Follow the Charter |  |  |
| RP-100296 | Justifiable Perception Difference in Determining New Lesions |  |  |
| RP-100297 | Incorrect Perception Difference in Determining New Lesions |  |  |
| RP-100298 | Justifiable Perception Difference in Determining Progression on the Basis of Non-Target Lesions |  |  |
| RP-100299 | Incorrect Perception Difference in Determining Progression on the Basis of Non-Target Lesions |  |  |
| RP-100300 | Justifiable Perception Difference in Lesion Measurements |  |  |
| RP-100301 | Incorrect Perception Difference in Lesion Measurements |  |  |
| RP-100302 |  |  | Retired |
| RP-100303 |  |  | Retired |
| RP-100304 |  |  | Retired |
| RP-100305 | Justifiable Difference in qualitative lesion assessment |  | PET |
| RP-100306 | Incorrect qualitative lesion assessment |  | PET |
| RP-100307 | Justifiable difference in anatomic correlation of lesion |  | PET |
| RP-100308 | Incorrect anatomic correlation of lesion |  | PET |
| RP-100309 | Justifiable Difference in Lesion Segmentation |  |  |
| RP-100310 | Incorrect Lesion Segmentation |  |  |
| RP-100311 | Arbitrary choice |  |  |
| RP-100312 | Agree with lesion selection |  |  |
| RP-100313 | Agree new disease is unequivocal |  |  |
| RP-100314 | Disagree new disease is unequivocal |  |  |
| RP-100315 | New lesion identified may be an artifact |  |  |
| RP-100316 | New lesion identified may be benign |  |  |
| RP-100317 | New lesion identified may have been present at baseline |  |  |
| RP-100318 | Agree progression of non-target disease is unequivocal |  |  |
| RP-100319 | Disagree progression of non-target disease is unequivocal |  |  |
| RP-100320 | Calibration | Is the entity a calibration object or not. |  |
| RP-100330 | Radiology Read Performed |  |  |
| RP-100331 | Adjudication level 1 Performed |  |  |
| RP-100332 | Adjudication level 2 Performed |  |  |
| RP-100333 | Corrections Performed |  |  |
| RP-100334 | Eligibility Read Performed |  |  |
| RP-100335 | Oncology Read Performed |  |  |
| RP-100336 | PET Read Performed |  |  |
| RP-100337 |  |  | Retired |
| RP-100338 |  |  | Retired |
| RP-100339 |  |  | Retired |
| RP-100340 | Nuclear Medicine Review Performed |  |  |
| RP-100341 | CT + PET Read Performed |  |  |
| RP-100342 | CMO Review Performed |  |  |
| RP-100343 | Read Result Quality Control Performed |  |  |
| RP-100344 | Image Quality Control Performed |  |  |
| RP-100350 | Correction to lesion label |  |  |
| RP-100351 | Recalibration |  |  |
| RP-100401 | Observation UID | A globally unique identifier of an observation. | Each observation has a unique identifier (even if it is the same type of observation of, for example, the same subject at a different time point); when an existing observation is edited, it retains the same UID. |
| RP-100402 | Observation Type | The type of observation. |  |
| RP-100403 | Measurement Object UID | A globally unique identifier of a measurement object. | Measurement objects of the same lesion at a different time point will have different UIDs; when an existing measurement object is edited, it retains the same UID. |
| RP-100410 | Pixel Count | A count of the number of pixels or voxels in a region or sub-region. |  |
| RP-100500 | New Lesion Comment | A comment in a Timepoint Observation that is about New Lesions that are not encoded as Lesion Observations. |  |
| RP-100501 | Non-Target Lesion Comment | A comment in a Timepoint Observation that is about Non-Target Lesions that are not encoded as Lesion Observations. |  |
| RP-100502 | Measurement Object | A region, measurement or annotations made on one or more images for the purpose of defining or describing lesions. |  |
| RP-100503 | Measurement Object Type | The type of measurement object. |  |
| RP-100504 |  |  | Retired |
| RP-100550 | Time Point Sponsor Name | The Time Point name provided by the sponsor. | Hidden from the reader in some protocols. |
| RP-100551 | Time Point Type | Categorizes a time point as whether it is scheduled, unscheduled or follow-up |  |
| RP-100552 | Days from enrollment | Number of days from enrollment - used to determine the relative sequence of time points. | Typically, it is zero for baseline. For some studies, it can have a negative value for “pre-study” time points. |
| RP-100553 | Time Point Order | A number indicating the temporal reading order of the described time point relative to other time points in the same read. |  |
| RP-100600 | Acquisition Date | The date the acquisition of data started that resulted in an image that is used for measurement or response assessment. |  |
| RP-100601 | Acquisition Date Alias | An alias of the date the acquisition of data started that resulted in an image that is used for measurement or response assessment. |  |
| RP-100700 | Registration Used | A reference to the registration object(s) used in the context of an observation. |  |
| RP-100702 | General lesion observations | Observations made about lesions in that are not specific to time point |  |
| RP-100800 | Radiology | A type of worklist that is to perform a Radiology read. |  |
| RP-100801 | Oncology | A type of worklist that is to perform an Oncology read. |  |
| RP-100802 | PET | A type of worklist that is to perform a PET read. |  |
| RP-100803 | Eligibility Radiology | A type of worklist that is to perform a Radiology Eligibility read. |  |
| RP-100804 | Eligibility Oncology | A type of worklist that is to perform an Oncology Eligibility read |  |
| RP-100805 | Eligibility Non-Oncology | A type of worklist that is to perform a Non-Oncology Eligibility read |  |
| RP-100806 | Non-Oncology Photo | A type of worklist that is to perform a Non-Oncology Photo read |  |
| RP-100807 | Radiology/PET | A type of worklist that is to perform a combined Radiology/PET read | E.g., read both the CT and the PET at the same time. |
| RP-100808 | Overall | A type of worklist that is to perform an Overall read |  |
| RP-100809 | Review | A type of worklist that is to perform a Review | Including a CMO Review |
| RP-100810 | RTQA | A type of worklist that is to perform a Radiotherapy Quality Assurance Read. |  |
| RP-100811 | Individual Randomized | A type of worklist that is to perform a Radiology read in which each time point for a subject is read in random order. |  |
| RP-100812 | Comparison Randomized | A type of worklist that is to perform a Radiology read in which pairs of time points to be compared for a subject are read in random order. |  |
| RP-100880 |  |  | Retired |
| RP-100881 | Message Digest | A short piece of information used to detect changes to an object. | Usually constructed using a cryptographic hash function. |
| RP-100882 | Message Digest Algorithm | An algorithm producing a Message Digest. | Usually a cryptographic hash function. |
| RP-100883 | MD5 | The MD5 Message Digest Algorithm. |  |
| RP-100884 | SHA1 | The SHA1 Message Digest Algorithm. |  |
| RP-100885 | RIPEMD160 | The RIPEMD160 Message Digest Algorithm. |  |
| RP-100886 | Message Digest Scope | The scope of object contents included when computing the Message Digest. |  |
| RP-100887 | Entire file | The entire PS 3.10 DICOM File is included as a byte stream. | No attempt is made to normalize or canonicalize the same meaning in different transfer syntaxes, or to exclude the meta-information header or other structural elements like group lengths. |
| RP-100897 | Closed Polygon Type | The type of geometric shape defined by points encoded as a closed polygon. |  |
| RP-100898 | Spline |  |  |
| RP-100899 | Closed Curve Type | The type of curve defined by control points encoded as a closed polygon. |  |
| RP-100900 | PET Radionuclide Incubation Time | The time between the start of injection of the PET radionuclide and the start of acquisition of the PET data. |  |
| RP-100901 | Qualitative Assessment | The qualitative (rather than quantitative) assessment of the state of an entity (such as a lesion) at a single point in time. | This is distinct from a (therapeutic) response assessment, which implies a comparison between states at two time points (e.g., of a lesion between previous and current time point) |
| RP-100902 | Positive PET Finding | A focal or diffuse FDG uptake above background in a location incompatible with normal anatomy/physiology, by visual assessment. | I.e., a qualitative, not quantitative, assessment. As per “Juweid et al. J Clinical Oncology 25”5 2007. Use of Positron Emission Tomography for Response Assessment of Lymphoma: Consensus of the Imaging Subcommittee of International Harmonization Project in Lymphoma”. |
| RP-100903 | Negative PET Finding | Absence of a focal or diffuse FDG uptake above background in a location incompatible with normal anatomy/physiology, by visual assessment. |  |
| RP-100904 | Exam Identifier | The local identifier of an exam, which is a set of images that were acquired for a particular purpose, is a distinct organization from a DICOM Study and a DICOM Series. | One exam may involve multiple Studies or multiple Series, or a single Series may span multiple Exams (e.g., a CT Chest Exam and a CT Abdomen Exam performed as one Series in one Study). |
| RP-100905 | Sestamibi | A procedure using Tc99m MIBI | Not specified as to whether for parathyroid localization, myocardial blood flow or mass malignancy assessment. |
| RP-100906 | Whole Body Composition | A procedure to assess whole body composition using Dual energy X-ray absorptiometry (DXA) |  |
| RP-100920 | Observation Creation DateTime | The date and time that an observation was created |  |
| RP-100921 | Observation Modification DateTime | The date and time that an observation was modified. |  |
| RP-100922 | Additional Observation | A flag to indicate that an observation was added “retrospectively”. | I.e., after the entity about which the observation was made completed (e.g., on reviewing a time point retrospectively, and additional target lesion was added). |
| RP-100923 | Edit Comment | A comment about an edit (addition or change) to an observation. |  |
| RP-100924 | Worklist Sub-task Start DateTime | The date and time that work on the sub-task first started. |  |
| RP-100925 | Worklist Sub-task Closed DateTime | The date and time that work on the sub-task last closed. | Regardless of whether closed as complete or not. |
| RP-100926 | Algorithm UID | A UID of an algorithm |  |
| RP-100927 |  |  | Retired - not to be used. |
| RP-100928 |  |  | Retired - not to be used. |
| RP-100930 | Additional Seed Points Used | During a semi-automated segmentation, additional seed points were added by the user to modify the initial segmentation and the segmentation algorithm was repeated. |  |
| RP-100931 | Outline Manually Edited | After a semi-automated segmentation, the user manually edited the outline iof the segmentation. |  |
| RP-100932 | Initial Segmentation Stroke | The end points of a stroke supplied by the user to initialize segmentation. |  |
| RP-101001 | Region Measurement | A single measurement of an image region or sub-region. |  |
| RP-101002 | Simple Measurement | A single measurement of simple geometric object. |  |
| RP-101003 | Image Region |  |  |
| RP-101004 | Derived Measurement | A measurement derived from other measurements. |  |
| RP-101010 | Creation Information | Information about the creation of an observation |  |
| RP-101011 | Modification Information | Information about the modification of an observation |  |
| RP-101012 | Automation | Whether or not a finding was made manually or automatically. | E.g., an automatically determined biorthogonal measurement from a segmented volume, as opposed to manual placement of location by a human. |
| RP-101013 | Semi-automated | Performed automatically after initialization by a human, and with subsequent review and modification by a human. |  |
| RP-101014 | Observation Addition DateTime | The date and time that an additional observation was created. |  |
| RP-101016 | Triorthogonal Line Segments | Three straight line segments perpendicular to each other, two of which are coplanar with an image plane and defined by two end-points, and the third defined by points on images at the upper and lower extent normal to the image plane. |  |
| RP-101017 | Normal Axis | The length of a line segment in the axis perpendicular to an image plane. | Used in triothogonal measurements together with short axis and long axis. |
| RP-101018 | Pseudo-progression | Apparent progression of disease after treatment caused by an artifact of the treatment. | E.g., size increase caused by edema rather than proliferation of neoplasm. |
| RP-101019 | Baseline fluid collection is present | Whether or not a fluid collection is present at baseline | Regardless of whether it can be determined to be benign or malignant |
| RP-101020 | Baseline fluid collection has increased | Whether or not a fluid collection that was present at baseline has increased or not. | Regardless of whether it can be determined to be benign or malignant |
| RP-101021 | New fluid collection is present | Whether or not a new fluid collection is present on a post-baseline time point that was not present at baseline. | Regardless of whether it can be determined to be benign or malignant |
| RP-101030 | Random Walker 3D | A semi-automated 3D segmentation technique |  |
| RP-101031 | Designator | Performing role that involves designating lesions for others to measure or interpret. |  |
| RP-101032 | Adjudicator Repeating Read | Performing role that involves an adjudicator who disagreed with all previous readers’ interpretations repeating the read themselves. |  |
| RP-101033 | Quality Control - Images | Performing role that involves reviewing images to evaluate their compliance with quality criteria. |  |
| RP-101034 | Quality Control - Results | Performing role that involves reviewing results to evaluate their compliance with quality criteria. |  |
| RP-101035 | Eligibility Adjudicator | Performing role that involves an adjudicator comparing the work performed by other eligibility readers and accepting or rejecting their eligibility assessments. |  |
| RP-101036 | Adjudicator Repeating Eligibility Read | Performing role that involves an adjudicator who disagreed with all previous eligibility readers’ interpretations repeating the eligibility read themselves. |  |
| RP-101037 | Quality Control - Radiotherapy Plan | Performing role that involves reviewing radiotherapy plans to evaluate their compliance with quality criteria. |  |
| RP-101040 | Radiology Reader | Performing role that involves reading radiology images of any type. | Some protocols involve this role alone, or preceeding those of another role such as a Post-Radiology PET Reader or a Post-Radiology Oncology Reader |
| RP-101041 | Post-Radiology PET Reader | Performing role that involves reading PET images after a preceeding read of other radiology images has been performed. |  |
| RP-101042 | Oncology Reader | Performing role that involves reading oncology data of any type. | May include skin lesion photographs of tumors (contrast with Photography Reader) |
| RP-101043 | Post-Radiology Oncology Reader | Performing role that involves reading oncology data of any type after a preceeding read of radiology images has been performed. |  |
| RP-101044 | Non-Oncology Photography Reader | Performing role that involves reading photographic images other than for oncology. | E.g., dermatology, diabetic lesions. |
| RP-101045 | Radiology Adjudicator | Performing role that involves an adjudicator comparing the work performed by other radiology readers and accepting or rejecting their results (response assessments). |  |
| RP-101046 | Oncology Adjudicator | Performing role that involves an adjudicator comparing the work performed by other oncology readers and accepting or rejecting their results (response assessments). |  |
| RP-101047 | Adjudicator Repeating Radiology Read | Performing role that involves an adjudicator who disagreed with all previous radiology readers’ interpretations repeating the read themselves. |  |
| RP-101048 | Adjudicator Repeating Oncology Read | Performing role that involves an adjudicator who disagreed with all previous oncology readers’ interpretations repeating the read themselves. |  |
| RP-101049 | Eligibility Radiology Reader | Performing role that involves evaluating radiology images against defined criteria for the purpose of establishing eligibility to be enrolled in a clinical trial. |  |
| RP-101050 | Eligibility Oncology Reader | Performing role that involves evaluating oncology data or images against defined criteria for the purpose of establishing eligibility to be enrolled in a clinical trial. |  |
| RP-101051 | Eligibility Radiology Adjudicator | Performing role that involves an adjudicator comparing the work performed by other eligibility radiology readers and accepting or rejecting their eligibility assessments. |  |
| RP-101052 | Eligibility Oncology Adjudicator | Performing role that involves an adjudicator comparing the work performed by other eligibility oncology readers and accepting or rejecting their eligibility assessments. |  |
| RP-101053 | Adjudicator Repeating Eligibility Radiology Read | Performing role that involves an adjudicator who disagreed with all previous eligibility radiology readers’ interpretations repeating the eligibility read themselves. |  |
| RP-101054 | Adjudicator Repeating Eligibility Oncology Read | Performing role that involves an adjudicator who disagreed with all previous eligibility oncology readers’ interpretations repeating the eligibility read themselves. |  |
| RP-101055 | PET Reader | Performing role that involves reading PET images. |  |
| RP-101056 | PET Adjudicator | Performing role that involves an adjudicator comparing the work performed by other PET readers and accepting or rejecting their results (response assessments). |  |
| RP-101057 | Adjudicator Repeating PET Read | Performing role that involves an adjudicator who disagreed with all previous PET readers’ interpretations repeating the eligibility read themselves. |  |
| RP-101080 | Local Mean | The mean value of voxels within an ROI that includes a designated centroid and a local volume of defined extent. | E.g., an ROI of defined size around the maximum SUV as a centroid and the same sized ROI in the slice above and below. |
| RP-101081 | Local Maximum | The maximum value of voxels within an ROI that includes a designated centroid and a local volume of defined extent. | E.g., an ROI of defined size around the maximum SUV as a centroid and the same sized ROI in the slice above and below. |
| RP-101090 | Input URL | The URL from which the image that is referenced was loaded. Usually a parent directory that is recursively traversed rather than a file-specific path. |  |
| RP-101100 | Protocol Name | The name of the protocol. |  |
| RP-101101 | Protocol UID | The unique identifier of the protocol. |  |
| RP-101102 | Site UID | The unique identifier of the site. |  |
| RP-101103 | Subject UID | The unique identifier of the subject. |  |
| RP-101104 | Enrollment Date | The date the subject was enrolled in the protocol. |  |
| RP-101105 | Randomization Date | The date the subject was randomized in the protocol. |  |
| RP-101106 | First Dose Date | The date of administration of the first dose of treatment. |  |
| RP-101107 | End of Treatment Date | The date that treatment ended. |  |
| RP-101108 | Termination Date | The date that subject participation in the protocol was terminated. |  |
| RP-101109 | Protocol Number | The number of the protocol. |  |

## DICOM SR “Header” ATTRIBUTES

Each DICOM SR Instance consists of a “header” that contains attributes that describe the instance (i.e., “meta-data”), and a “content tree” that encodes the instantiation of the SR Templates.

This section replicates the Comprehensive SR IOD from DICOM PS 3.3, together with all of the Modules included by that IOD, with a description of what values shall be used for each Attribute and where their values shall be obtained from or how they shall be derived.

Where Modules or Attributes are not used, this is either indicated explicitly or by omission.

### Comprehensive SR IOD Module Table

COMPREHENSIVE SR IOD MODULES

| IE | Module | Reference | DICOM Usage | Presence of Module |
| --- | --- | --- | --- | --- |
| Patient | Patient | C.7.1.1 | M | ALWAYS |
|  | Specimen Identification | C.7.1.2 | C - Required if the Observation Subject is a Specimen | NEVER |
|  | Clinical Trial Subject | C.7.1.3 | U | ALWAYS |
| Study | General Study | C.7.2.1 | M | ALWAYS |
|  | Patient Study | C.7.2.2 | U | NEVER |
|  | Clinical Trial Study | C.7.2.3 | U | ALWAYS |
| Series | SR Document Series | C.17.1 | M | ALWAYS |
|  | Clinical Trial Series | C.7.3.2 | U | ALWAYS |
| Frame of Reference | Frame of Reference | C.7.4.1 | U | NEVER |
|  | Synchronization | C.7.4.2 | U | NEVER |
| Equipment | General Equipment | C.7.5.1 | M | ALWAYS |
| Document | SR Document General | C.17.2 | M | ALWAYS |
|  | SR Document Content | C.17.3 | M | ALWAYS |
|  | SOP Common | C.12.1 | M | ALWAYS |

### Patient Module

PATIENT MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Value and Source |
| --- | --- | --- | --- |
| Patient's Name | (0010,0010) | 2 | Shall not be empty. Subject identifier from worklist. Notes: 1. This is the same as in the DICOM images used in the read, all of which should have the same value. 2. By convention, the Patient’s Name (0010,0010) and the Patient ID (0010,0020) have the same vaue for de-identified subjects. If no worklist, shall be copied from the Patient’s Name (0010,0010) in one of the images. |
| Patient ID | (0010,0020) | 2 | Subject ID from worklist. Shall be the same as Clinical Trial Subject ID (0012,0040). Notes: This is the same as in the DICOM images used in the read, all of which should have the same value. If no worklist, shall be copied from the Patient ID (0010,0020) in one of the images. |
| Patient's Birth Date | (0010,0030) | 2 | Zero length value (empty). |
| Patient's Sex | (0010,0040) | 2 | Zero length value (empty). |

No other Attributes of this Module shall be present.

#### Clinical Trial Subject Module

CLINICAL TRIAL SUBJECT MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Value and Source |
| --- | --- | --- | --- |
| Clinical Trial Sponsor Name | (0012,0010) | 1 | Protocol Sponsor Name from worklist. If no worklist, shall be “RadPharm, Inc.”. |
| Clinical Trial Protocol ID | (0012,0020) | 1 | Protocol ID from worklist. If no worklist, shall be “0000”. |
| Clinical Trial Protocol Name | (0012,0021) | 2 | Zero length value (empty). See Row 1 in TID RPH_0002c instead. |
| Clinical Trial Site ID | (0012,0030) | 2 | Shall not be empty. SiteID from worklist. If no worklist, shall be “0000”. |
| Clinical Trial Site Name | (0012,0031) | 2 | Zero length value (empty). |
| Clinical Trial Subject ID | (0012,0040) | 1C | Shall not be empty. Shall be the same as Patient ID (0010,0020). Subject ID from worklist. If no worklist, shall be copied from the Patient ID (0010,0020) in one of the images. |
| Clinical Trial Subject Reading ID | (0012,0042) | 1C | Subject ID from worklist. If no worklist, shall be Zero length value (empty). Note: Historically, there has been variation in the form of the subject identifier used; sometimes it includes the clinical site and sometimes it does not. Likewise, sponsors vary in the form of the identifier used in communications. |

No other Attributes of this Module shall be present.

#### General Study Module

GENERAL STUDY MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Value and Source |
| --- | --- | --- | --- |
| Study Instance UID | (0020,000D) | 1 | Each Sub-Task is its own new DICOM Study, and hence the Study Instance UID will be generated the first time a Sub-Task is started. Successive incomplete and the final complete and any later edited SR instances for the same Sub-Task shall be in the same Study (e.g., can be copied from the previous SR instance for the same sub-task when it is re-loaded). |
| Study Date | (0008,0020) | 2 | The date of the Timepoint for the Sub-Task (if there is only one), or the most recent Timepoint for the Sub-Task (if there is more than one, such as in an unlocked read). Since time points do not have a single “date” per se (not in the worklist), the Study Date of the first (earliest) image Study in the most recent time point shall be used. If no worklist, and time point information is present in the image headers, the Study Date of the first (earliest) image Study in the most recent time point shall be used. If no worklist, and no time point information is present in the image headers, the Study Date of the first (earliest) image Study loaded shall be used. If no value available from the image headers, shall be zero length. |
| Study Time | (0008,0030) | 2 | A fixed value of “000000”. |
| Referring Physician's Name | (0008,0090) | 2 | Zero length value (empty). |
| Study ID | (0020,0010) | 2 | The same value as used for the Study Date (0008,0020) (which may be zero length if no value available from the image headers). |
| Accession Number | (0008,0050) | 2 | Zero length value (empty). |
| Study Description | (0008,1030) | 3 | The text value of the Worklist Sub-task Title. If no worklist, shall be zero length (empty). |
| Name of Physician(s) Reading Study | (0008,1060) | 3 | Shall be absent - the user identifiers are conveyed in other attributes and content items. |

No other Attributes of this Module shall be present.

#### Clinical Trial Study Module

CLINICAL TRIAL STUDY MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Value and Source |
| --- | --- | --- | --- |
| Clinical Trial Time Point ID | (0012,0050) | 2 | Subject Time Point UID from the worklist of the single Time Point in the Study, or the most recent Time Point in the Study if more than one. If no worklist, shall be zero length (empty). |
| Clinical Trial Time Point Description | (0012,0051) | 3 | Time Point Label from the worklist of the single Time Point in the Study, or the most recent Time Point in the Study if more than one. If no worklist, shall be zero length (empty). |

No other Attributes of this Module shall be present.

#### Clinical Trial Series Module

CLINICAL TRIAL SERIES MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Value and Source |
| --- | --- | --- | --- |
| Clinical Trial Coordinating Center Name | (0012,0060) | 2 | Shall be zero length. |
| Clinical Trial Series ID | (0012,0071) | 3 | Shall be absent. |
| Clinical Trial Series Description | (0012,0072) | 3 | Shall be absent. |

No other Attributes of this Module shall be present.

### SR Document Series Module

SR DOCUMENT SERIES MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Value and Source |
| --- | --- | --- | --- |
| Modality | (0008,0060) | 1 | Shall be “SR” |
| Series Instance UID | (0020,000E) | 1 | Each opening and re-opening of a Sub-Task is its own new DICOM Series, and hence the Series Instance UID will be generated at Sub-Task opening time. Successive incomplete and the final complete and any later edited SR instances for the same Sub-Task will be in different Series (since the work may be done on different equipment (workstations) and the DICOM rule is that different equipment must produce different series.). |
| Series Number | (0020,0011) | 1 | Shall be 1 for the 1st opening of a sub-task, and incremented by one in instances for successive opening of the same sub-task. I.e., the instance corresponding to the latest sub-task opening will have the highest number. If no worklist, and previous SR instances exist, shall be incremented by for each new SR saved. |
| Series Date | (0008,0021) | 3 | The Date in UTC the Sub-Task was opened, or if no worklist, the images were loaded. |
| Series Time | (0008,0031) | 3 | The Time in UTC the Sub-Task was opened, or if no worklist, the images were loaded. |
| Series Description | (0008,103E) | 3 | If the sub-task is completed, the string “Completed”, if the sub-task is not completed, the string “Incomplete”, if the sub-task has been edited after completion, the string “Completed [Edited]”. |
| Referenced Performed Procedure Step Sequence | (0008,1111) | 2 | Shall be an empty (zero length) sequence. |

No other Attributes of this Module shall be present.

#### General Equipment Module

GENERAL EQUIPMENT MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Value and Source |
| --- | --- | --- | --- |
| Manufacturer | (0008,0070) | 2 | Shall be the manufacturer of the software (e.g., “Siemens Corporate Research”). |
| Institution Name | (0008,0080) | 3 | Shall be “RadPharm, Inc.” |
| Institution Address | (0008,0081) | 3 | Shall be absent. |
| Station Name | (0008,1010) | 3 | Shall be the host name of the device obtained from the operating system. |
| Institutional Department Name | (0008,1040) | 3 | Shall be absent. |
| Manufacturer's Model Name | (0008,1090) | 3 | Shall be the software manufacturer’s model name (“DIRS2”). |
| Device Serial Number | (0018,1000) | 3 | Shall be some identifier corresponding to the instance of the software being used (e.g. license number or similar). |
| Software Versions | (0018,1020) | 3 | Shall be the software version of the installed instance of the software (and distinct from any other version; i.e., shall change if the software changes). |
| Pixel Padding Value | (0028,0120) | 1C | Shall be absent. |

No other Attributes of this Module shall be present.

### SR Document General Module

SR DOCUMENT GENERAL MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Value and Source |
| --- | --- | --- | --- |
| Instance Number | (0020,0013) | 1 | Shall always be “1”. |
| Completion Flag | (0040,A491) | 1 | Shall be “PARTIAL” if the sub-task is closed as incomplete, and “COMPLETE” if the sub-task is closed as complete. |
| Completion Flag Description | (0040,A492) | 3 | Shall be absent. |
| Verification Flag | (0040,A493) | 1 | Shall be “UNVERIFIED” if the sub-task is closed as incomplete, or is closed as complete but not signed. Shall be “VERIFIED” if the sub-task is closed as complete and signed. |
| Content Date | (0008,0023) | 1 | The date in UTC on which the current sub-task was opened most recently (may not be the first time the sub-task was opened, i.e., it was started, if the sub-task was previously closed as incomplete), or if no worklist, the images were loaded. |
| Content Time | (0008,0033) | 1 | The time in UTC at which the current sub-task was opened most recently (may not be the first time the sub-task was opened, i.e., it was started, if the sub-task was previously closed as incomplete), or if no worklist, the images were loaded. |
| Verifying Observer Sequence | (0040,A073) | 1C | Shall be present if Verification Flag (0040,A493) is VERIFIED. |
| >Verifying Observer Name | (0040,A075) | 1 | Shall be the full name (not user id) of the user. |
| >Verifying Observer Identification Code Sequence | (0040,A088) | 2 | Shall be present, with the userid as the Code Value, the full name as the Code Meaning, and the Coding Scheme Designator of “99RPH_USERS”. |
| >>Include 'Code Sequence Macro' Table 8.8-1 | No Baseline Context ID defined. |
| >Verifying Organization | (0040,A027) | 1 | Shall be “RadPharm, Inc.”. |
| >Verification DateTime | (0040,A030) | 1 | Shall be the UTC date and time that the Sub-Task was signed. |
| Predecessor Documents Sequence | (0040,A360) | 1C | Shall be present and reference the SOP Instance UID of a single immediate predecessor document that was either an incomplete document that has been updated in the current Sub-task (though not necessarily completed), or a complete document that has been edited in the current Sub-Task. If this Attribute is present, exactly one Item shall be present. Note: The chain of successive incomplete and/or edited documents can be followed backwards by examining this attribute in the most recent document. |
| >Include ' Hierarchical SOP Instance Reference Macro' Table C.17-3 |
| Identical Documents Sequence | (0040,A525) | 1C | Shall be absent. |
| >Include ' Hierarchical SOP Instance Reference Macro' Table C.17-3 |
| Referenced Request Sequence | (0040,A370) | 1C | Shall be absent. |
| Performed Procedure Code Sequence | (0040,A372) | 2 | Shall be an empty Sequence. |
| >Include 'Code Sequence Macro' Table 8.8-1 | No Baseline Context ID Number is specified. |
| Current Requested Procedure Evidence Sequence | (0040,A375) | 1C | Shall list all of the SOP Instances that are referenced in the content tree (i.e., those on which measurements are made, and not all SOP Instances that were used during the read). |
| >Include ' Hierarchical SOP Instance Reference Macro' Table C.17-3 |
| Pertinent Other Evidence Sequence | (0040,A385) | 1C | Shall be absent. |
| Referenced Instance Sequence | (0008,114A) | 1C | Shall be absent. |

No other Attributes of this Module shall be present.

### SR Document Content Module

The SR Document Content Module is not described in detail here, since its contents depend entirely on the templates used.

There is no requirement that Observation DateTime (0040,A032) Attribute within the Document Relationship macro be used, since its purpose is subsumed in a more specific manner by content items in the TID RPH_0020 Audit Trail Entry template.

The Container Macro, which is used from within the Document Content Macro is described here for two reasons:

- There is a requirement that for the top level container (i.e., the first row of the root template TID RPH_0001), that the Template Sequence (0040,a504) shall be present (see also Templates section).

- The use of the Continuity of Content Attribute is constained to be SEPARATE (and not CONTINUOUS).

### Container Macro

CONTAINER MACRO ATTRIBUTES

| Attribute Name | Tag | Type | Attribute Description |
| --- | --- | --- | --- |
| Continuity of Content | (0040,A050) | 1 | Shall be “SEPARATE”. |
| Content Template Sequence | (0040,A504) | 1C | Shall be present for the root content item (i.e., in the top level dataset). Shall be absent for all other content items. |
| >Mapping Resource | (0008,0105) | 1 | Shall be “99RPH”. |
| >Template Identifier | (0040,DB00) | 1 | Shall be “RPH_0001”. |

### C.12.1	SOP Common Module

Table C.12-1
SOP COMMON MODULE ATTRIBUTES

| Attribute Name | Tag | Type | Attribute Description |
| --- | --- | --- | --- |
| SOP Class UID | (0008,0016) | 1 | Shall be the SOP Class UID for “Comprehensive SR Storage SOP Class” (“1.2.840.10008.5.1.4.1.1.88.33”). |
| SOP Instance UID | (0008,0018) | 1 | Shall be uniquely generated for each instance. I.e., when a previous SR Instance for the same Sub-Task is loaded and edited, it shall be saved with a NEW SOP Instance UID (and the previous SOP Instance UID referenced as the single Item in Predecessor Documents Sequence (0040,A360)). |
| Specific Character Set | (0008,0005) | 1C | Shall be “ISO_IR 100” (to indicate all strings are 8 bit Latin 1 character set only, which includes US-ASCII in the lower 7 bits). |
| Instance Creation Date | (0008,0012) | 3 | Shall be the Date in UTC this SOP Instance was created. |
| Instance Creation Time | (0008,0013) | 3 | Shall be the Time in UTC this SOP Instance was created. |
| Instance Creator UID | (0008,0014) | 3 | Shall be a UID of the instance of the software being used (unique to the station and version). |
| Timezone Offset From UTC | (0008,0201) | 3 | Shall be “+0000”, to indicate that all DA and TM Attributes present in this SOP Instance are in UTC, and not local time. |

No other Attributes of this Module shall be present.