## Slide 1: QIBA AM Meeting Agenda
General Meeting Welcome and Logistics
  Linda Bresolin and Fiona Miller
Current Status of QIBA

## Slide 2
Edward F. Jackson, PhD
Chair, RSNA QIBA
Professor and Chair, Department of Medical Physics
Professor of Radiology and Human Oncology
QIBA Current Status
QIBA AM – June 12, 2019

## Slide 3
QIBA Steering Committee
Jackson / Guimaraes
CT Coordinating Cmte
Jarecha, Siegelman, Lynch
CT Volumetry Biomarker Cmte
Jarecha, Samei, Siegelman
Lung Density Biomarker Cmte
Lynch, Fain, Fuld
NM Coordinating Cmte
Wahl, Mozley, Smith
FDG-PET Biomarker Cmte
Sunderland, Subramaniam, Wollenweber
PET-Amyloid Biomarker Cmte
Smith, Minoshima, Matthews
MR Coordinating Cmte
Rosen, Zahlmann, Elsinger
fMRI Biomarker Cmte
Pillai, Mohamed, Soltysik
US Coordinating Cmte
Hall, Garra
US SWS Biomarker Cmte
Hall, Garra, Milkowski
Process Cmte
O’Donnell, Sullivan
DW-MRI Biomarker Cmte
Boss, Chenevert
DCE-MRI Biomarker Cmte
Laue, Chung
DSC-MRI Biomarker Cmte
Erickson, Wu
Volumetry Algorithm Challenge TF
Athelogou
Airway Measurement TF
Fain
Tc-99m Body: Oncology & Immunology Biomarker Cmte
Dewaraja, Miyaoka
Small Lung Nodule Biomarker Cmte
Gierada, Mulshine, Armato
QIBA/fNIH FDA Biomarker Qualification Partnership
QIBA/fNIH FDA Biomarker Qualification Partnership
QIDW Oversight Cmte
Erickson
MRE Biomarker Cmte
Cole, Ehman
fMRI Bias TF
Voyvodic
Proton Density Fat Fraction Biomarker Cmte
Reeder, Yokoo
Ioflupane / I-123 Brain / Neuropsych Biomaker Cmte
Seibyl, Dickson
US Volume Flow Biomarker Cmte Fowlkes, Kripfgans, Jago
Contrast-Enhanced US Biomarker Cmte Averkiou, Barr, Erpelding
ASL Biomarker Cmte (w/EIBALL) Golay, Achten, Guenther
Sustainability Task Force TBD
MSK Biomarker Cmte Link, Li
MRE Profile-Writing TF
Cole, Ehman
CT Angiography Biomarker Cmte
Buckler, Saba, Schoepf
Scientific Liaisons:
CT: Andrew Buckler
MR: Thomas Chenevert
NM: Paul Kinahan
US: Paul Carson
External Relations Liaison:
Daniel Sullivan
Statistician:
Nancy Obuchowski
14-August-2018
Representation from:
Academic radiology
Imaging science
Equipment industry
Software industry
Pharmaceutical industry
Imaging CROs
Regulatory (FDA)
Standards (NIST/MITA)
Statistics
19 Biomarker Committees
4 Task Forces (TFs)
Suspended
DTI Task Force
Schneider, Provenzale

## Slide 4: QIBA Deliverables (1)
Imaging Metrology – Consistent with International Vocabulary of Metrology (VIM)
  Five manuscripts in Statistical Methods for Medical Research (2015)*
  One manuscript in Radiology (Sullivan, et al. 2015)*
  One manuscript in Journal of the National Cancer Institute**
  Robust statistical framework for:
    Development of cross-sectional and longitudinal claims
    Conformance assessment with profile specifications
    Study design for clinical trials using QI biomarkers
  Developing statistical framework for:
    Multi-parametric measurands (needed for radiomics and other applications where a single measurand is inappropriate or insufficient)
*Available at www.rsna.org/qiba
** Obuchowski, et al. Statistical Considerations for Planning Clinical Trials with Quantitative Imaging Biomarkers, 2019

## Slide 5: QIBA Deliverables (2)
Profiles (20 total; 5 CT, 3 NM, 9 MR, 3 US*)
*As of 4/26/2019

## Slide 6: Current Profile Status (As of 4/8/2019)
20 Profiles (5 CT, 3 NM, 9 MR with 1 on hold, 3 US)
Technically Confirmed Stage:
  NM: FDG-PET/CT SUV as an Imaging Biomarker for Measuring Response to Cancer Therapy
  CT: Tumor Volume Change for Advanced Disease
Publicly Reviewed (Consensus) Stage:
  CT: Lung Nodule Volume Assessment & Monitoring in Low Dose CT Screening Quantification
  NM: Quantifying Dopamine Transporters with 123Iodine-labeled Ioflupane in Neurodegenerative Disease (SPECT)
  NM: 18F-labeled PET Tracers Targeting Amyloid as an Imaging Biomarker
  MR: MR Elastography of the Liver
  MR: DCE-MRI Quantification (v1.0) for tumor response
In Public Comment and Resolution Stage:
  MR: DW-MRI for tumor response
  MR: fMRI for pre-surgical planning
  CT: Atherosclerosis biomarkers assessment
For details: qibawiki.rsna.org

## Slide 7: Current Profile Status (As of 4/8/2019)
In Final Stage of Development for Public Comment Release:
  CT: Lung densitometry for COPD
  US: Ultrasound shear wave speed for liver fibrosis
  MR: Proton density fat fraction (PDFF) for liver disease
In Earlier Stages of Development:
  CT: Tumor volume change for liver lesions
  MR: Dynamic susceptibility contrast (DSC)-MRI for perfusion assessment in brain
  MR: Diffusion tensor imaging (DTI) for traumatic brain injury (currently on hold)
  MR: Revised DCE-MRI to address 3T and parallel imaging
  MR: T2 and T1r MSK MR for degenerative joint disease
  US: Contrast-enhanced ultrasound (CEUS) for perfusion studies
  US: Ultrasound volume flow for perfusion studies – collaboration with AIUM
  MR: Arterial spin labeling (ASL) MR – collaboration with ESR EIBALL
For details: qibawiki.rsna.org

## Slide 8: Profile Stages
Stage Name | Stage Meaning | Stage Criteria
Stage 1 Draft for Public Comment | Biomarker Committee experts have drafted the profile, believe it is practical, and expect it to achieve the claimed performance. | Open issues clearly listed Some groundwork may be ongoing Actor requirements clear & justified Statistical review of profile complete
Stage 2 Consensus | Wide community stakeholder input received and addressed with regard to practicality and expectation of achieving the claimed performance. | Public comments addressed Open issues mostly resolved Recommended procedures tested using groundwork projects
Stage 3 Technically Confirmed | Several sites have implemented the profile, found it to be practical, and expect it to achieve claimed performance. | Procedures implemented at multiple test sites using equipment from multiple vendors Conformance assessment procedures defined
Stage 4 Claim Confirmed | A limited number of sites have implemented the profile and found it achieved the claimed performance | Performance measured at test site Profile Claims achieved at limited number of sites / vendors (≥2 each)
Stage 5 Clinically Confirmed | The profile has been implemented in multiple sites and achieves the claimed performance | Profile Claims achieved in clinical use at multiple sites

## Slide 9: QIBA Deliverables (3)
Phantoms and Analysis Software
NIST-Traceable ADC Phantom
Portal venous phase
Arterial phase
Two-Phase Liver CT Volumetric Phantom
CT Digital Reference Object
Liver
Lung
Kidney
FDG-PET Digital Reference Object
Ktrans
ve
vp
DCE-MRI Digital Reference Object
DCE Digital Reference Object
Ve ===>
Ktrans ===>

## Slide 10: QIBA Phantoms & Datasets
Physical Phantoms (with NIST and FDA)
  Volumetric CT Liver Phantom (arterial/portal venous phase)
  DCE-MRI Phantom and analysis software
  DWI ADC Phantom and analysis software
  DSC-MRI Phantom
  Shear Wave Speed Phantoms (varying viscoelastic properties) – for both US SWS and MRE
Digital Reference Objects (Synthetic Phantoms)
  Volumetric CT DRO (Liver, Lung, Kidney)
  DCE-MRI DRO (T1 mapping and Ktrans, ve) and analysis software
  DWI ADC DRO
  DSC-MRI DRO
  fMRI DROs (motor and language mapping)
  PET SUV DRO
  SPECT DRO (123I dopamine transporter, DaTscan/Ioflupane)
Notes: Physical phantoms (N=5): Conformance assessment and ongoing QC for acquisition devices
DROs (N=7): Conformance assessment and ongoing QC for analysis software

## Slide 11: QIBA Phantoms & Datasets
Datasets on QIDW (qidw.rsna.org)
  DROs
  Example physical phantom test data
  Software for analyses of DRO and physical phantom data
  Conformance testing datasets for select Profiles, e.g., CT Volumetry for Advanced Disease
Notes: Physical phantoms (N=5): Conformance assessment and ongoing QC for acquisition devices
DROs (N=7): Conformance assessment and ongoing QC for analysis software

## Slide 12: Adoption of QIBA Products / Concepts
QIBA Profiles adopted in whole or in part in clinical trials (pharma and cooperative trial groups)
Adoption and marketing of “QIBA compliance” by some imaging core labs and software companies
Internationalization of QIBA:
  Active participation from individuals in South America, Europe, and Asia
  EORTC / IMI- and Brazil-QIBA collaborations (MR DWI)
  European Society of Radiology European Imaging Biomarker Alliance (EIBALL)
    First formal QIBA/EIBALL collaboration: MR Arterial Spin Labeling (ASL) Task Force
  Japan Radiological Society (Japan-QIBA)
    Mirrored QIBA structure
    Translation of PET/CT SUV Profile
Prevent Cancer Foundation International Community Grants

## Slide 13: FDA Guidance – Clinical Trial Imaging

## Slide 14: FDA Guidance re: QI

## Slide 15: Challenges & Opportunities
Maintaining Momentum => Timely release of deliverables
  Development and release of profiles in a timely manner, i.e., relevance
  Maintain focus on “industrializing QIBs” vs. academic desire for “perfecting QIBs”
  Groundwork project funding for addressing gaps and advancing stage of profiles
Feasibility Testing and Conformance Processes
  Availability of required phantoms, analysis software, and data sets (w/meta data)
  Well-defined feasibility test procedures (parameter space and pass criteria) => “check lists”
  QIDW population of appropriate DROs and data sets, as well as cloud-based analytics, to facilitate conformance validation

## Slide 16: Challenges & Opportunities
Field Testing of Profiles
  Realistic goal(s) of field testing of a Technically Confirmed Profile => Claim Confirmed
  Identification of opportunities for collaborations, e.g., ECOG-ACRIN, Alliance, NRG, etc.
Sustainability
  Groundwork projects, profiles, conformance processes, and imaging metrology deliverables
  Diversification of revenue sources beyond RSNA, e.g., pharma
  Partnership with ACR or other accreditation / certification bodies
  Potential development of QIBA “business arm”

## Slide 17: QIBA AM Meeting Agenda
Plenary Session 1: Multiparametric QI Biomarker Measures
  Nancy Obuchowski
Panel Discussion 1: Applications of Multiparametric QI Biomarker Measures
  Nancy Obuchowski, Moderator

## Slide 18: QIBA AM Meeting Agenda
Plenary Session 2: The Importance of QI in Data Science and Radiomics Initiatives
  Brad Erickson
Panel Discussion 2: Data Science and Radiomics Initiatives – An Opportunity (and Need) for QIBA Involvement
  Michael Boss, Moderator

## Slide 19: QIBA AM Meeting Agenda
External Liaison Report and International Collaborations Updates – EIBALL and Japan-QIBA
  Dan Sullivan
  Akifumi Hagiwara (Japan-QIBA)
  Nandita deSouza (EIBALL)

## Slide 20: QIBA AM Meeting Agenda
Break and Start of Concurrent Biomarker Committee Sessions
  CT 2nd Floor Conference Room
  MR 3rd Floor Library
  NM 4th Floor Conference Room
  US 1st Floor Executive Conference Room

## Slide 21: QIBA AM Meeting Agenda
Coordinating Committee Updates
  CT
  MR
  NM
  US

## Slide 22: QIBA AM Meeting Agenda
Panel Discussion 3: The Translation of QIBA Processes and Profiles into Clinical Trials
  David Mozley, Moderator

## Slide 23: QIBA AM Meeting Agenda
QIBA Sustainability Implementation Group (SIG) Update
  Prioritized Options for QIBA’s Evolution and Continued Accomplishment of Its Mission

## Slide 24: QIBA AM Meeting Agenda
Profile Conformance Process and Implementation Options
  Kevin O’Donnell, Moderator

## Slide 25: QIBA AM Meeting Agenda
Process Committee Report and Discussion
  Kevin O’Donnell, Chair – QIBA Process Committee