Table of Contents

1. Introduction	2

1.1. Purpose & Scope	2

1.2. Investigators, Collaborators, and Acknowledgements	3

2. Definitions	3

3. Study Design	4

3.1. Participant Procedure	4

3.2. Data Set	5

3.2.1. Import Data to form Reference Data Set	5

3.2.2. Create Ground Truth Annotations and/or Manual Seed Points in Reference Data Set	6

3.3. Algorithms	7

3.4. Analysis	7

3.4.1. Characterizing Performance of Absolute Volume Estimation where Ground Truth is Known	7

3.4.2. Characterizing Performance of Change Estimation in the Absence of Biological Change	9

3.4.3. Characterizing Performance of Change Estimation in the Presence of Biological Change	10

3.5. Results	10

4. References	12

# Introduction

X-ray computed tomography (CT) is often an effective imaging technique for assessing therapy response. In clinical practice, qualitative impressions based on nothing more than visual inspection of the images are frequently sufficient for making some clinical management decisions. Quantification becomes helpful when tumor masses change slowly over the course of illness. Many investigators have suggested that quantifying whole tumor volumes could solve many of the limitations of RECIST’s current dependence of uni-dimensional diameters on axial slices, and have a major impact on patient management., A few studies have shown that volumetry has value. Some reports about the precision,, and accuracy of measurement have led to concerns about the risks of confusing variability with medically meaningful changes.

QIBA has constructed a systematic "process map" to qualifying volumetry as a biomarker of response to treatments for a variety of medical conditions, including lung disease. Several trials are now underway to provide a head-to-head comparison between volumetry and RECIST in multi-site, multi-scanner-vendor settings. The QIBA Profile is expected to provide specifications that may be adopted by users as well as equipment developers to meet targeted levels of accuracy and clinical performance in identified settings, both as a correlation to clinical outcomes as well as a comparison to the accepted measure of uni-dimensional diameters.

One approach to encouraging innovation that has proven productive in many fields is for an organization to announce and administer a public “challenge” whereby a problem statement is given and solutions are solicited from interested parties that “compete” for how well they address the problem statement.  The development of image processing algorithms has benefitted from this approach with many organized activities from a number of groups.  Some of these groups are organized by industry (e.g., Medical Image Computing and Computer Assisted Intervention or MICCAI), academia (e.g., at Cornell University), or government agencies (e.g., NIST).  This workflow is intended to support such challenges.

It is important to note that one of the reasons for doing this 3A study is to meet the need that a biomarker is defined in part by the “class” of tests available for it.  That is, it is not defined by a single test or candidate implementation but rather by an aggregated understanding of the results of such tests.  As such, it is necessary through this or other means to organize activities to determine how the class performs, irrespective of any candidate that purports to be a member of the class.  The corresponding workflow is related to the “Compliance / Proficiency Testing of Candidate Implementations” workflow and it may be that an organization such as NIST can both host challenges as well as serve in the trusted broker role using common infrastructure for these separate but related functions.

In summary, 3A is motivated by the following:

- Changes in malignant nodule volume is important for diagnosis, therapy planning, therapy response evaluation

- Measuring volume changes requires high accuracy in measurement of absolute volume

- Volumes of synthetic nodules may be measured with high accuracy

- Therefore it make sense to use such phantom data (as ground truth) in order to calculate accuracy measurement of algorithms

- The study results could be combined with the QIBA 1A and 1B Group work. This combination will improve the QIBA volumetric CT Profile development.

We will proceed to add reference clinical data sets, e.g., from Volcano, LIDC and other studies, moving forward wherein at least volume change can be measured by these algorithms, even if ground truth is not available (e.g., no pathologic specimen to compare to)

## Purpose & Scope

The primary and first aim of the study is to estimate inter- and intra-algorithm variability by the volume estimation of synthetic nodules from CT scans of an anthropomorphic phantom (according to the work of the QIBA 1A Group. An inter-algorithm study, in the same way QIBA has been working on inter-reader, inter-scanner, and inter-site.  We will also connect the output of this study to the analysis section of QIBA Profile.  The aim of the study is not a measure of which of several algorithms provides the best image analysis..  Rather, the aim of the study is to gain knowledge to improve QIBA Volumetric CT Profiles and to provide context in which multiple parties have incentives to participate, while avoiding competition and supporting cooperation with a conjoint approach.

Scope of the study includes the following types of approaches:

- An automatic segmentation algorithm does not require any user intervention (include detection).

- A semi- automatic algorithm needs minimal amount of input from user, e.g., a seed point to initialize the segmentation, then

  - user allowed to edit

  - user does not edit

## Investigators, Collaborators, and Acknowledgements

Participants will include developers from academia, non-profit organizations, and industrial vendors (for example possible vendors, according to the Volcano 2009 challenge could be: Siemens, Philips, MeVis, Kitware, Definiens, etc.)

# Definitions

- Uncertainty(2)*: A value, associated with the result of a measurement, that characterizes the dispersion of the values that could reasonably be attributed to the measurement, composed of uncertainty from both random and systematic error.  Random error contributes to reliability, whereas systematic error contributes to validity (http://www.ncbi.nlm.nih.gov/pmc/articles/PMC1250265).

  - Bias: A quantitative term describing the difference between the average of measurements made on the same object and its true value. In particular, for a measurement laboratory, bias is the difference (generally unknown) between a laboratory's average value (over time) for a test item and the average that would be achieved by the reference laboratory if it undertook the same measurements on the same test item (http://www.itl.nist.gov/div898/handbook/mpc/section1/mpc113.htm).

- Precision:  Closeness of agreement between indications or measured quantity values obtained by replicate measurements on the same or similar objects under specified conditions (http://www.bipm.org/utils/common/documents/jcgm/JCGM_200_2008.pdf).

- Reliability:  The extent to which an experiment, test, or measuring procedure yields the same results on repeated trials (http://www.ncbi.nlm.nih.gov/pmc/articles/PMC1250265/).

  - Repeatability(2)*: Closeness of the agreement between the results of successive measurements of the same measure and carried out under the same conditions of measurement (http://physics.nist.gov/Pubs/guidelines/appd.1.html).

  - Reproducibility(2)*: Closeness of the agreement between the results of measurements of the same measurand carried out under changed conditions of measurement (http://physics.nist.gov/Pubs/guidelines/appd.1.html).

- Variability: The tendency of the measurement process to produce slightly different measurements on the same test item, where conditions of measurement are either stable or vary over time, temperature, operators, etc. (http://www.itl.nist.gov/div898/handbook/index.htm).

  - Variance: the quantity defined as

where   is the mean of the data,   is number of observations in the sample set. (http://www.itl.nist.gov/div898/handbook/eda/section3/eda356.htm).

  - Bias: see above.

# Study Design

Study objectives (in priority order):

- Results on phantom data, e.g., accuracy and variability, on scans of an anthropomorphic phantom (according to the work of the QIBA 1A Group. (see Dr. Petrick‘s paper, SPIE 2011)

- After an initial pilot study (1 above)  determine results on clinical data, e.g., minimum detectable change and reproducibility

- Effectiveness:

  - MICCAI-like objective criteria of algorithm performance

  - Usability or workflow-effectiveness evaluations (e.g., how many corrections, how fast the algorithm ran (time), etc.

Scope:

- (Pilot phase study) Participant-supervised reads (they are able to train and otherwise prepare readers for the optimal use of the algorithm, as well as have full access to the study data sets and results).

- (Extended study) Trusted broker scenarios:

  - Sequester data and have a black-box wrapped full automated algorithm produce results;

  - Support impartial readers to use participant-defined interfaces to their algorithms (allowing whatever training they recommend beforehand but otherwise not have access to the raw imagery prior to the test).

The QIBA Profile is used to establish targeted levels of performance with means for formal data selection that allows a batch process to be run on data test by a trusted broker that is requested by commercial entities that wish to obtain a certificate of compliance (formal) or simply an assessment of proficiency as measured with respect to the Profile.

## Participant Procedure

The following outlines the procedure to be taken by participants:

- Submit an application to participate to the trusted registrar (non-competing organization) and sign the Participation Agreement

- Download and read the 3A Challenge Protocol as posted to the 3A Wiki.

- Download the 3A Challenge data as described in the Protocol.  This data will be inclusive of a defined development (e.g., training) set for algorithm adjustment and a test set on which the results would be measured.  Data will include images and one seed point per target lesion defined by a non-participant.

- Once the development set is used by the algorithm to do any parameter tuning, these tuning parameters should be used without further modification on the test set (similar to MICCAI liver challenge in 2008). (Note: in the pilot phase, individual participant integrity is relied on to enforce this policy.)

- Report your results in the required formats, signed by your team leader, to 3A registrar.

- 3A registrar will analyze the reported results as per the Analysis section of this document. 3A registrar will provide Participants with individual analysis of their results. We will publish the results of the evaluation, without publicly identifying individual scores by Participant.

PRE-CONDITIONS

- A QIBA Profile exists with draft claims regarding the performance of a class of compliant measurements for the biomarker.

FLOW OF EVENTS for Pilot Study

In this case there are two primary actors: the participant, and the honest broker:

- Individual participant:

  - Algorithms included in the imaging test for data and results interpretation must be pre-specified before the study data is analyzed. Participants will be provided a development set for any algorithm tuning, such development set to be comparable to the test set, but without any repeated use of the same data. Lung data is very different from liver, for example. Alteration of the algorithm to better fit the data is generally not acceptable and may invalidate a study.

  - The individual participant or organization needs to receive back performance data and supporting documentation capable of being incorporated into regulatory filings at its discretion.

- 3A registrar:

  - The honest broker needs means to archive data sets that may be selectively accessed according to specific clinical indications and that may be mapped to image quality standards that have been described as so-called “acceptable”, “target”, and “ideal”

  - It needs to produce documentation regarding results inclusive of a charge-back mechanism to recover operational costs.

- The development set will continued to be available but should be stable whereas    test sets may be refreshed with new cases for direct access by interested investigators for testing of new imaging software algorithms or clinical hypotheses. Future investigators will have access to the development set and test sets for additional studies.

- Define services whereby the test set is indirectly accessible via the trusted broker.

POST-CONDITIONS

- Indication of whether the candidate implementation complies with the Profile (which in turn specifies the targeted performance with respect to clinical context for use).

## Data Set

Data from 1A (and generally across FDA collection) and 1B will be imported to create reference data sets that will be used.  One half of each will be identified as a development set with imagery available to participating organizations and to run a pilot, and the other half will be test for the pilotstudy.

### Import Data to form Reference Data Set

In this workflow, we utilize Reference Data Set Manager, a web-based digital repository tuned for medical and scientific datasets that provides a flexible data management facility, a search engine, and an online image viewer.

Pre-conditionS

- Study design is complete

- Hosting model is determined

WORK FLOW

The activity consists of sub-activities, with data flows between them.

- Identify the data sets from 1A (and generally across FDA collection) and 1B that will be used

- Partition the data into development vs. test set

- Use the NBIA connector to import into the Reference Data Set Manager, creating pre-specified 4 Reference Data Sets:

  - Development phantom set

  - Test phantom set

  - Development clinical change set

  - Test clinical change set

POST-CONDITIONS

- 4 Reference Data Sets have been created, two of which are externally visible and two of which are test.

### Create Ground Truth Annotations and/or Manual Seed Points in Reference Data Set

Need seed points and ground truth.

Pre-conditionS

- A Reference Data Set has been assembled as one or more Reference Data Sets.

- Definition of what constitutes “ground truth” for the data set is established and has been checked as to its suitability for the experimental objective it will support.

WORK FLOW

- The investigators define annotation instructions that specify in detail what the radiologist/reader should do with each type of reading task.

- Create nominal ground truth annotations.? (This differs from ordinary reading tasks by removing any tool restrictions and by allowing the reader a lot more time to do the job right. It may entail presenting several expert markups for comparison, selection, or averaging.)

  - The investigators assign reading tasks to radiologist/readers, placing a seed annotation in each task, producing worklists.

  - The radiologist/readers prepare seed annotations for each of the qualifying biological features (e.g., tumors) in each of the cases, attaching the instructions to each seed annotation and assuring that the seed annotations are consistent with the instructions.

  - Inspect and edit annotations, typically as XML, to associate them with other study data.

- Record audit trail information needed to assure the validity of the study.

Post-conditionS

- The Reference Data Set has been annotated with properly defined and implemented “ground truth” and/or manual “seed points” as defined for the experimental purpose of the set.

## Algorithms

Participants

- Academia

- Industrial vendors (for example possible vendors, according to the Volcano 2009 challenge could be: Siemens, Philips, MeVis, Kitware, Definiens, Intio, VIA CAD etc…)

Description/Classification of the algorithms: according to the grade of user intervention is needed (for example Volcano’09, A. P. Reeves et al):

- Totally automatic using seed points

- Limited parameter adjustment (on less than 15% of the cases)

- Moderate parameter adjustment (on less than 50% of the cases)

- Extensive parameter adjustment (more than 50% of the cases)

- Limited image/boundary modification (on less than 15% of the cases)

- Moderate image/boundary modification (on less than 50% of the cases)

- Extensive image/boundary modification (more than 15% of the cases)

Note: the categories above need to be rationalized with the Profile “Bulls eye” levels

The following sections describe workflows for Core Activities for Biomarker Development.

## Analysis

Pre-conditionS

- Data management should be finished in checking the consistencies of tumor location across algorithms.

- Data should pass the basic quality checks in terms of uniqueness and range checks.

- Clean and structured data set under a data transfer plan are available for analysis.

WORK FLOW

### Characterizing Performance of Absolute Volume Estimation where Ground Truth is Known

This part of the study utilizes a reference data set comprised of the same cases as used in the 1A study, and extends the statistical analysis that was conducted for that study but in the standard terms as defined above.  Specifically: the following parameters are assessed:

- Uncertainty

  - Bias: measured volume minus the physical measurement of the anthropomorphic phantom object.  Expressed as percent of actual.

- Precision: (optional, at team discretion) Difference of two repeated measurements using same seed point for each object, averaged across all objects.

- Reliability

  - Repeatability: Standard deviation of difference in two repeated measurements using same seed point for each object, calculated across all objects.

  - Reproducibility: (optional, at team discretion) Like repeatability, but using different seed points in each of the measurements.

- Variability

  - Variance: estimate overall variance in the difference of measured volume from known physical measure or in the difference of two calculated measured volumes in the same tumor in two images.

The above is assessed at two levels. First, the group of test that collectively comprises the acceptable assay methods for the biomarker. Second, the performance of individual test, in terms of their membership.

- Perform the methods on the reference data:

  - Analyze statistical variability across the following factors: 1. algorithm type, 2. Image formation factors (exposure, pitch, collimation, slice thickness, reconstruction kernel), 3. Anthropomorphic features (size, morphology, density, and attachment).

    - Overall: estimate bias and variance using mean, SD, box-plot (as a more flexible representation than BA) in the difference of measured volume from the physical volume of phantom

    - Similar analysis for each factor

    - (group discussion needed on whether degree of automation is in scope)

  - Additionally, perform  ANOVA or regression analysis to test the variability among algorithms and degree of automations

  - Identify  outliers whose bias are greater than 30% and report a summary in characteristics of tumor

- Assess the performance of Bias, Precision, Repeatability, Reproducibility, and Variance and describe them in a box plot similar to the following example:

- Select a “group value” for each of the descriptive statistics, e.g., as the mean plus 2 std.

- For each participant, report their results back to them in the following form:

In a later phase, this analysis may be conducted over the set of available FDA acquisitions, e.g., the 1187 cases presently loaded as a larger reference data set.

### Characterizing Performance of Change Estimation in the Absence of Biological Change

This part of the study utilizes a reference data set comprised of the same cases as used in the 1B study, and extends the statistical analysis that was conducted for that study but in the standard terms as defined above.  Specifically: the following parameters are assessed:

- Uncertainty

  - Bias:

- Precision:

- Reliability

  - Repeatability: using a same seed, calculate a volume

  - Reproducibility: using difference seeds points, calculate volume

- Variability

  - Variance: estimate overall variance in the difference of measured volume from known physical measure or in the difference of two calculated measured volumes in the same tumor in two images.

The above is assessed at two levels. First, the group of test that collectively comprises the acceptable assay methods for the biomarker. Second, the performance of individual test, in terms of their membership.

- The following comparisons of markups can be made:

  - Analyze statistical variability across the following factors: 1. Algorithm type, 2. Tumor features (size, morphology, measurable/measurable, attachment, contrast of boundary).

    - Overall: using mean, SD, box-plot using the difference of two time points where there is no biological differences in tumor

    - Similar analysis for each factor

  - Calculate the precision of the changes in estimated volumetric measures in thresholds of 5%, 10%, 15%, 20%, 25%, and 30%.

    - Overall: using mean, SD, graph of the precision (%) vs. the thresholds, water-fall plot

    - Similar analysis for each factor

  - Additionally, perform  ANOVA or regression analysis to test the variability among algorithms and degree of automations

  - Identify  outliers whose precision are greater than 30% and report a summary in characteristics of tumor

### Characterizing Performance of Change Estimation in the Presence of Biological Change

Out of scope for 3A at this time (this is in scope for 3B)

Post-conditionS

- Analyses are performed.

## Results

Descriptive summary statistics will be reported in terms of accuracy from 1A study with anthropomorphic phantom and precision with thresholds will be estimated from 1B the data set under no clinical change environment. The level of accuracy and precision will be summarized using all and stratified by the methods of algorithm and degrees of automation.  Additionally, differences in accuracy of anthropomorphic phantom and precision under no changes will be reported across algorithms and degree of automation. Characteristics of algorithm type, imaging information factor, and tumor feature will be reported of influencing cases where accuracy or precision are greater than 30%.

Pre-conditionS

- Analysis has been performed.

WORK FLOW

- Review statistics results to uncover promising hypotheses about the data. Typical methods include: Box plot, Histogram, Multi-vari chart, Run chart, Pareto chart, Scatter plot, Stem-and-leaf plot, Odds ratio, Chi-square, Median polish, or Venn diagrams.

- Provide review capability to user for all calculated items and plots

- Drill-down interesting cases, e.g., outlying sub-distributions, compare readers on hard tumors, etc.

Post-conditionS

- Each participant has to be informed (only the own algorithm results)

- Publication of the results (all participants)

- Using the results for the QIBA protocol: knowledge exploitation for the QIBA Profile

- At this point, it is possible to apply the study to new methods as desired, reporting as follows:

# References

# Footnotes

It should be noted that RECIST has not been shown to reliably achieve an accurate and precise measurement with a 20% SLD measurement.

- Deng X and Du G. 3D segmentation in the clinic: A grand challenge II – liver tumor segmentation 2008. http://lts08.bigr.nl

# Comments

define

Perhaps include the PA as an appendix?

define

define

define

define

This should not be allowed.  If 3D editing is needed, that may be a measure of robustness of the semi-automated or automated segmentation algorithm.

We have been using the term pilot phase, pilot or pivotal here – either is OK, but for consistency I suggest pilot.

Need to be clear. All slices or specific slices where nodules/tumors are located

Easy for phantoms, but how to do for clinical studies?

Shouldn’t the users define the seed locations themselves?

Need to capture this information in the database

Will they be the same readers across algorithm?

Isn’t this section now wrong?  It seems inconsistent with our stated scope if we are not allowing manual editing of detected borders, volume surfaces.

Not finisished

# Endnotes

Moertel CG, Hanley JA. The effect of measuring error on the results of therapeutic trials in advanced disease. Disease 1976; 38: 388-394.

Quivey JM, Castro JR, Chen GT, Moss A, Marks WM. Computerized tomography in the quantitative assessment of tumour response. Br J Disease Suppl 1980; 4:30-34.

Munzenrider JE, Pilepich M, Rene-Ferrero JB, Tchakarova I, Carter BL. Use of body scanner in radiotherapy treatment planning. Disease 1977; 40:170-179.

Petrou M, Quint LE, Nan B, Baker LH. Pulmonary nodule volumetric measurement variability as a function of CT slice thickness and nodule morphology. Am J Radiol 2007; 188:306-312.

Bogot NR, Kazerooni EA, Kelly AM, Quint LE, Desjardins B, Nan B. Interobserver and intraobserver variability in the assessment of pulmonary nodule size on CT using film and computer display methods. Acad Radiol 2005; 12:948–956.

Erasmus JJ, Gladish GW, Broemeling L, et al. Interobserver and intraobserver variability in measurement of non-small-cell carcinoma lung lesions: Implications for assessment of tumor response. J Clin Oncol 2003; 21:2574–2582.

Winer-Muram HT, Jennings SG, Meyer CA, et al. Effect of varying CT section width on volumetric measurement of lung tumors and application of compensatory equations. Radiology 2003; 229:184-194.

Buckler AJ, Mozley PD, Schwartz L, et al. Volumetric CT in lung disease: An example for the qualification of imaging as a biomarker. Acad Radiol 2010; 17:107-115.

Radiological Society of North America. http://qibawiki.rsna.org/index.php?title=Main_Page, accessed 07 Sep 2009.

http://www.grand-challenge.org/index.php/Main_Page, accessed 23 December 2010.

http://www.preventcancer.org/uploadedFiles/Education/Conferences,_Workshops,_and_Educational_Programs/Day-2-Friday-1100-AM-Tony-Reeves.pdf, accessed 23 December 2010.

http://www.nist.gov/itl/iad/dmg/biochangechallenge.cfm, accessed 23 December 2010.

Petrick NP, Kim HJ, Clunie D, Borradaile K, Ford R, Zeng R, Gavrieldes MA, McNitt-Gray MF, Fenimore C, Lu J, Zhao B, Buckler AJ. Evaluation of 1D, 2D and 3D nodule size estimation by radiologists for spherical and non-spherical nodules through CT thoracic phantom imaging, SPIE, February 2011.