QIBA fMRI Subcommittee Profile Draft

April 06, 2010

Cathy Elsinger (co-chair)

Assumption: It is appropriate for the QIBA fMRI subcommittee to work towards development of technical and practical guidelines which cover data acquisition, statistical analysis and paradigm design procedures in order to reduce variability and increase repeatability and reliability in BOLD fMRI exam administration and the quantitative measures derived.  An ultimate goal is to define a process, or criteria, to aid in the development of guidelines and recommendations that will be help to inform novice users of clinical fMRI applications, enhancing clinical efficacy.

Short Term Goal: QIBA fMRI subcommittee to establish guidelines and recommendations to optimize acquisition parameters, paradigm design, and statistical analysis for single-subject BOLD fMRI exams to increase quality control, clinical utility and characterize clinical uses of fMRI which are appropriate. Initial test case will be mapping of motor cortex for presurgical planning purposes.

Long Term Goal: Individual QIBA Profiles can address different use-cases, which could be expanded and addressed through different subgroups

(e.g.,Presurgical planning endpoint involves risk assessment and predictive value assessment for patient undergoing surgery while a pharma/clinical trial involves therapeutic effects/response)

QIBA Profiles consist of:

1. Intended use (clinical context), e.g. risk assessment or clinical trials

2. Claims (level of performance, both state-of-the-art and areas for improvement)

3. Protocol (structure provided by UPICT template)

4. Compliance check

QIBA Profile Draft:

Intended Use: fMRI is used as a tool for presurgical planning in patients undergoing brain surgery. The location of the brain tissue to be resected determines the particular region or regions of the brain to be investigated and the stimulus paradigm(s) selected (e.g. motor task, language task). The change in BOLD signal (relative to a rest condition) provides information about the brain region(s) involved in task performance and the proximity of this functioning cortex to brain tissue to be resected.  Presurgical planning endpoints involve risk assessment (how close is tissue to be resected to areas of functioning cortex) and predictive value assessment (will removal of a particular region of functioning cortex result in a deficit) that influence patient surgery.  Our goal is to determine the quantitative value of BOLD fMRI as predictor of cortical function and/or essential function and thus a medically meaningful surrogate for change in brain activity - a valid imaging biomarker.

Claim 1 – with the appropriate MR compatible peripheral equipment and software for stimulus delivery, patients can perform cognitive or sensorimotor tasks while they are in the MR scanner, and this behavior can be measured.

Claim 2 – the behavior elicited from the patient can be synchronized with MR image acquisition using the appropriate pulse sequence and the statistical result (change in MR signal) can be measured.

Claim 3 – The statistical result (change in MR signal) is quantifiable in terms of (1) magnitude of task-related activity relative to baseline with a statistical parameter such as F or T (and its p value); (2) temporal correlation of the signal with the task timing; (3) the spatial pattern of activation (density, clustering); and (4) proximity to a site of pathology or proposed resection margin.