**Title of the Profile

Version x.x

**day month year

Table of Contents

Open Issues:	2

Closed Issues:	2

I. Executive Summary	3

II. Clinical Context and Claims	3

Utilities and Endpoints for Clinical Trials	3

Claim:  **short description	3

Claim:  **repeat for as many distinct claims as being made	3

III. Profile Activities	4

1. Subject Handling	5

2. Image Data Acquisition	7

3. Image Data Reconstruction	7

4. Image Analysis	8

IV. Compliance Procedures	8

**Actor 1 (e.g., Acquisition Device, Analysis Software, Technologist, Performing Site, etc.)	8

**Actor n (as many as needed)	8

References	8

Appendices	8

Acknowledgements and Attributions	8

Background Information	8

Conventions and Definitions	8

Model-specific Instructions and Parameters	9

# Open Issues:

***List any issues known to still be open regarding the profile.  The idea is to allow forward progress even though some issues may still be under consideration.

Q. ***issue A. ***tentative resolution (or blank)

Q. ***as many rows as needed A.

# Closed Issues:

The following issues have been considered closed by the technical committee.  They are provided here to forestall discussion of issues that have already been raised and resolved, and to provide a record of the rationale behind the resolution.

Q. ***issue A. ***decision

# I. Executive Summary

**Summarize the applicability and utility of the Profile with respect to individual patient management and how it relates to clinical trial usage.

The intended audiences include:

- Technical staffs of software developers and device manufacturers who create products for this purpose

- Clinical trial scientists and physician PIs of clinical trials

- Practicing clinicians at healthcare institutions considering appropriate specifications for procuring new equipment

- Experts involved in quantitative medical image analysis

- Anyone interested in the technical and clinical aspects of medical imaging

Note that specifications stated as “requirements” here are only requirements to achieve the claim, not “requirements on standard of care.”   Specifically, meeting the goals of the profile are secondary to properly caring for the patient.

# II. Clinical Context and Claims

## Utilities and Endpoints for Clinical Trials

**Describe one or more utilities or endpoints this Imaging Protocol could serve in a Clinical Trial. (e.g. to determine eligibility of potential subjects in the clinical trial; to triage eligible subjects into cohorts based on stage or severity of disease; to assess response to treatment; to establish the presence of progression for determining TTP, PFS, etc.; to monitor for adverse events; to establish a database for the development, optimization, and validation of imaging biomarkers, etc.)

Compliance with this profile by relevant staff and equipment supports the following claim(s):

## Claim:  **short description

**Introduce and state the claim.

## Claim:  **repeat for as many distinct claims as being made

**Introduce and state the claim.

# III. Profile Activities

***provide a technical description of tests for the biomarker, identifying measurement activities and read-outs for the marker, in a diagram such as the following example and its legend:

Figure 1: The assay method for computing and interpreting volumetric assessment using computed tomography may be described as a pipeline.  Patients (or subjects) are prepared for scanning, a imaging agent to enhance contrast may or may not be used, raw image data is acquired, and images are formed using mathematical reconstruction and/or post-processing methods.  Images may be obtained at a multiplicity of time points, notably at two time points for a change assessment as is considered by this document.  Images formed at each of the two time points serve as the input to the downstream image analysis activity to assess the degree of change per each target lesion.  Detection of target lesions as well as classification as to whether they are target and/or evaluable lesions is beyond the scope of this document.  For each detected and evaluable target lesion, change may be assessed by calculating absolute volume at each of the two time points and performing a subtraction, or alternatively through other means that may be proposed wherein a direct measure of change is assessed without specific regard to the absolute volumes.  Philosophically it is desired that the profile encourage rather than discourage innovation in the means by which this is done, however, in the end the change is assessed as a percentage according to the formula (delta in volume between the two time points)/volume at time point 1. Downstream from this analysis the change may be interpreted according to a variety of different response criteria.  These response criteria are beyond the scope of this document.

Formally defined “Actors” who are required to meet these claims include the following:

- Hardware and software devices (acquisition, reconstruction, and analysis)

- Technologists

- Image Analysts

- Image Acquisition Sites

The following sections provide details for what the various components required for compliance:

Section 1, Subject Handling, is practiced by an Image Acquisition Site.

Section 2, Imaging Data Acquisition, is practiced by a Technologist at an Image Acquisition Site using an Acquisition Device.

Section 3, Imaging Data Reconstruction, is practiced by an Technologist at an Image Acquisition Site using Reconstruction Software.

Section 4, Image Analysis, is practiced by an Image Analyst using one or more Software Analysis Tools.

The requirements included herein are intended to establish a baseline level of capabilities. Providing higher performance or advanced capabilities is both allowed and encouraged.  The profile is not intended to be limiting in any way with respect to how these requirements are met by equipment suppliers.

Note that this profile is “lesion-oriented”, meaning that different lesions in different anatomic regions might be imaged and processed with different parameters as long as any given lesion is handled the same way each time.

## 1. Subject Handling

1.1 Timing Relative to Index Intervention Activity

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

1.2 Timing Relative to Confounding Activities

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

1.3 Contrast Preparation and Administration

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

1.4 Subject Positioning

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

1.5 Instructions to Subject During Acquisition

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

1.6 Timing/Triggers

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

## 2. Image Data Acquisition

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

## 3. Image Data Reconstruction

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

## 4. Image Analysis

Discussion

***informative text.

Specification

| Parameter | Specification |
| --- | --- |
| <parameter id> | The <specific actor> shall <specific requirement. |
| <another parameter, as many as needed> |  |

# IV. Compliance Procedures

## **Actor 1 (e.g., Acquisition Device, Analysis Software, Technologist, Performing Site, etc.)

**aggregate compliance method that identifies how those aspects of compliance mentioned above pertain to this actor.

## **Actor n (as many as needed)

**aggregate compliance method that identifies how those aspects of compliance mentioned above pertain to this actor.

# References

***references, using standard manuscript format

# Appendices

## Acknowledgements and Attributions

***as needed

## Background Information

***as needed

## Conventions and Definitions

Acquisition vs. Analysis vs. Interpretation: This document organizes acquisition, reconstruction, post-processing, analysis and interpretation as steps in a pipeline that transforms data to information to knowledge. Acquisition, reconstruction and post-processing are considered to address the collection and structuring of new data from the subject. Analysis is primarily considered to be computational steps that transform the data into information, extracting important values. Interpretation is primarily considered to be judgment that transforms the information into knowledge. (The transformation of knowledge into wisdom is beyond the scope of this document.)

Other Definitions:

Image Analysis, Image Review, and/or Read: Procedures and processes that culminate in the generation of imaging outcome measures, such tumor response criteria. Reviews can be performed for eligibility, safety or efficacy. The review paradigm may be context specific and dependent on the specific aims of a trial, the imaging technologies in play, and the stage of drug development, among other parameters.

Image Header: The Image Header is that part of the file or dataset containing the image other than the pixel data itself

Imaging Phantoms: Devices used for periodic testing and standardization of image acquisition. This testing must be site specific and equipment specific and conducted prior to the beginning of a trial (baseline), periodically during the trial and at the end of the trial.

Intra-Rater Variability is the variability in the interpretation of a set of images by the same reader after an adequate period of time inserted to reduce recall bias.

Inter-Rater Variability is the variability in the interpretation of a set of images by the different readers.

A Time Point is a discrete period during the course of a clinical trial when groups of imaging exams or clinical exams are scheduled.

## Model-specific Instructions and Parameters

***by example for vCT:

For acquisition modalities, reconstruction software and software analysis tools, profile compliance requires meeting the activity specifications above; e.g. in Sections 2, 3 and 4.

This Appendix provides, as an informative tool, some specific acquisition parameters, reconstruction parameters and analysis software parameters that are expected to be compatible with meeting the profile requirements.   Just using these parameters without meeting the requirements specified in the profile is not sufficient to achieve compliance.  Conversely, it is possible to use different compatible parameters and still achieve compliance.

These settings were determined to be reasonable by the QIBA CT 1C groundwork study team.

Sites using models listed here are encouraged to consider using these parameters for both simplicity and consistency. Sites using models not listed here may be able to devise their own settings that result in data meeting the requirements.

Table Model-specific Parameters for Acquisition Devices

IMPORTANT NOTE: The presence of a product model/version in the table does not imply it has demonstrated compliance with the QIBA Profile.  Refer to the QIBA Compliance Statement for the product.

| Acquisition Device | Settings Compatible with Compliance |
| --- | --- |
| GE Discovery HD750 sct3 | kVp; 120. Number of Data Channels (N); 64. Width of Each Data Channel (T, in mm); 0.625. Gantry Rotation Time in seconds; 1. mA; 120. Pitch; 0.984. Scan FoV; Large Body (500mm). |
| Philips Brilliance 16 IDT mx8000 | kVp; 120. Number of Data Channels (N); 16. Width of Each Data Channel (T, in mm); 0.75. Gantry Rotation Time in seconds; 0.75. Effective mAs; 50. Pitch; 1.0. Scan FoV; 500. |
| Philips Brilliance 64 | kVp; 120. Number of Data Channels (N); 64. Width of Each Data Channel (T, in mm); 0.625. Gantry Rotation Time in seconds; 0.5. Effective mAs; 70. Pitch; 0.798. Scan FoV; 500. |
| Siemens Sensation 64 | kVp; 120. Collimation (on Operator Console); 64 x 0.6 (Z-flying focal spot). Gantry Rotation Time in seconds; 0.5. Effective mAs; 100. Pitch; 1.0. Scan FoV; 500. |
| Toshiba Aquilion 64 | kVp; 120. Number of Data Channels (N); 64. Width of Each Data Channel (T, in mm); 0.5. Gantry Rotation Time in seconds; 0.5. mA; 25. Pitch; .828. Scan FoV; Medium and Large. |

Table Model-specific Parameters for Reconstruction Software

IMPORTANT NOTE: The presence of a product model/version in the table does not imply it has demonstrated compliance with the QIBA Profile.  Refer to the QIBA Compliance Statement for the product.

| Reconstruction Software | Settings Compatible with Compliance |
| --- | --- |
| GE Discovery HD750 sct3 | Reconstructed Slice Width, mm; 1.25. Reconstruction Interval; 1.0mm. Display FOV, mm; 350. Recon kernel; STD. |
| Philips Brilliance 16 IDT mx8000 | Reconstructed Slice Width, mm; 1.00. Reconstruction Interval; 1.0mm (contiguous). Display FOV, mm; 350. Recon kernel; B. |
| Philips Brilliance 64 | Reconstructed Slice Width, mm; 1.00. Reconstruction Interval; 1.0mm (contiguous). Display FOV, mm; 350. Recon kernel; B. |
| Siemens Sensation 64 | Reconstructed Slice Width, mm; 1.00. Reconstruction Interval; 1.0mm. Display FOV, mm; 350. Recon kernel; B30. |
| Toshiba Aquilion 64 | Reconstructed Slice Width, mm; 1.00. Reconstruction Interval; 1.0mm. Display FOV, mm; 350. Recon kernel; FC11. |

Table Model-specific Parameters for Image Analysis Software

IMPORTANT NOTE: The presence of a product model/version in the table does not imply it has demonstrated compliance with the QIBA Profile.  Refer to the QIBA Compliance Statement for the product.

| Image Analysis Software | Settings Compatible with Compliance |
| --- | --- |
| Siemens LunCARE | a; <settings to achieve…>. b; <settings to achieve…>. c; <settings to achieve…>. d; <settings to achieve…>. |
| GE Lung VCAR | e; <settings to achieve…>. f; <settings to achieve…>. g; <settings to achieve…>. h; <settings to achieve…>. |
| R2 ImageChecker CT Lung System | i; <settings to achieve…>. j; <settings to achieve…>. k; <settings to achieve…>. l; <settings to achieve…>. |
| Definiens (name specific product) | m; <settings to achieve…>. n; <settings to achieve…>. o; <settings to achieve…>. p; <settings to achieve…>. |
| Median (name specific product) | q; <settings to achieve…>. r; <settings to achieve…>. s; <settings to achieve…>. t; <settings to achieve…>. |
| Intio (name specific product) | u; <settings to achieve…>. v; <settings to achieve…>. w; <settings to achieve…>. x; <settings to achieve…>. |