Presurgical Assesment of Language and Motor Functions using Blood Oxygenation Level Dependant functional MRI.

Version 1.0

18 October 2011

Table of Contents

I. Executive Summary

II. Clinical Context and Claims

Claim:  Measures and Endpoints

A. Eloquent Cortex Characterization

B. Characterization of Lesion and Cluster Margin

C. Relationship to Lesion

III. Profile Details

1. Subject Handling

1.1	Timing Relative to Index Intervention Activity

1.2	Scheduling Ancillary Testing

1.3	Subject Preparation Prior to Arrival

1.4	Subject Preparation upon Arrival

1.5	Paradigm Library Specification

1.6	Subject Ability Assessments

1.6.1. General Assessment

1.6.2. Language Assessment

1.6.3. Motor Assessment

1.6.4. Visual Function Assessment

1.6.5. Memory Assessment

1.7	Task training prior to scanning

1.7.1. Language Task

1.7.2. Motor Task

1.7.3. Visual Task

1.7.4. Memory Task

1.8	Performance measurement of the tasks

1.9	Subject instruction prior to scanning

1.10	Subject Positioning in the scanner

1.10.1. Stimulus presentation testing

1.6.2. Motion restrain specifications

2. Imaging Data Acquisition

  - Technician Instructions

  - Stimulus Presentation specifications

    - Scan Synchronization/Triggering requirements

    - Visual stimulus specifications

    - Auditory stimulus specifications

    - Memory stimulus specifications

  - Subject instruction during Acquisition

  - Structural MRI scanning  specifications

  - fMRI-EPI scanning specifications

    - fMRI Task scans

    - Breathold scans (NVU)

  - Required Visualization/Monitoring

    - Monitor Visual Task performance

    - Monitor button box responses

    - Monitor Respiration

    - Monitor Eye movement

    - Monitor real time motion

    - Monitor Real time data analysis

  - Data Content & Structure

  - Data Quality Requirments

    - MRI Signal specifications (SNR,FSNR)

  - Post Scan Requirements

    - Patient assesment

    - Real-time results evaluation

  - Staff requirements for fMRI

3. Image Data Processing

3.1 Image Processing computer specifications

3.2 Image Processing software specifications

3.3 BOLD Analysis pipeline specifications

3.3.1 	Anatomical Image Segmentation

3.3.2	Low frequency drift correction

3.3.3	Spatial filtering

3.3.4	Artifact Identification/Removal

3.3.5	Slice timing correction

3.3.6	Motion correction

3.3.7	Coregistration

3.3.8	Statistical map generation

3.3.9	Statistical map threshold

3.3.10	Functional map generation

3.4 Color Map Specifications

3.5 Quality Control Requirements

3.5.1 	Registration parameters

3.6 Technical Report Specifications

3.6.1	Color Images

3.6.2	Imaging procedure summary

3.6.3 	Patient motion summary

3.6.4 	Artifact summary

3.6.5 	Patient evaluation summary

3.6.6 	NVU summary

4. Image Analysis & Clinical Interpretation

4.1 Clinical Report Content

4.1.1 Clinical history review

4.1.2 Color overlay characterization

4.3.1 Review of color overlays

4.3.2 Gyral/Sulcal location

4.3.3 Gyral/Sulcal distance

4.3.4 Lesion/Cluster margin characterization

4.3.5 Characterization of Artifacts

4.3.6 Confidence Index

4.3.7 Documentation for CPT requirements

4.4	Clinical Report Structure

4.4.1 Demographic information

4.4.2 Indications

4.4.3 Techniques

4.4.4 Structural imaging findings

4.4.5 Functional imaging findings

4.4.6 Annotated images

4.4.7 Clinical Impression

5. Storage and Distribution

5.1 	Data Storage specification

5.2	Data sharing specification

IV. Compliance

Acquisition Devices

Reconstruction Software

Software Analysis Tool

Performing Site

References

Appendices

Acknowledgements and Attributions

Background Information

Conventions and Definitions

Model-specific Instructions and Parameters