# Profile: DCEMRI Quantification

QIBA DCEMRI Sub-committee

Date: May 25, 2010

Draft Version 0.4

I. CLINICAL CONTEXT       Jeff E.

Few sentences about DCEMRI QIBA committee.

High level parapgrah about DCEMRI and the clinical context.

(Response to therapy)

II. CLAIMS

Can measure quantitative tumor vascular properties - Ktrans and IAUGC - from Dynamic Contrast Enhanced MRI at 1.5T using low molecular weight Gd-based agents  within a 20% test-retest coefficient of variation for tumors that are more than 2cm fixed and 3cm moving (reword tumor size part)

III. PROFILE DETAIL/PROTOCOL

- Executive Summary     Jeff E.

Word about what is the state of art in research and clinical trials.

Why would standardization help.

Few sentences on what this profile is for.

- Context of the Imaging Protocol within the Clinical Trial     Jeff E.

Alterations in quant. Parameters in response to therapy

- Site Selection, Qualification and Training      Gudrun

Process of site qualification:

Equipment – 1.5T 60-70cm bore

Phantom study

Experience with clinical trials, familiarity with GCP.

“There should be a mechanism in place to train and educate the site…”

- Subject Scheduling        Alexander G.

(get from vol. CT profile).

- Subject Preparation      Alexander G.

No particular subject prep - (get from vol. CT profile)

- Imaging-related Substance Preparation and Administration    Alexander G.

Agent (low molecular weight Gd based ECF agents), Equipment, dose 0.1 mmol/kg), injection site, timing, injection rate (2-3 cc/sec), gauge

“It should be noted that there is limited data with newer contrast agents (such as protein binding agents, ….”

- Individual Subject Imaging-related Quality Control      Mark Rosen

Mitigate gross patient motion (claustrophobia, anxiety)

Metal artifact (within FOV) – exclusion

Patient size

Must get good anatomic image

- Imaging Procedure     Sandeep/Ed J.

Detailed description of imaging protocols.

Include: B0 map ratio image collection, VFA protocol for T1 map, DCEMRI protocol.

(spell out VFA implementation details..prescan issues)

For each protocol, try to come up with “Acceptable”, “Target”, and “Ideal” levels.

Ideal		Target		Acceptable

Temporal Resolution:        5s		8s		10s

Spatial Resolution (acq) : 1.5 x 3 x 5-8 mm

Min. number of acq slices: 10 (entire lesion must fit in the imaging volume); at least 6 analyzable slices

Choice of image acq plane – coronal oblique plane including the aorta

“This claim does not address use of parallel imaging.”

- Image Post-processing   Sandeep

No user selectable post processing filters, image normalization/equalization processing.

- Image Analysis    Ed A/ Sandeep.

(We could merge this with section 8 above)

Creating a ratio map image

Creating a T1 map from VFA protocol.

Time series motion correction of DCE – manual or automatic

Use of ratio image to correct signal intensities from DCE scan.

Use of T1 map to covert SI(t) profiles into [Gd](t) profiles.

(spell out procedure to do it 2 ways: with and without T1 correction)

Method for picking Arterial Input Function:

Automatic : (JMRI2000 rijpkema)

Method for picking region of analysis (pixelwise, median value over the whole tumor )

General Kinetic Model algorithm for calculating Ktrans (2p – no fpv).

(reference other models and why fpv is not being estimated)

Method for calculating heuristic parameters: IAUGC90.

Use concentration curves; blood normalization for SI.

Thresholds for selecting pixels for analysis

- Image Interpretation    Michael Knopp.

Tumor ROI definition

Discard end slices

Statistics to calculate from resulting maps

Single operator

- Archival and Distribution of Data      Sandeep

Saving the segmentation mask and the location of the input function (for reuse and validation)

Save registration information

- Quality Control          Mark Rosen

List all sources of artifact and variation and procedures to mitigate them.

Prospective:

Contrast delivery

Subject motion

Acq plane

Image artifacts (wrap, metal, etc)

Retrospective:

Adherence to imaging protocols

Registration methods

AIF methods (variability in peak)

- Imaging-associated Risks and Risk Management    Sandeep

Standard MRI and Gd-based contrast agent contra-indications

APPENDICES

- Acknowledgements and Attributions

- Background Information

- Conventions and Definitions

- Documents included in the imaging protocol (e.g., CRFs)

- Associated Documents (derived from the imaging protocol or supportive of the imaging protocol)

- TBD

- Model-specific Instructions and Parameters

GE prescan details

IV. COMPLIANCE SECTION

V. ACKNOWLEDGEMENTS