Quantitative Imaging Biomarker Alliance (QIBA) for Volumetric CT Image Analysis:

Subgroup 1C – Assessing Impact of Instrumental Variability on Volumetrics

December 9, 2008

Discussion items:

- QIBA CT Volumetrics, Subgroup 1C - Characterize instrumental variability.

Conduct an experiment to analyze CT scans of a phantom imaged under a range of conditions to assess the impact of scanners on the performance related to the use of the measurements in clinically relevant scenarios. Use physical volume measures as reference truth. Use radiologist markup as another ( measure to be assessed along side of automated measurements.

- Questions to be answered

Measure the precision and accuracy of CT volume measurements on phantom data, as applied to two profiles:

Profile 1: smaller nodules and scanner settings typical of Stage I disease (neoadjuvant therapy or early diagnostic scanning.)

Profile 2: larger tumors and scanner settings typical of Stage IV disease. This profile corresponds to most drug development trials. [Note that Stage II and III disease may also draw from this work.]

- Recruitment/selection of scanners

A key contribution of this work is to address multi-center and multi-vendor variability, so it would be desirable to have broad multi-center participation. (The FDA phantom has been scanned on a Siemens 64 and a Philips 16.)

- Experimental design

The primary basis for the activity is drawn from a systems analysis of the sources of variability in volumetric CT represented in a matrix. Based on this analysis, sources of variability that are relevant to each considered profile would constitute “factors”, and levels for these factors would be derived to sample the appropriate range described in the above profiles.  The experimental design should optimize the use of resources (time, equipment, organizational attention etc.) of stakeholders to satisfy necessary precursor questions needed to set the profile details.

As pointed out in the Strawman Matrix Version 5, "Different vendors use different system gain settings which complicate image comparison. This may lead to a "Nested Design".  Such a study has some parameters vary on each given platform but may not achieve the same settings across platforms.

Sample scanner factors - To keep the measurements relevant to the profiles, we expect to restrict the study to scanners with at least 16 detectors. This corresponds to single breath-hold scans.

Other factors are critical to control for constancy between scanners include slice thicknesses, non-ovelapping slices, mAs, kVp, FoV/voxel spacing. The study design for the NLST may provide useful guidance.

A fuller listing of scanner dependent parameters that may be studied includes.

- Potential differences in imaging protocol

      - reconstructed slice thickness and spacing/overlap

      - collimation

      - mAs

      - pitch

      - reconstruction kernel

      - kVp

      - Reconstructed Field of View

      - With larger detector row arrays providing extended z-axis coverage, sequential scans may be performed, and lesions may would span - or be at the interface of - several acquisitions FOVs

- Potential differences between imaging hardware MDCT

      - number of detector rows

      - number and size of detector elements in each row

      - number of sources (e.g. dual source CT)

      - x-ray spectrum/beam filtration (e.g softer vs. harder x-ray)

      - software version: acquisition, correction or reconstruction

- Phantom for scanning - proposed Image Set 1: FDA-type phantom with 3 to 20 mm phantom nodules. Phantom QA – NIST Pocket Phantom?

- Algorithms:

  - At least one algorithm

  - Measured precision and bias

  - Intra and inter-reader variability

  - Precision across repeat scans.

- Identification of required resources:

Existing FDA image data sets acquired on multiple CT scanners are .

Readers

Other resources needed: algorithm, automatic format for study parameters.

- Next steps

Recruit/identify readers and reading tasks.

Recruit participation from multiple scanners.

Specify experimental factors: source of phantom, scan parameters,

Specify data interface for automated algorithm/CAD tool iinput. Proposal: adopt specification from CT Volumentrics 1B.

- Notional complexity estimate:

5 scanners, 4 slice thicknesses, 4 nodule sizes/shapes, 3 repeat scans =

15 scans. x  4 reconstructions x 4 nodules  =

240 nodule volumes to analyze

Slice thickness values ~  0.75 – 7.5 mm:: 0.75, 1.5, 3.0, 7.5 mm